## 1B-1-2026 Results
1B-1-2026
Distribution Date: 28/04/2026
Total distributed | 121
Total submitted | 119
Total assessed | 116
Equivocal
Not tested | 3
Negative | 116
Positive | 0
% Negative | 100%
% Positive | 0%
Consensus | Negative
Reference
Number acceptable | 116
Assessed | Yes
Lab | HLA-B27 | Method(s) Used | HLA-B*27 alleles | Comments | Received | Tested | Submitted | Assessment
Lab-1003 | Negative | Molecular |  |  | 2026-04-28 | 2026-05-05 | Yes | Acceptable
Lab-1004 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1005 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1008 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1009 | Negative | Serological |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1013 | Negative | Molecular |  |  | 2026-04-28 | 2026-05-05 | Yes | Acceptable
Lab-1015 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-11 | Yes | Acceptable
Lab-1016 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-08 | Yes | Acceptable
Lab-1019 | Negative | Molecular |  |  | 2026-05-01 | 2026-05-07 | Yes | Acceptable
Lab-1020 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1021 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1024 | Negative | Serological |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1026 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1027 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-06 | Yes | Acceptable
Lab-1028 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1031 | [6 empty] | No | Unacceptable
Lab-1042 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1043 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1044 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1046 | Negative | Serological |  |  | 2026-05-05 | 2026-05-05 | Yes | Acceptable
Lab-1049 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1050 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1052 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1055 | Negative | Molecular |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1057 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-11 | Yes | Acceptable
Lab-1066 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1067 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1075 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1077 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-06 | Yes | Acceptable
Lab-1079 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1080 | Negative | Molecular |  | We are using OLERUP SSP HLA-B*27 BULK kit which consent only to discriminate between positive and negative B*27 samples, covering from B*27:01 to B*27:267. | 2026-04-29 | 2026-05-08 | Yes | Acceptable
Lab-1081 | Negative | Serological |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1082 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1084 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1085 | Negative | Molecular |  |  |  | 2026-05-06 | Yes | Acceptable
Lab-1086 | Negative | Molecular | HLA-B*27 |  | 2026-05-04 | 2026-05-06 | Yes | Acceptable
Lab-1088 | Negative | Serological |  |  | 2026-05-01 | 2026-05-01 | Yes | Acceptable
Lab-1090 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1099 | Negative | Molecular |  |  | 2026-05-06 | 2026-05-07 | Yes | Acceptable
Lab-1102 | Negative | Serological |  | These results were submitted 12/05/2026 via email (spoke to Melanie) due to IT errors | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1103 | Negative | Serological |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1104 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1105 | Negative | Serological |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1108 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1110 | Negative | Molecular |  |  | 2026-05-30 | 2026-05-05 | Yes | Acceptable
Lab-1115 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-05 | Yes | Acceptable
Lab-1118 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1119 | Negative | Molecular |  | Subtypes HLA B*27:12, B*27:16, B*27:18 and B*27:23 can give false negative results. | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1120 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-06 | Yes | Acceptable
Lab-1124 | Negative |  |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1125 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1128 | Negative | Molecular | N/A |  | 2026-05-01 | 2026-05-05 | Yes | Acceptable
Lab-1130 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1134 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1136 | Negative |  |  |  | 2026-05-07 | 2026-05-08 | Yes | Acceptable
Lab-1138 | Negative |  |  |  | 2026-05-07 | 2026-05-07 | Yes | Acceptable
Lab-1139 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1140 | Negative | Molecular |  |  | 2026-04-28 | 2026-05-04 | Yes | Acceptable
Lab-1142 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1143 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1144 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-06 | Yes | Acceptable
Lab-1145 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1146 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1148 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1149 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1151 | Negative | Molecular |  |  | 2026-05-03 | 2026-05-05 | Yes | Acceptable
Lab-1152 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-06 | Yes | Acceptable
Lab-1153 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1154 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1158 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-13 | Yes | Acceptable
Lab-1163 | Negative | Serological |  |  |  | 2026-04-30 | Yes | Acceptable
Lab-1165 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1168 | Negative |  |  |  | 2026-05-06 | 2026-05-07 | Yes | Acceptable
Lab-1170 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1174 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-08 | Yes | Acceptable
Lab-1175 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1178 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1179 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1180 | Negative |  |  |  | 2026-05-07 | 2026-05-08 | Yes | Acceptable
Lab-1181 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-11 | Yes | Acceptable
Lab-1189 | Negative | Serological |  |  | 2026-05-05 | 2026-05-05 | Yes | Acceptable
Lab-1190 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-06 | Yes | Acceptable
Lab-1191 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1192 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1193 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-06 | Yes | Acceptable
Lab-1194 | Negative | Molecular | Negative |  | 2026-05-04 | 2026-05-11 | Yes | Acceptable
Lab-1195 | Negative |  |  |  | 2026-05-05 | 2026-05-12 | Yes | Acceptable
Lab-1196 | Negative | Serological | Not applicable |  | 2026-05-05 | 2026-05-06 | Yes | Acceptable
Lab-1198 | Negative |  |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1199 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1200 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-11 | Yes | Acceptable
Lab-1203 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-07 | Yes | Acceptable
Lab-1204 | Negative | Molecular |  |  | 2026-05-06 | 2026-05-08 | Yes | Acceptable
Lab-1207 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1208 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1210 | Negative | Molecular | Negative i Exon 2 and in exon 3 |  | 2026-05-05 | 2026-05-07 | Yes | Acceptable
Lab-1211 | Negative | [5 empty] | Yes | Acceptable
Lab-1213 | Negative | Molecular |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1215 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1216 | [6 empty] | No | Unacceptable
Lab-1218 | Negative | Molecular |  |  | 2026-05-08 | 2026-05-08 | Yes | Acceptable
Lab-1238 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1239 | Negative | Molecular |  |  | 2026-05-29 | 2026-05-06 | Yes | Acceptable
Lab-1240 | Not Tested |  |  | Technical problem |  |  | Yes | Not Assessed
Lab-1256 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1257 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-01 | Yes | Acceptable
Lab-1261 | Not Tested | Serological |  | Samples received on 18/05/2026 | 2026-05-18 | 2026-05-19 | Yes | Not Assessed
Lab-1263 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1264 | Negative | Molecular |  |  | 2026-05-06 | 2026-05-08 | Yes | Acceptable
Lab-1266 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-04 | Yes | Acceptable
Lab-1267 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-11 | Yes | Acceptable
Lab-1268 | Negative |  |  | No methods provided. | 2026-05-15 | 2026-05-18 | Yes | Acceptable
Lab-1269 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-08 | Yes | Acceptable
Lab-1270 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1271 | Negative |  |  |  | 2026-04-30 | 2026-05-01 | Yes | Acceptable
Lab-1273 | Negative | Molecular |  |  | 2026-05-01 | 2026-05-07 | Yes | Acceptable
Lab-1274 | Negative |  |  | No method provided |  |  | Yes | Acceptable
Lab-1276 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1279 | Negative | Molecular | All HLA-B27 alleles except HLA-B2707 |  | 2026-04-30 | 2026-05-12 | Yes | Acceptable
Lab-1280 | Not Tested | Serological |  | Delivery/customs issues | 2026-05-08 | 2026-05-08 | Yes | Not Assessed
Lab-1285 | Negative | [5 empty] | Yes | Acceptable

## 1B-2-2026 Results
1B-1-2026
Distribution Date: 28/04/2026
Total distributed | 121
Total submitted | 119
Total assessed | 115
Equivocal | 1
Not tested | 3
Negative | 115
Positive | 0
% Negative | 100%
% Positive | 0%
Consensus | Negative
Reference
Number acceptable | 115
Assessed | Yes
Lab | HLA-B27 | Method(s) Used | HLA-B*27 alleles | Comments | Received | Tested | Submitted | Assessment
Lab-1003 | Negative | Molecular |  |  | 2026-04-28 | 2026-05-05 | Yes | Acceptable
Lab-1004 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1005 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1008 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1009 | Negative | Serological |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1013 | Negative | Molecular |  |  | 2026-04-28 | 2026-05-05 | Yes | Acceptable
Lab-1015 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-11 | Yes | Acceptable
Lab-1016 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-08 | Yes | Acceptable
Lab-1019 | Negative | Molecular |  |  | 2026-05-01 | 2026-05-07 | Yes | Acceptable
Lab-1020 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1021 | Negative | Serological |  |  | 2026-04-30 | 2026-04-03 | Yes | Acceptable
Lab-1024 | Negative | Serological |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1026 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1027 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-06 | Yes | Acceptable
Lab-1028 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1031 | [6 empty] | No | Unacceptable
Lab-1042 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1043 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1044 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1046 | Negative | Serological |  |  | 2026-05-05 | 2026-05-05 | Yes | Acceptable
Lab-1049 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1050 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1052 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1055 | Negative | Molecular |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1057 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-11 | Yes | Acceptable
Lab-1066 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1067 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1075 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1077 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-06 | Yes | Acceptable
Lab-1079 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1080 | Negative | Molecular |  | same as previous sample | 2026-04-29 | 2026-05-08 | Yes | Acceptable
Lab-1081 | Negative | Serological |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1082 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1084 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1085 | Negative | Molecular |  |  |  | 2026-05-06 | Yes | Acceptable
Lab-1086 | Negative | Molecular | HLA-B*27 |  | 2026-05-04 | 2026-05-06 | Yes | Acceptable
Lab-1088 | Negative | Serological |  |  | 2026-05-01 | 2026-05-01 | Yes | Acceptable
Lab-1090 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1099 | Negative | Molecular |  |  | 2026-05-06 | 2026-05-07 | Yes | Acceptable
Lab-1102 | Negative | Serological |  | These results were submitted 12/05/2026 via email (spoke to Melanie) due to IT errors | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1103 | Negative | Serological |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1104 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1105 | Negative | Serological |  |  | 2026-04-28 | 2026-05-05 | Yes | Acceptable
Lab-1108 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1110 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1115 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-05 | Yes | Acceptable
Lab-1118 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1119 | Negative | Molecular |  | Subtypes HLA B*27:12, B*27:16, B*27:18 and B*27:23 can give false negative results. | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1120 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-06 | Yes | Acceptable
Lab-1124 | Negative |  |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1125 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1128 | Negative | Molecular | N/A |  | 2026-05-01 | 2026-05-08 | Yes | Acceptable
Lab-1130 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1134 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1136 | Negative |  |  |  | 2026-05-07 | 2026-05-08 | Yes | Acceptable
Lab-1138 | Negative |  |  |  | 2026-05-07 | 2026-05-07 | Yes | Acceptable
Lab-1139 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-01 | Yes | Acceptable
Lab-1140 | Negative | Molecular |  |  | 2026-04-28 | 2026-05-04 | Yes | Acceptable
Lab-1142 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1143 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1144 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-06 | Yes | Acceptable
Lab-1145 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-04 | Yes | Acceptable
Lab-1146 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1148 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1149 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1151 | Negative | Molecular |  |  | 2026-05-03 | 2026-05-05 | Yes | Acceptable
Lab-1152 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-06 | Yes | Acceptable
Lab-1153 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-06 | Yes | Acceptable
Lab-1154 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1158 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-13 | Yes | Acceptable
Lab-1163 | Negative | Serological |  |  |  | 2026-04-30 | Yes | Acceptable
Lab-1165 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1168 | Negative |  |  |  | 2026-05-06 | 2026-05-07 | Yes | Acceptable
Lab-1170 | Equivocal | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Not Assessed
Lab-1174 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-08 | Yes | Acceptable
Lab-1175 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1178 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1179 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1180 | Negative |  |  |  | 2026-05-07 | 2026-05-08 | Yes | Acceptable
Lab-1181 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-11 | Yes | Acceptable
Lab-1189 | Negative | Serological |  |  | 2026-05-05 | 2026-05-05 | Yes | Acceptable
Lab-1190 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-06 | Yes | Acceptable
Lab-1191 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1192 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-08 | Yes | Acceptable
Lab-1193 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-06 | Yes | Acceptable
Lab-1194 | Negative | Molecular | Negative |  | 2026-05-04 | 2026-05-11 | Yes | Acceptable
Lab-1195 | Negative |  |  |  | 2026-05-05 | 2026-05-12 | Yes | Acceptable
Lab-1196 | Negative | Serological | Not applicable |  | 2026-05-05 | 2026-05-06 | Yes | Acceptable
Lab-1198 | Negative |  |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1199 | Negative | Molecular |  |  | 2026-04-30 | 2026-04-29 | Yes | Acceptable
Lab-1200 | Negative | Molecular |  |  | 2026-05-05 | 2026-05-11 | Yes | Acceptable
Lab-1203 | Negative | Molecular |  |  | 2026-05-04 | 2026-05-07 | Yes | Acceptable
Lab-1204 | Negative | Molecular |  |  | 2026-05-06 | 2026-05-08 | Yes | Acceptable
Lab-1207 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-07 | Yes | Acceptable
Lab-1208 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1210 | Negative | Molecular | Negative in Exon 2 and in Exon 3 |  | 2026-05-05 | 2026-05-07 | Yes | Acceptable
Lab-1211 | Negative | [5 empty] | Yes | Acceptable
Lab-1213 | Negative | Molecular |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1215 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-05 | Yes | Acceptable
Lab-1216 | [6 empty] | No | Unacceptable
Lab-1218 | Negative | Molecular |  |  | 2026-05-08 | 2026-05-08 | Yes | Acceptable
Lab-1238 | Negative | Molecular |  |  | 2026-04-29 | 2026-04-30 | Yes | Acceptable
Lab-1239 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-05 | Yes | Acceptable
Lab-1240 | Not Tested |  |  | Technical problem |  |  | Yes | Not Assessed
Lab-1256 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1257 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-01 | Yes | Acceptable
Lab-1261 | Not Tested | Serological |  | Tested samples but no events recorded for both. Samples only received yesterday (18/05/2026) in lab ? where have they been | 2026-05-18 | 2026-05-19 | Yes | Not Assessed
Lab-1263 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1264 | Negative | Molecular |  |  | 2026-05-06 | 2026-05-08 | Yes | Acceptable
Lab-1266 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-04 | Yes | Acceptable
Lab-1267 | Negative | Molecular |  |  | 2026-04-30 | 2026-05-11 | Yes | Acceptable
Lab-1268 | Negative |  |  | No methods provided. | 2026-05-15 | 2026-05-18 | Yes | Acceptable
Lab-1269 | Negative | Molecular |  |  | 2026-04-29 | 2026-05-08 | Yes | Acceptable
Lab-1270 | Negative | Serological |  |  | 2026-04-29 | 2026-04-29 | Yes | Acceptable
Lab-1271 | Negative |  |  |  | 2026-04-30 | 2026-05-01 | Yes | Acceptable
Lab-1273 | Negative | Molecular |  |  | 2026-05-01 | 2026-05-07 | Yes | Acceptable
Lab-1274 | Negative |  |  | No methods provided. |  |  | Yes | Acceptable
Lab-1276 | Negative | Serological |  |  | 2026-04-30 | 2026-04-30 | Yes | Acceptable
Lab-1279 | Negative | Molecular | All HLA-B27 alleles except HLA-B2707 |  | 2026-04-30 | 2026-05-07 | Yes | Acceptable
Lab-1280 | Not Tested | Serological |  | Delivery/customs issues | 2026-05-08 | 2026-05-08 | Yes | Not Assessed
Lab-1285 | Negative | [5 empty] | Yes | Acceptable

## 1B-1+2-2026 Methods
Laboratory | Methods Used | Methods Used (Others) | Source of Primers and Probes | Detection System | DNA Extraction Method | Reagents / Kits Used | System | Reference to Primer Probe Sequences | Comments
Lab-1003 | PCR - Melt curve analysis |  | Commercial kits |  | Automated | OneLamda Linkseq B27 testing kit | QIAGEN EZ2 DNA extraction
Lab-1004 | Other | Flow cytometry | Commercial kits | Fluorescence |  | BD HLA-B27 kit | BD FACS Lyric
Lab-1005 | Other | PCR SSP | Commercial kits | Gel | Automated | Olerup SSP Care Dx
Lab-1008 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen | Luminex
Lab-1009 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | BD HLA-B27 Kit | BD Facs Lyric
Lab-1013 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Thermofisher Labtype | Luminex LX 200
Lab-1015 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit
Lab-1016 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | magna pure 24 total NA Isolation Kit | Magna Pure 24 and Cobas Z480 LightCycler
Lab-1019 | Other | PCR-SSP | Commercial kits | Gel | Automated | Maxwell RSC Blood DNA Kit | Maxwell RSC 48 instrument | N/A
Lab-1020 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | QIAsymphony DSP DNA Kits/BAG Diagnostics Fast B*27 | Qiagen Qiasymphony
Lab-1021 | Other | Flowcytometry | Commercial kits | Fluorescence |  | Beckman | DXFlex
Lab-1024 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | EZ1 blood DNA | EZ2
Lab-1026 | PCR - Melt cure analysis, PCR-SSO |  | Commercial kits | Fluorescence, Other | Automated | Qiagen EZ2
Lab-1027 | Other | PCR-SSP | Commercial kits | Gel | Automated | MagDea Dx SV | magLEAD
Lab-1028 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | RIDAGENE HLA-B27
Lab-1030 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | croBEE 201A Nucleic Acid Extraction Kit | CroBEE, GeneProof
Lab-1042 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit-Duplica Prep | ABI 7500
Lab-1043 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other
Lab-1044 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | The ViennaLab HLA-B27 RealFast™ Assay , The Omega Bio-Tek Mag-Bind® Blood & Tissue DNA Kit | Kingfisher Flex, ABI 7500
Lab-1046 | Other | Flow cytometry |  |  |  | Beckman-Coulter kit
Lab-1049 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | FastQ B*27 direct from BAG Diagnostics | Quantstudio 7 Flex Real Time PCR system |  | B*27 testing method used is direct from blood and DNA extraction is not required so chose the 'other' option for the DNA extraction method category. B*27 Direct from blood kit detects alleles as per IMGT library 3.58.
Lab-1050 | Other | flow cytometry | Commercial kits | Other |  | BD Bioscience for HLA-B27
Lab-1052 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | SP200 Extraction reagent & CLONIT HLA B27 kit | Elitech Ingenius
Lab-1055 | Other | PCR-SSP | Commercial kits | Gel | Automated | Qiagen | EZ2 Connect MDX
Lab-1057 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | QIAamp DNA blood mini kit | Qiacube
Lab-1066 | Other |  | Commercial kits | Gel | Automated
Lab-1067 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | in house | Quantstudio 3 | IPD-IMGT/HLA version 2.2
Lab-1075 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | LinkSeq HLA -B27 Typing Kit | QuantStudio6 | https://www.thermofisher.com/is/en/home/brands/onelambda.html
Lab-1077 | PCR-SSO |  | Commercial kits | Other | Automated | BAG Histospot SSO kit | Mr Spot | IMGT 3.61
Lab-1079 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen-Lifecodes | Luminex | IMGT Allele database version 3.62
Lab-1080 | Other | PCR-SSP OLERUP | Commercial kits | Gel | Automated | PROMEGA | MAXWELL 16
Lab-1081 | Other
Lab-1082 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | BAG FastQ
Lab-1084 | Other | Serological |  |  |  | BD HLA-B27 kit / One Lambda FITC | BD FACSLyric
Lab-1085 | Other | Q-PCR
Lab-1086 | Real Time - PCR (RT-PCR) |  | Other | Fluorescence | Automated | QIAsymphony DSP Virus/Pathogen Midi Kit | QIagen Qiasymphony | Roelandse-Koop EA, Buisman B, van Hannen EJ, van der Zee A, Kortlandt W, Hermans MH, van Houte AJ, van Rhee-Luderer R. Rapid HLA-B27 screening with real-time TaqMan PCR: a clinical validation in the Dutch population. Clin Chem Lab Med. 2011 Sep 6;49(12):1979-85. doi: 10.1515/CCLM.2011.252. PMID: 21892909.
Lab-1088 | Other | Complement Dependent Cytotoxicity | Commercial kits | Other | Other | One Lambda | N/A | N/A
Lab-1090 | PCR-SSO |  | Commercial kits | Other | Automated | Labturbo whole blood | labturbo
Lab-1099 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | WERFEN | LUMINEX | IPD- IMGT/HLA DATABASE v3.62.0
Lab-1102 | Other | Flow Cytometry | Own design | Fluorescence |  | Beckman Coulter HLA-B27 / HLA-B7. One Lambda HLA-B27. | Beckman Coulter Navios EX |  | These results were submitted 12/05/2026 via email (spoke to Melanie) due to IT errors
Lab-1103 | Other | Flowcytometry | Commercial kits | Fluorescence |  | IOTest Conjugated Antibodies Anti-HLA-B27-FITC Anti-HLA-B7-PE | Flow Cytometry | HLA-ABC-m3/BB7.1
Lab-1104 | PCR - Melt cure analysis |  | Commercial kits | Other | Automated | geneMAP HLA-B*27 detection kit
Lab-1105 | Other | Flow cytometry | Commercial kits |  |  | Beckman Coulter | DxFlex
Lab-1108 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Maxwell whole blood | Maxwell
Lab-1110 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | MagnaPure small volume kit , gb GENETIC HLA B27, Generi Biotech | MagnaPure 96
Lab-1115 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | ONE LAMBDA | LUMINEX
Lab-1118 | Other | PCR - SSP | Commercial kits | Gel | Automated | EZ1&2 extraction, DNA blood 200ul and 350ul kit | Qiagen
Lab-1119 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | kit cobas6800 UTIC chan + EliGene Spondylitis HLA B-27 | cobas6800
Lab-1120 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated |  | QiaSymphony
Lab-1124 | Other | Flow Cytometry | Commercial kits | Other
Lab-1125 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated
Lab-1128 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | Direct from Blood - BAGG | QuantStudio Dx | Commercial primers
Lab-1130 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | STARMag Universal cartridge Kit | Seegene STARlet
Lab-1134 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | FastQ BAG Diagnostics | QIASymphony
Lab-1136 | Other | Flow cytometry
Lab-1138 | Other |  | Commercial kits | Fluorescence
Lab-1139 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Maxwell Whole Blood | Maxwell RSC | 3.61.0
Lab-1140 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | 25892502(PSR) | eMAG for extraction and Light Cycler for amplification
Lab-1142 | Real Time - PCR (RT-PCR) | SSP-PCR | Commercial kits | Fluorescence | Automated | DNA extraction: SeeGene STARMag Universal Extraction kit; detection: Inno-Train HLA-FluoGene B27 | CFX96
Lab-1143 | Other | FLow cytometry | Commercial kits | Fluorescence |  | BD JLA-B27 kit | Flow cytometry
Lab-1144 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | LaCar HLA B27 | Tecan Evo75/LC480
Lab-1145 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit RT-53
Lab-1146 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Ridagene
Lab-1148 | PCR - Melt cure analysis |  | Own design | Fluorescence | Automated | MagNA Pure 96 DNA and Viral NA Small Volume Kit | Roche
Lab-1149 | Other | LAMP | Commercial kits | Fluorescence | Automated | Lacar LAMP Human HLA-27 direct detection KIT
Lab-1151 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | QIAGEN | QIASYMPHONY
Lab-1152 | PCR-SSO |  | Commercial kits |  | Automated | AS1540 Promega
Lab-1153 | Other | PCR-SSP | Own design | Gel | Automated | - | Maxwell | -
Lab-1154 | PCR - Melt cure analysis |  | Commercial kits | Gel | Automated | Qiagen | EZ1 and EZ2
Lab-1158 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Manual | Macherey Nagel Dx Blood / TibMolbiol | LC480
Lab-1163 | Other | Serological
Lab-1165 | PCR - Melt cure analysis |  | Commercial kits | Fluorescence | Automated | Maxwell Whole Blood DNA-Kit | Maxwell CSC | 3.57.0 July 2024
Lab-1168 | Other | Flow Cytometry |  | Huỳnh quang |  | HLA-B27 Kit ( Anti-HLA-B27/CD3) | Becton Dickinsion (BD)
Lab-1170 | Other | Flow Cytometry | Own design | Fluorescence |  | IOTest HLA-B27 FITC/HLA-B7 PE (A07739) + CD3 PE-Cy7 (clone UCHT1 ref 737657) - Beckman Coulter | DX Flex (Beckman Coulter)
Lab-1174 | Other | PCR-SSP | Commercial kits | Gel | Automated | Maxwell RSC Buffy Coat DNA Kit, HLA-Ready Gene B27 | Maxwell
Lab-1175 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Promega Buffy coat extraction kit As1010 | Maxwell MDx Promega
Lab-1178 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | NucleoSpin Dx Blood Macherey Nagel / TibMolBiol | cobas z480
Lab-1179 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen | Luminex | Lifecodes HLA-B HLA-B eRES SSO
Lab-1180 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | IgG1 FITC + IgG1 PE and HLA-B27 FITC + HLA-B7 PE
Lab-1181 | Real Time - PCR (RT-PCR)
Lab-1189 | Other | BD HLAB27 | Commercial kits | Fluorescence |  | BD HLAB27
Lab-1190 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | InviMag® Universal Kit/ KF96 /gb GENETIC HLA-B*27 | Quantstudio5
Lab-1191 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | HLA-B27 Multiplex qPCR Kit (NZYTECH) | CFX96™ System (BIO-RAD)
Lab-1192 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit | Ingenious Elitech
Lab-1193 | Other | DNA Microarray | Commercial kits | Fluorescence | Manual | EUROIMMUN – EUROArray HLA-B27 Direct | . | .
Lab-1194 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit HLA B27 Kit | ELITe InGenius SYSTEM | HLA B27 allele
Lab-1195 | Other | Flow citometry
Lab-1196 | Other | Flow cytometry | Commercial kits | Other |  | BD HLA-B27 KIT | FACS CANTO II
Lab-1198 | Other | Flow cytometry | Commercial kits | Fluorescence |  | Beckman coulter | Navios EX | Beckman coulter
Lab-1199 | Other | PCR SSP | Commercial kits | Gel | Automated | BAG diagnostics Histo type B27
Lab-1200 | Other | PCR-SSP | Own design | Gel | Manual | Purelink genomic DNA mini kit | Applied Biosystems SimplyAmp
Lab-1203 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | One Lambda SSO | Luminex
Lab-1204 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Manual | In House | CFX 96 Real time system | In House
Lab-1207 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | DNA Blood kit (Qiagen) | EZ1
Lab-1208 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Promega Maxwell RSC Whole Blood DNA Kit for DNA purification and BDR Genvinset for RT-PCR | Maxwell RSC and AriaMX
Lab-1210 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | EuroArray from Euroimmun Direct
Lab-1211 | Other
Lab-1213 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | FASTQ - Direct from blood | Quant Studio DX | IMGT HLA 3.60
Lab-1215 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | BDR Genvinset | Quantstudio 6 | -
Lab-1216 | Other | [7 empty] | no methods provided.
Lab-1218 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Qiagen DNA 1 | EZ1
Lab-1238 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence |  | FASTQ B*27 direct kit | Quant Studio Dx |  | Direct from blood kit. DNA extraction not required.
Lab-1239 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen - Immucor | Luminex
Lab-1240 | Other
Lab-1256 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen Immucore | Luminex
Lab-1257 | Other | LAMP | Commercial kits | Fluorescence | Other | LaCAR LAMP kit | Optigene GenieHT | N/A
Lab-1261 | Other | Beckman Coulter Serological Fluorescence | Other | Fluorescence |  | Beckman Coulter Anti-HLA - B27 FITC/Anti-HLA B27-PE | DxFlex
Lab-1263 | Other |  | Commercial kits | Other | Manual | Beckman | Navios Ex - Flowcytometry
Lab-1264 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | FastQ® B*27 Direct Kits, Qiagen EZ2 DNA extraction
Lab-1266 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | Qiagen-Sample Prep Cartridges Cat No/ID: 997002 | Magnetic beads | Three primer pairs with their respective probes
Lab-1267 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated
Lab-1268 | Other
Lab-1269 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Maxwel | QuantStudio 5 | Eurobio Scientific
Lab-1270 | Other | Flow cytometry |  | Other |  |  |  |  | Navios Flow cytometer, B27-FITC Beckman, B27 One Lambda VH Bio
Lab-1271 | Other | flowcytometrie | Other | Fluorescence |  |  | Sysmex XF1600
Lab-1273 | PCR-SSO |  | Own design | Gel | Manual | Qiagen
Lab-1274 | Other | not provided | Other | Other | Other | not provided | not provided | not provided | not provided
Lab-1276 | Other | Flow cytometry (BD HLAB27 Kit) | Commercial kits | Fluorescence |  | HLAB27 kit BD | Facs Canto 2
Lab-1279 | Real Time - PCR (RT-PCR) |  | Other | Fluorescence | Automated | Maxwell RSC whole blood DNA AS1520 | Promega Maxwell | Roelandse-Koop EA et al 2011 Clin Chem Lab Med 49, 1979-1985
Lab-1280 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | HLA-B27 KIT (340183)
Lab-1285 | Other