## 2B-1-2026 T cells (G2)
2B-1-2026 G2
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 30 | 30 | 30 | 30
Total submitted | 30 | 30 | 30 | 30
Not Tested | 6 | 6 | 6 | 6
Positive | 15 | 13 | 0 | 24
Negative | 9 | 9 | 24 | 0
Equivocal | 0 | 2 | 0 | 0
% Positive | 62.5% | 54.17% | 0% | 100%
% Negative | 37.5% | 37.5% | 100% | 0%
% Equivocal | 0% | 8.333% | 0% | 0%
Consensus | No consensus | No consensus | Negative | Positive
Unacceptable | N/A | N/A | Positive, Equivocal | Negative, Equivocal
Number acceptable | N/A | N/A | 24 | 24
Number unacceptable | N/A | N/A | 0 | 0
Assessed | No | No | Yes | Yes
Laboratory Code | T-cells Serum 1 | T-cells Serum 2 | T-cells Serum 3 | T-cells Serum 4 | T-cells Serum 1 Cytometer Reading | T-cells Serum 2 Cytometer Reading | T-cells Serum 3 Cytometer Reading | T-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | T-cells Local Negative Control | T-cells Local Positive Control | T-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Tcell
Lab-1013 | Negative | Positive | Negative | Positive | 174 | 299 | 118 | 455 | MFI | 93 | Serum 3 B cells Not Tested due to events <800. | 197 | 2779 | >=65 mcs | 2026-06-03 | 2026-06-03 | Yes | 2026 | Cell count too low | Serum 3 B cells: events <800. | 4 | 2 | 2 | Yes
Lab-1014 | Positive | Positive | Negative | Positive | 344 | 453 | 193 | 1012 | MdIF | 100 | Cell viability not tested | 204 | 381 | 286 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1024 | Negative | Negative | Negative | Positive | 228 | 180 | 149 | 667 | median log channel | 93.7 |  | 251 | 2494 | 601(251+3SD) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1032 | Positive | Positive | Negative | Positive | 768,0 | 728,0 | 287,5 | 4255,0 | Median fluorescence intensity | 96 |  | 310,5 | 17950 | 3SD + 50 channel shift | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1035 | Positive | Positive | Negative | Positive | 1,9 | 3,9 | 0,9 | 10,8 | ratio | 85 |  | 1 | 19,3 (low) 92,5 (high) | Ratio >1,3 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1040 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Samples not received | Samples not delivered to laboratory. | 0 | 0 | 0 | Yes
Lab-1047 | Negative | Equivocal | Negative | Positive | / | / | / | / | Mediane | 98 |  | Known patient serum | None | 3SD | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1054 | Positive | Negative | Negative | Positive | 379 | 134 | 41 | 2041 | median fluorescence intensity | 80 |  | 44 | 10571 | Ratio > 3.6 | 2026-06-10 | 2026-06-10 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1060 | Positive | Negative | Negative | Positive | 246 | 209 | 172 | 437 | Median FITC Channel Shift |  |  | 150 | 392 | 61 Median FITC Channel Shift | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1061 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-16 |  | Yes | 2026 | Sample delivery delay | Cell viability poor due to samples delivery delay. | 0 | 0 | 0 | Yes
Lab-1067 | Negative | Positive | Negative | Positive | 3116 | 4021 | 985 | 15683 | Median log | 90 |  | 936 | 238812 | >ratio 3.4 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1070 | Positive | Positive | Negative | Positive | 148 | 221 | 81 | 482 |  | 90 |  | 90 | 971 | 1.4xTneg | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1071 | Positive | Positive | Negative | Positive | 12607 | 14491 | 2111 | 103902 | linear acquisition, linear values | 98 |  | 2497 | 261736 | 6000 above the mean of the negative controls | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1075 | Positive | Positive | Negative | Positive | 447 | 918 | 184 | 2306 |  |  | Cell viability not performed | 205 | 17787 | 307 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1076 | Negative | Positive | Negative | Positive | 45 | 75 | -82 | 275 | MFI | 90 |  | 0 | 456 | >45 (DELTA MCF) | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1092 | Negative | Negative | Negative | Positive |  |  |  |  | Ratio | 90 |  | 1 | 127 | 3SD | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1095 | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay |  | 0 | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | 2026-06-09 | 2026-06-09 | Yes | 2026 | Sample delivery delay | The problems withcustoms clearance, solved with DHL | 0 | 0 | 0 | Yes
Lab-1096 | Positive | Positive | Negative | Positive | 41300 | 97100 | 10250 | 142000 |  |  |  | 12550 | 74500 | Ratio (Median Sample / Median Control Neg)>1,6 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1111 | Positive | Positive | Negative | Positive | 333 MCF | 311 MCF | 143 MCF | 541 MCF | MCF - median channel fluorescence | 96.6 |  | 176 MCF | 527 MCF | Sum of negative control value and cut-off value = 230,3 MCF | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1117 | Positive | Negative | Negative | Positive | 1,26 | 0,87 | 0,75 | 2,17 |  | 96 | arrival on June 5th due to problems with customs |  | 15,28 | >1,3 (and channel shift) | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1159 | Positive | Positive | Negative | Positive | 263,9 | 489 | 101 | 1519,5 | Median Fluorescence Intensity | 99 |  | 128 | 4766 | MFI Ratio (MFI sample / MFI NC) >= 1,5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1166 | Positive | Negative | Negative | Positive | 4377.36 | 3767.96 | 3460.74 | 14194.54 | Mndx(Median) | 86 | Very bloody layer of lymphocytes(bloody sample) and also very low number of B-cells. | 2854.72 | 29722.88 | Ratio>1.351 | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1179 | Negative | Negative | Negative | Positive | 0.300 | 0.290 | 0.275 | 0.420 | MFI | 100 | Cell Viability not assessed using flow cytometry | 0.275 | 0.605 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1182 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-09 |  | Yes | 2026 | Sample delivery delay | Delivered to agent 05/06, delivered to lab 09/06. No viable cells. | 0 | 0 | 0 | Yes
Lab-1183 | Positive | Positive | Negative | Positive | 497 | 319 | 162 | 2046 |  | 90 |  | 189 | 537 |  | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1197 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Other | Laboratory organization | 0 | 0 | 0 | Yes
Lab-1248 | Negative | Equivocal | Negative | Positive | 326 | 478 | -82 | 3066 | MFI | 94.9 | OUR LAB NOT YET PERFORM B CELL CROSSMATCH | 921 | 69068 | >257 (ANTI IgG FITC SHIFT) WITH RATIO >2.0 | 2026-06-04 | 2026-06-05 | Yes | 2026 | Other | Only T-cell flow crossmatch was performed. B-cell flow crossmatch is not currently available in our laboratory. | 4 | 2 | 2 | Yes
Lab-1258 | Negative | Negative | Negative | Positive | 173 | 152 | 2 | 859 | MCS | 94.9 |  | 116 | 21076 | MCS ≥338 , Ratio ≥ 2.5 | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1277 | Positive | Negative | Negative | Positive | 851 (ratio 2.2) | 682 (ratio 1.8) | 339 (ratio 0.9) | 3634 (ratio 9.4) | Fluorescence Unit | 95 |  | 388 | 2473 (ratio 6.4) | 1.8 (ratio) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 2 | Yes
Lab-1283 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested |  |  |  | 2026-06-11 |  | Yes | 2026 | Sample delivery delay | The samples were supposed to arrive on 02/06 but were delivered on 11/06 | 0 | 0 | 0 | Yes

## 2B-1-2026 B cells (G2)
2B-1-2026 G2
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 29 | 29 | 29 | 29
Total submitted | 29 | 29 | 29 | 29
Not Tested | 8 | 8 | 9 | 8
Positive | 20 | 14 | 1 | 21
Negative | 1 | 7 | 19 | 0
Equivocal | 0 | 0 | 0 | 0
% Positive | 95.24% | 66.67% | 5% | 100%
% Negative | 4.762% | 33.33% | 95% | 0%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Positive | No consensus | Negative | Positive
Unacceptable | Negative, Equivocal | N/A | Positive, Equivocal | Negative, Equivocal
Number acceptable | 20 | N/A | 19 | 21
Number unacceptable | 1 | N/A | 1 | 0
Assessed | Yes | No | Yes | Yes
Laboratory Code | B-cells Serum 1 | B-cells Serum 2 | B-cells Serum 3 | B-cells Serum 4 | B-cells Serum 1 Cytometer Reading | B-cells Serum 2 Cytometer Reading | B-cells Serum 3 Cytometer Reading | B-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | B-cells Local Negative Control | B-cells Local Positive Control | B-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Bcell
Lab-1013 | Positive | Positive | Not Tested | Positive | 1074 | 444 | 142 | 1647 | MFI | 93 | Serum 3 B cells Not Tested due to events <800. | 249 | 6264 | >=125 mcs | 2026-06-03 | 2026-06-03 | Yes | 2026 | Cell count too low | Serum 3 B cells: events <800. | 3 | 2 | 2 | Yes
Lab-1014 | Positive | Positive | Negative | Positive | 3732 | 987 | 324 | 5173 | MdIF | 100 | Cell viability not tested | 381 | 932 | 609 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1024 | Positive | Negative | Negative | Positive | 2717 | 635 | 352 | 8545 | median log channel | 93.7 |  | 717 | 21734 | 1763(717+3SD) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1032 | Positive | Positive | Negative | Positive | 2556,5 | 1627,5 | 272,0 | 12276,0 | Median fluorescence intensity | 96 |  | 272,5 | 25364 | 3SD + 100 channel shift | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1035 | Positive | Negative | Negative | Positive | 5,1 | 2,3 | 0,6 | 10,4 | ratio | 85 |  | 1 | 14,0 (low) 31,1 (high) | Ratio 2,8 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1040 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Samples not received | Samples not delivered to laboratory. | 0 | 0 | 0 | Yes
Lab-1047 | Positive | Negative | Negative | Positive | / | / | / | / | Mediane | 98 |  | Known patient serum | None | 3SD | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1054 | Positive | Negative | Negative | Positive | 2451 | 538 | 128 | 6779 | median fluorescence intensity | 80 |  | 243 | 33940 | Ratio > 3.8 | 2026-06-10 | 2026-06-10 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1060 | Positive | Positive | Negative | Positive | 412 | 236 | 158 | 577 | Median FITC Channel Shift |  |  | 141 | 472 | 56 Median FITC Channel Shift | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1061 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-16 |  | Yes | 2026 | Sample delivery delay | Cell viability poor due to samples delivery delay. | 0 | 0 | 0 | Yes
Lab-1067 | Positive | Positive | Negative | Positive | 37446 | 6181 | 2029 | 50508 | Median log | 90 |  | 1733 | 460814 | >ratio 3.4 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1070 | Positive | Positive | Negative | Positive | 1267 | 456 | 143 | 1925 |  | 90 |  | 217 | 2960 | 2xTneg | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1071 | Positive | Positive | Negative | Positive | 129158 | 32313 | 6635 | 261591 | linear acquisition, linear values | 98 |  | 6050 | 261478 | 6000 above the mean of the negative controls | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1075 | Positive | Positive | Negative | Positive | 8789 | 3928 | 1532 | 13705 |  |  | Cell viability not performed | 1518 | 32767 | 2277 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1076 | Negative | Negative | Negative | Positive | 39 | -38 | -138 | 145 | MFI | 90 |  | 0 | 238 | > 50 DELTA MCF | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1092 | Positive | Positive | Positive | Positive |  |  |  |  | Ratio | 90 |  | 1 | 77 | 2SD | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1095 | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay |  | 0 | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | 2026-06-09 | 2026-06-09 | Yes | 2026 | Sample delivery delay | The problems withcustoms clearance, solved with DHL | 0 | 0 | 0 | Yes
Lab-1096 | Positive | Positive | Negative | Positive | 366500 | 201000 | 32500 | 502050 |  |  |  | 26100 | 173950 | Ratio (Median Sample / Median Control Neg)>1,8 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1111 | Positive | Positive | Negative | Positive | 594 | 398 | 209 | 663 | MCF - median channel fluorescence | 96.6 |  | 267 | 664 | Sum of negative control value and cut-off value = 378,5 MCF | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1117 | Positive | Negative | Negative | Positive | 7,00 | 0,75 | 0,52 | 7,87 |  | 96 | arrival on June 5th due to problems with customs |  | 23,05 | >1,3 (and channel shift) | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1159 | Positive | Positive | Negative | Positive | 3485,8 | 3261 | 2507 | 6002,5 | Median Fluorescence Intensity | 99 |  | 2027 | 10783 | MFI Ratio (MFI sample / MFI NC) >= 1,5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested | low B cell count | low B cell count | low B cell count | low B cell count | Mndx(Median) | 86 | Very bloody layer of lymphocytes(bloody sample) and also very low number of B-cells. | low B cell count | low B cell count | low B cell count---not interpreted | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 0 | 0 | 0 | Yes
Lab-1179 | Positive | Negative | Negative | Positive | 0.450 | 0.195 | 0.170 | 0.710 | MFI | 100 | Cell Viability not assessed using flow cytometry | 0.170 | 6.435 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1182 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-09 |  | Yes | 2026 | Sample delivery delay | Delivered to agent 05/06, delivered to lab 09/06. No viable cells. | 0 | 0 | 0 | Yes
Lab-1183 | Positive | Positive | Negative | Positive | 3985 | 911 | 277 | 7726 |  | 90 |  | 389 | 2876 | ratio | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1197 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Other | Laboratory organization | 0 | 0 | 0 | Yes
Lab-1248 | Not Tested | Not Tested | Not Tested | Not Tested | NIL | NIL | NIL | NIL | MFI | 94.9 | OUR LAB NOT YET PERFORM B CELL CROSSMATCH | NIL | NIL | NIL | 2026-06-04 | 2026-06-05 | Yes | 2026 | Other | Only T-cell flow crossmatch was performed. B-cell flow crossmatch is not currently available in our laboratory. | 0 | 0 | 0 | Yes
Lab-1258 | Not Tested | Not Tested | Not Tested | Not Tested | NT | NT | NT | NT | MCS | 94.9 |  | NT | NT | NT | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | N/A | N/A | N/A | No
Lab-1277 | Positive | Positive | Negative | Positive | 9739 (ratio 4.6) | 4273 (ratio 2) | 1266 (ratio 0.6) | 23925 (ratio 11.2) | Fluorescence Unit | 95 |  | 2140 | 7588 (ratio 3.5) | 1.9 (ratio) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1283 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested |  |  |  | 2026-06-11 |  | Yes | 2026 | Sample delivery delay | The samples were supposed to arrive on 02/06 but were delivered on 11/06 | 0 | 0 | 0 | Yes

## 2B-2-2026 T cells (G2)
2B-2-2026 G2
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 30 | 30 | 30 | 30
Total submitted | 30 | 30 | 30 | 30
Not Tested | 6 | 6 | 6 | 6
Positive | 24 | 11 | 23 | 0
Negative | 0 | 12 | 1 | 24
Equivocal | 0 | 1 | 0 | 0
% Positive | 100% | 45.83% | 95.83% | 0%
% Negative | 0% | 50% | 4.167% | 100%
% Equivocal | 0% | 4.167% | 0% | 0%
Consensus | Positive | No consensus | Positive | Negative
Unacceptable | Negative, Equivocal | N/A | Negative, Equivocal | Positive, Equivocal
Number acceptable | 24 | N/A | 23 | 24
Number unacceptable | 0 | N/A | 1 | 0
Assessed | Yes | No | Yes | Yes
Laboratory Code | T-cells Serum 1 | T-cells Serum 2 | T-cells Serum 3 | T-cells Serum 4 | T-cells Serum 1 Cytometer Reading | T-cells Serum 2 Cytometer Reading | T-cells Serum 3 Cytometer Reading | T-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | T-cells Local Negative Control | T-cells Local Positive Control | T-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Tcell
Lab-1013 | Positive | Negative | Positive | Negative | 403 | 199 | 488 | 181 | MFI | 99 |  | 174 | 3112 | ≥65 Median Channel Shifts | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1014 | Positive | Negative | Positive | Negative | 632 | 242 | 828 | 215 | MdIF | 100 | Cell viability not tested | 199 | 550 | 278 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1024 | Positive | Negative | Negative | Negative | 451 | 198 | 194 | 146 | median log channel | 87 |  | 199 | 2450 | 199(320+3SD) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1032 | Positive | Negative | Positive | Negative | 1421,5 | 439 | 872,5 | 295 | Median fluorescence intensity | 96 |  | 305,5 | 5223 | 3SD + 50 channel shift | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1035 | Positive | Positive | Positive | Negative | 6,1 | 1,6 | 5,4 | 1,2 | Ratio | 85 |  | 1 | 19,3 (low) 92,5 (high) | Ratio 1,3 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1040 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Samples not received | Samples not delivered to laboratory. | 0 | 0 | 0 | Yes
Lab-1047 | Positive | Negative | Positive | Negative | / | / | / | / | Mediane | 96 |  | Known patient serum | None | 3SD | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1054 | Positive | Positive | Positive | Negative | 1737 | 347 | 1973 | 84 | median fluorescence intensity | 80 |  | 47 | 10830 | Ratio > 3.6 | 2026-06-10 | 2026-06-10 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1060 | Positive | Positive | Positive | Negative | 395 | 230 | 330 | 187 | Median FITC Channel Shift |  |  | 152 | 390 | 61 Median FITC Channel Shift | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1061 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-16 |  | Yes | 2026 | Sample delivery delay | Cell viability poor due to samples delivery delay. | 0 | 0 | 0 | Yes
Lab-1067 | Positive | Negative | Positive | Negative | 10692 | 3168 | 10869 | 1255 | Median log | 90 |  | 1203 | 364923 | >ratio 3.4 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1070 | Positive | Positive | Positive | Negative | 433 | 124 | 387 | 87 |  | 90 |  | 87 | 1362 | 1.4xTneg | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1071 | Positive | Positive | Positive | Negative | 123203 | 17654 | 84015 | 3953 | linear acquisition, linear values | 98 |  | 2988 | 261274 | 6000 above the mean of the negative controls | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1075 | Positive | Positive | Positive | Negative | 2025 | 440 | 2145 | 239 |  |  | Cell viability not performed | 195 | 18021 | 292 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1076 | Positive | Negative | Positive | Negative | 232 | 45 | 193 | -44 | MCF | 90 |  | 0 | 336 | >45 (DELTA MCF) | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1092 | Positive | Negative | Positive | Negative |  |  |  |  | Ratio | 85 |  | 1 | 27 | 3SD | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1095 | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay |  | 0 | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | 2026-06-09 | 2026-06-09 | Yes | 2026 | Sample delivery delay | The problems with custom clearance, solved with DHL. | 0 | 0 | 0 | Yes
Lab-1096 | Positive | Positive | Positive | Negative | 97900 | 14550 | 48650 | 8600 |  |  |  | 7750 | 28900 | Ratio (Median Sample / Median Control Neg)>1,6 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1111 | Positive | Positive | Positive | Negative | 520 MCF | 318 MCF | 484 MCF | 198 MCF | MCF - median channel fluorescence | 98.9 |  | 171 MCF | 631 MCF | Sum of negative control value and cut-off value = 223,8 MCF | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1117 | Positive | Positive | Positive | Negative | 1,67 | 1,22 | 1,20 | 0,95 |  | 93.4 | arrival on June 5th due to problems with customs |  | 26,82 | >1,3 (and channel shift) | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1159 | Positive | Negative | Positive | Negative | 928,8 | 183,5 | 1007 | 104,5 | Median Fluorescence Intensity (MFI) | 99 |  | 165,5 | 717 | MFI Ratio (MFI sample / MFI NC) >= 1,5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1166 | Positive | Negative | Positive | Negative | 17163.18 | 4613.01 | 7353.07 | 3528.39 | Mndx(Median) | 90 | The packet has been shipped 2-6-2026 and arrived at the lab 5-6-2026 instead 0f 4-6-2026 | 3250.42 | 59496.89 | Ratio>1.351 | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1179 | Positive | Negative | Positive | Negative | 0.440 | 0.315 | 0.385 | 0.270 | MFI | 100 | Cell Viability not assessed using flow cytometry | 0.300 | 1.075 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1182 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-09 |  | Yes | 2026 | Sample delivery delay | Delivered to agent 05/06, delivered to lab 09/06. No viable cells. | 0 | 0 | 0 | Yes
Lab-1183 | Positive | Positive | Positive | Negative | 1915 | 420 | 1151 | 210 |  | 90 |  | 187 | 473 | ratio | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1197 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Other | laboratory organization | 0 | 0 | 0 | Yes
Lab-1248 | Positive | Equivocal | Positive | Negative | 2605 | 409 | 2718 | 257 | MFI | 94.4 | OUR LAB NOT YET PERFORM B CELL CROSSMATCH | 561 | 47462 | >257 (ANTI IgG FITC SHIFT) WITH RATIO >2.0 | 2026-06-04 | 2026-06-05 | Yes | 2026 | Other | Only T-cell flow crossmatch was performed. B-cell flow crossmatch is not currently available in our laboratory. | 4 | 3 | 3 | Yes
Lab-1258 | Positive | Negative | Positive | Negative | 891 | 169 | 801 | 32 | MCS | 93.6 |  | 116 | 20,147 | MCS ≥338 , Ratio ≥ 2.5 | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1277 | Positive | Positive | Positive | Negative | 6863 (ratio 15.9) | 1164 (ratio 2.7) | 7743 (ratio 17.9) | 484 (ratio 1.1) | Fluorescence Unit | 95 |  | 432 | 2099 (ratio 4.9) | 1.8 (Ratio) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1283 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested |  |  |  | 2026-06-11 |  | Yes | 2026 | Sample delivery delay | The samples were supposed to arrive on 02/06 but were delivered on 11/06 | 0 | 0 | 0 | Yes

## 2B-2-2026 B cells (G2)
2B-2-2026 G2
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 29 | 29 | 29 | 29
Total submitted | 29 | 29 | 29 | 29
Not Tested | 7 | 7 | 7 | 7
Positive | 22 | 22 | 20 | 0
Negative | 0 | 0 | 2 | 22
Equivocal | 0 | 0 | 0 | 0
% Positive | 100% | 100% | 90.91% | 0%
% Negative | 0% | 0% | 9.091% | 100%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Positive | Positive | Positive | Negative
Unacceptable | Negative, Equivocal | Negative, Equivocal | Negative, Equivocal | Positive, Equivocal
Number acceptable | 22 | 22 | 20 | 22
Number unacceptable | 0 | 0 | 2 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B-cells Serum 1 | B-cells Serum 2 | B-cells Serum 3 | B-cells Serum 4 | B-cells Serum 1 Cytometer Reading | B-cells Serum 2 Cytometer Reading | B-cells Serum 3 Cytometer Reading | B-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | B-cells Local Negative Control | B-cells Local Positive Control | B-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Bcell
Lab-1013 | Positive | Positive | Positive | Negative | 1830 | 1519 | 678 | 186 | MFI | 99 |  | 212 | 3501 | ≥125 MEDIAN CHANNEL SHIFTS | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1014 | Positive | Positive | Positive | Negative | 3397 | 2229 | 1585 | 323 | MdIF | 100 | Cell viability not tested | 292 | 746 | 467 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1024 | Positive | Positive | Negative | Negative | 8004 | 4479 | 551 | 404 | median log channel | 87 |  | 402 | 31538 | 895(402+3SD) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1032 | Positive | Positive | Positive | Negative | 7454,5 | 1591 | 2652,5 | 292,5 | Median fluorescence intensity | 96 |  | 242,0 | 23577 | 3SD + 100 channel shift | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1035 | Positive | Positive | Positive | Negative | 9,8 | 8,3 | 3,5 | 0,9 | Ratio | 85 |  | 1 | 1,4 (low) 5,2 (high) | 2,8 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1040 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Samples not received | Samples not delivered to laboratory. | 0 | 0 | 0 | Yes
Lab-1047 | Positive | Positive | Positive | Negative | / | / | / | / | Mediane | 96 |  | Known patient serum | None | 3SD | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1054 | Positive | Positive | Positive | Negative | 5625 | 2157 | 2704 | 182 | median fluorescence intensity | 80 |  | 131 | 25556 | Ratio > 3.8 | 2026-06-10 | 2026-06-10 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1060 | Positive | Positive | Positive | Negative | 545 | 361 | 366 | 167 | Median FITC Channel Shift |  |  | 125 | 448 | 56 Median FITC Channel Shift | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1061 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-16 |  | Yes | 2026 | Sample delivery delay | Cell viability poor due to samples delivery delay. | 0 | 0 | 0 | Yes
Lab-1067 | Positive | Positive | Positive | Negative | 52964 | 31997 | 20618 | 2116 | Median log | 90 |  | 885 | 313595 | >3.4 ratio | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1070 | Positive | Positive | Positive | Negative | 2343 | 1458 | 718 | 128 |  | 90 |  | 167 | 4601 | 2xTneg | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1071 | Positive | Positive | Positive | Negative | 261479 | 221388 | 106361 | 9880 | linear acquisition, linear values | 98 |  | 4681 | 261120 | 6000 above the mean of the negative controls | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1075 | Positive | Positive | Positive | Negative | 14920 | 12194 | 6147 | 2009 |  |  | Cell viability not performed | 1840 | 38058 | 2761 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1076 | Positive | Positive | Negative | Negative | 150 | 71 | 0 | -89 | MCF | 90 |  | 0 | 443 | >50 (DELTA MCF) | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1092 | Positive | Positive | Positive | Negative |  |  |  |  | Ratio | 85 |  | 1 | 24 | 2SD | 2026-06-03 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1095 | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay |  | 0 | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | Not Tested due to sample delivery delay | 2026-06-09 | 2026-06-09 | Yes | 2026 | Sample delivery delay | The problems with custom clearance, solved with DHL. | 0 | 0 | 0 | Yes
Lab-1096 | Positive | Positive | Positive | Negative | 435400 | 118850 | 57350 | 16150 |  |  |  | 10000 | 35150 | Ratio (Median Sample / Median Control Neg)>1,8 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1111 | Positive | Positive | Positive | Negative | 681 MCF | 629 MCF | 554 MCF | 250 MCF | MCF - median channel fluorescence | 98.9 |  | 233 MCF | 723 MCF | Sum of negative control value and cut-off value = 346,5 MCF | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1117 | Positive | Positive | Positive | Negative | 3,62 | 3,72 | 1,23 | 0,88 |  | 93.4 | arrival on June 5th due to problems with customs |  | 51,52 | >1,3 (and channel shift) | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1159 | Positive | Positive | Positive | Negative | 4933,4 | 2014 | 2526 | 736 | Median Fluorescence Intensity (MFI) | 99 |  | 908,5 | 4848 | MFI Ratio (MFI sample / MFI NC) >= 1,5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1166 | Positive | Positive | Positive | Negative | 130751.67 | 37122.23 | 18684.32 | 6026.37 | Mndx(Median) | 90 | The packet has been shipped 2-6-2026 and arrived at the lab 5-6-2026 instead 0f 4-6-2026 | 6905.45 | 1199116.5 | Ratio>1.866 | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1179 | Positive | Positive | Positive | Negative | 0.820 | 0.600 | 0.305 | 0.185 | MFI | 100 | Cell Viability not assessed using flow cytometry | 0.190 | 7.315 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1182 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested. |  |  |  | 2026-06-09 |  | Yes | 2026 | Sample delivery delay | Delivered to agent 05/06, delivered to lab 09/06. No viable cells. | 0 | 0 | 0 | Yes
Lab-1183 | Positive | Positive | Positive | Negative | 7410 | 3953 | 1673 | 293 |  | 90 |  | 244 | 2837 | ratio | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1197 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Other | laboratory organization | 0 | 0 | 0 | Yes
Lab-1248 | Not Tested | Not Tested | Not Tested | Not Tested | NIL | NIL | NIL | NIL | MFI | 94.4 | OUR LAB NOT YET PERFORM B CELL CROSSMATCH | NIL | NIL | NIL | 2026-06-04 | 2026-06-05 | Yes | 2026 | Other | Only T-cell flow crossmatch was performed. B-cell flow crossmatch is not currently available in our laboratory. | 0 | 0 | 0 | Yes
Lab-1258 | Not Tested | Not Tested | Not Tested | Not Tested | NT | NT | NT | NT | MCS | 93.6 |  | NT | NT | NT | 2026-06-05 | 2026-06-05 | Yes | 2026 |  |  | N/A | N/A | N/A | No
Lab-1277 | Positive | Positive | Positive | Negative | 27820 (ratio 32.5) | 14495 (ratio 16.9) | 10853 (ratio 12.7) | 932 (ratio 1.1) | Fluorescence Unit | 95 |  | 857 | 4542 (ratio 5.3) | 1.9 (ratio) | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1283 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Not tested |  |  |  | 2026-06-11 |  | Yes | 2026 | Sample delivery delay | The samples were supposed to arrive on 02/06 but were delivered on 11/06 | 0 | 0 | 0 | Yes