## 2B-1-2026 T cells (G3)
2B-1-2026 G3
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 24 | 24 | 24 | 24
Total submitted | 24 | 24 | 24 | 24
Not Tested | 3 | 3 | 3 | 3
Positive | 7 | 0 | 0 | 20
Negative | 14 | 21 | 21 | 1
Equivocal | 0 | 0 | 0 | 0
% Positive | 33.33% | 0% | 0% | 95.24%
% Negative | 66.67% | 100% | 100% | 4.762%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | No consensus | Negative | Negative | Positive
Unacceptable | N/A | Positive, Equivocal | Positive, Equivocal | Negative, Equivocal
Number acceptable | N/A | 21 | 21 | 20
Number unacceptable | N/A | 0 | 0 | 1
Assessed | No | Yes | Yes | Yes
Laboratory Code | T-cells Serum 1 | T-cells Serum 2 | T-cells Serum 3 | T-cells Serum 4 | T-cells Serum 1 Cytometer Reading | T-cells Serum 2 Cytometer Reading | T-cells Serum 3 Cytometer Reading | T-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | T-cells Local Negative Control | T-cells Local Positive Control | T-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Tcell
Lab-1023 | Negative | Negative | Negative | Positive | 1,19 | 0,78 | 0,92 | 6,1 | ratio | 75 |  | 305 | 7,34 | 1,6 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1038 | Positive | Negative | Negative | Positive | 248 | 119 | 178 | 1430 | median fluorescence | 90 | Low number of B cells in this sample | 131 | 1184 | Ratio sample/negative control > 1.5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1041 | Negative | Negative | Negative | Positive | 254 | 232 | 272 | 392 | median fluorescence intensity | 95 |  | 225 | 8660 | 285 (225+60) | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1059 | Negative | Negative | Negative | Positive | 21.0 | 13.5 | 13.5 | 99.0 | Geo mean linear value | 95 |  | 16.5 | 163.0 | 3SD | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1068 | Negative | Negative | Negative | Positive | 175 | 232 | 339 | 2074 | Logarithmic scale | 90 | Cell viability is not performed in our current version of crossmatching by flow cytometry. The answer is based on historic results when viability assessement was included and results for it usually varied between 90 and 99%. | 270 | 736 | 50% increase (shift in %) of median fluorescense intensity compared with negative control | 2026-06-02 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1072 | Negative | Negative | Negative | Negative | 1748.40 | 1753.65 | 1752.90 | 1902.30 | MFI | 95 |  | 1819.14 | 3013.95 | 490 log channel shift | 2026-06-02 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1073 | Negative | Negative | Negative | Positive | [10 empty] | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1074 | Positive | Negative | Negative | Positive | 193 | 80 | 87 | 1204 | median log channel | 85 |  | 100 | 4991 | 53 median log channel sihft | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1100 | Negative | Negative | Negative | Positive | 251 | 229 | 238 | 679 | median log channel | 99 |  | 251 | 3687 | NEG+2SD (278) | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1115 | Negative | Negative | Negative | Positive |  |  |  |  | MFI (MEAN FLUORESCENCE INTENSITY) | 93 |  |  |  |  | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1127 | Negative | Negative | Negative | Positive | 0.98 | 0.86 | 0.93 | 1.93 | MFI | 98.3 |  | - | 2.2 | >1.75 | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1131 | Positive | Negative | Negative | Positive | 392 | 145,7 | 226,1 | 2264,2 | Median log channel | 96 |  | 158,1 | 24411,9 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1135 | Positive | Negative | Negative | Positive | 487 | 121 | 214 | 2111 |  | 85 |  | 186 | 16954 | 1,5 x higher than negative control | 2026-06-05 | 2026-06-09 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1152 | Negative | Negative | Negative | Positive | 0.541 | 0.468 | 0.586 | 1.470 |  | 55 |  | 0.456 | 2.780 | 3SD | 2026-06-05 | 2026-06-06 | Yes | 2026 | Other | doubtful result | 4 | 3 | 3 | Yes
Lab-1154 | Positive | Negative | Negative | Positive | 12941 | 7890 | 8785 | 74987 |  | 99 |  | 7932 | 11258 | ratio > 1,5 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1169 | Negative | Negative | Negative | Positive | 0.371 | 0.28 | 0.288 | 4.1 | median log fluorescence intensity | 90 |  | 0.286 | 14 | 2SD | 2026-06-08 | 2026-06-09 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1184 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Sample delivery delay | Delivery delay resulting in unviable cells. | 0 | 0 | 0 | Yes
Lab-1207 | Positive | Negative | Negative | Positive | 0.403 | -0.159 | 0.175 | 1.059 |  | 0 | Viability not assessed | 0 | 1.313 | 0.30 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1208 | Negative | Negative | Negative | Positive | 7.6 | 5.5 | 7.4 | 42.5 | Median Fluorescence Intensity | 91 |  | 5.8 | 66.2 | >1.5 negative control MFI | 2026-06-03 | 2026-06-09 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1235 | Positive | Negative | Negative | Positive | ratio 1.52 | ratio 1.32 | ratio 1.31 | ratio 2.36 | MFI | 95 |  | MFI 16233 | MFI 62345 | ratio > 1.39 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1236 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Participant noted "almost zero" viability |  |  |  | 2026-06-07 |  | Yes | 2026 | Cell viability too low | Participant notes: "Yes, we tested samples 2B (1/2026) and 2/2026; however, we were unable to obtain results due to extremely low cell counts (almost zero) and very poor cell viability." | 0 | 0 | 0 | Yes
Lab-1256 | Negative | Negative | Negative | Positive | 0.31 | 0.196 | 0.238 | 1.4 | Median Log Channel | 85 |  | 0.305 | 4.6 | Ratio >1.8 | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1286 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Technical failure | Technical issue | 0 | 0 | 0 | Yes
Lab-1305 | Negative | Negative | Negative | Positive | [10 empty] | 2026-06-05 | 2026-06-08 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes

## 2B-1-2026 B cells (G3)
2B-1-2026 G3
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 24 | 24 | 24 | 24
Total submitted | 24 | 24 | 24 | 24
Not Tested | 3 | 3 | 4 | 3
Positive | 21 | 0 | 1 | 21
Negative | 0 | 21 | 19 | 0
Equivocal | 0 | 0 | 0 | 0
% Positive | 100% | 0% | 5% | 100%
% Negative | 0% | 100% | 95% | 0%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Positive | Negative | Negative | Positive
Unacceptable | Negative, Equivocal | Positive, Equivocal | Positive, Equivocal | Negative, Equivocal
Number acceptable | 21 | 21 | 19 | 21
Number unacceptable | 0 | 0 | 1 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B-cells Serum 1 | B-cells Serum 2 | B-cells Serum 3 | B-cells Serum 4 | B-cells Serum 1 Cytometer Reading | B-cells Serum 2 Cytometer Reading | B-cells Serum 3 Cytometer Reading | B-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | B-cells Local Negative Control | B-cells Local Positive Control | B-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Bcell
Lab-1023 | Positive | Negative | Negative | Positive | 7,09 | 0,62 | 0.86 | 8,2 | ratio | 75 |  | 609 | 7,5 | 2,0 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1038 | Positive | Negative | Negative | Positive | 7756 | 351 | 527 | 6487 | median fluorescence | 90 | Low number of B cells in this sample | 385 | 10533 | Ratio sample/negative control > 2.5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1041 | Positive | Negative | Negative | Positive | 1310 | 161 | 178 | 429 | median fluorescence intensity | 95 |  | 169 | 7615 | 187 (169+18) | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1059 | Positive | Negative | Negative | Positive | 332.5 | 41.5 | 41.5 | 474.5 | Geo mean linear value | 95 |  | 33.5 | 569.0 | 3SD | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1068 | Positive | Negative | Negative | Positive | 3652 | 1045 | 1256 | 10656 | Logarithmic scale | 90 | Cell viability is not performed in our current version of crossmatching by flow cytometry. The answer is based on historic results when viability assessement was included and results for it usually varied between 90 and 99%. | 924 | 5341 | 70% increase (shift in %) of median fluorescens intensity compared with negative control | 2026-06-02 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1072 | Positive | Negative | Negative | Positive | 2578.50 | 1774.55 | 1818.85 | 2553.20 | MFI | 95 |  | 1758.925 | 5863.3 | 960 log channel shift | 2026-06-02 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1073 | Positive | Negative | Negative | Positive | [10 empty] | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1074 | Positive | Negative | Negative | Positive | 2038 | 322 | 270 | 4186 | median log channel | 85 |  | 155 | 30174 | 167 median log channel shift | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1100 | Positive | Negative | Negative | Positive | 903 | 210 | 245 | 1830 | median log channel | 99 |  | 281 | 16956 | NEG+3SD (381) | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1115 | Positive | Negative | Negative | Positive |  |  |  |  | MFI (MEAN FLUORESCENCE INTENSITY) | 93 |  |  |  |  | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1127 | Positive | Negative | Negative | Positive | 3.23 | 0.82 | 1.01 | 4.21 | MFI | 98.3 |  | - | 25.9 | >2.5 | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1131 | Positive | Negative | Negative | Positive | 9121,5 | 752,1 | 1166 | 10939,1 | Median log channel | 96 |  | 626,9 | 63566,3 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1135 | Positive | Negative | Negative | Positive | 7455 | 210 | 339 | 6104 |  | 85 |  | 287 | 50521 | 1,7 x higher than neg. control | 2026-06-05 | 2026-06-09 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1152 | Positive | Negative | Not Tested | Positive | 4.090 | 0.351 | Not Tested | 4.020 |  | 55 |  | 0.357 | 4.640 | 3SD | 2026-06-05 | 2026-06-06 | Yes | 2026 | Other | doubtful result | 3 | 3 | 3 | Yes
Lab-1154 | Positive | Negative | Negative | Positive | 295321 | 32307 | 25070 | 348098 |  | 99 |  | 25999 | 41509 | ratio >2,0 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1169 | Positive | Negative | Negative | Positive | 2.22 | 0.485 | 0.485 | 5.66 | median log fluorescence intensity | 90 |  | 1.01 | 28.3 | 2SD | 2026-06-08 | 2026-06-09 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1184 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Sample delivery delay | Delivery delay resulting in unviable cells. | 0 | 0 | 0 | Yes
Lab-1207 | Positive | Negative | Negative | Positive | 0.851 | -0.356 | 0.160 | 1.137 |  | 0 | Viability not assessed | 0 | 1.467 | 0.30 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1208 | Positive | Negative | Negative | Positive | 313.5 | 29.1 | 44.9 | 276.0 | Median Fluorescence Intensity | 91 |  | 25.9 | 995.0 | >1.5 negative control MFI | 2026-06-03 | 2026-06-09 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1235 | Positive | Negative | Positive | Positive | ratio 11.41 | ratio 1.35 | ratio 1.66 | ratio 6.05 | MFI | 95 |  | MFI 15929 | MFI 174245 | ratio > 1.65 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1236 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | Participant noted "almost zero" viability |  |  |  | 2026-06-07 |  | Yes | 2026 | Cell viability too low | Participant notes: "Yes, we tested samples 2B (1/2026) and 2/2026; however, we were unable to obtain results due to extremely low cell counts (almost zero) and very poor cell viability." | 0 | 0 | 0 | Yes
Lab-1256 | Positive | Negative | Negative | Positive | 2.68 | 0.283 | 0.381 | 4.77 | Median Log Channel | 85 |  | 0.651 | 7.15 | Ratio > 2.0 | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1286 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Technical failure | Technical issue | 0 | 0 | 0 | Yes
Lab-1305 | Positive | Negative | Negative | Positive | [10 empty] | 2026-06-05 | 2026-06-08 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes

## 2B-2-2026 T cells (G3)
2B-2-2026 G3
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 24 | 24 | 24 | 24
Total submitted | 24 | 24 | 24 | 24
Not Tested | 4 | 3 | 4 | 3
Positive | 4 | 0 | 17 | 1
Negative | 16 | 21 | 3 | 20
Equivocal | 0 | 0 | 0 | 0
% Positive | 20% | 0% | 85% | 4.762%
% Negative | 80% | 100% | 15% | 95.24%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Negative | Negative | Positive | Negative
Unacceptable | Positive, Equivocal | Positive, Equivocal | Negative, Equivocal | Positive, Equivocal
Number acceptable | 16 | 21 | 17 | 20
Number unacceptable | 4 | 0 | 3 | 1
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | T-cells Serum 1 | T-cells Serum 2 | T-cells Serum 3 | T-cells Serum 4 | T-cells Serum 1 Cytometer Reading | T-cells Serum 2 Cytometer Reading | T-cells Serum 3 Cytometer Reading | T-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | T-cells Local Negative Control | T-cells Local Positive Control | T-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Tcell
Lab-1023 | Negative | Negative | Positive | Negative | 1,39 | 1,03 | 3,9 | 1,02 | ratio | 75 |  | 184 | 9,53 | 1,6 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1038 | Positive | Negative | Positive | Negative | 164 | 97 | 711 | 110 | median fluorescence | 90 | Low count of B cells | 89 | 2603 | Ratio sample/negative control > 1.5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1041 | Positive | Negative | Negative | Negative | 291 | 226 | 224 | 218 | median fluorescens intensity | 95 | Very low cell numbers, some vials with only 1 event. | 185 | 11044 | 245 (185+60) | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 2 | 4 | Yes
Lab-1059 | Negative | Negative | Positive | Negative | 16.0 | 11.5 | 38.5 | 11.0 | Geo mean linear value | 96 |  | 13.5 | 108.0 | 3SD | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1068 | Negative | Negative | Positive | Positive | 288 | 198 | 821 | 361 | Logarithmic | 90 | Cell viability is not performed in our current version of crossmatching by flow cytometry. The answer is based on historic results when viability assessement was included and results for it usually varied between 90 and 99%. | 229 | 435 | 50% increase (shift in %) of median fluorescens intensity compared with negative control | 2026-06-02 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1072 | Negative | Negative | Negative | Negative | 1537.40 | 1412.70 | 1879.65 | 1575.30 | MFI | 90 |  | 1578.4 | 2451.6 | 490 log channel shift | 2026-06-02 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1073 | Negative | Negative | Positive | Negative | [9 empty] | 2SD | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1074 | Positive | Negative | Positive | Negative | 266 | 122 | 312 | 109 | median log channel | 85 |  | 112 | 6475 | 53 median log channel sihft | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1100 | Negative | Negative | Positive | Negative | 215 | 193 | 349 | 195 | median log channel | 98 |  | 203 | 9041 | NEG+2SD (230) | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1115 | Negative | Negative | Not Tested | Negative | [5 empty] | 89 |  |  |  |  | 2026-06-04 | 2026-06-04 | Yes | 2026 | Cell viability too low | cell viability too low | 3 | 3 | 3 | Yes
Lab-1127 | Negative | Negative | Negative | Negative | 1.01 | 0.9 | 1.31 | 0.91 | MFI | 97.1 |  | - | 9.6 | >1.75 | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1131 | Negative | Negative | Positive | Negative | 241,3 | 140 | 824,7 | 71 | Median log channel | 43 |  | 160,6 | 22234,1 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1135 | Positive | Negative | Positive | Negative | 287 | 122 | 794 | 154 |  | 85 |  | 132 | 7063 | 1,5 x higher than negative control | 2026-06-05 | 2026-06-09 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1152 | Negative | Negative | Positive | Negative | 0.641 | 0.440 | 0.919 | 0.526 |  | 45 |  | 0.597 | 15.100 | 3SD | 2026-06-05 | 2026-06-06 | Yes | 2026 | Other | Doubtful Result | 4 | 4 | 4 | Yes
Lab-1154 | Negative | Negative | Positive | Negative | 9132 | 6975 | 36922 | 7259 |  | 98 |  | 6920 | 58155 | ratio > 1,5 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1169 | Negative | Negative | Positive | Negative | 0.327 | 0,268 | 0.592 | 0,266 | median log fluorescence intensity | 90 |  | 0,283 | 39.5 | 2SD | 2026-06-08 | 2026-06-09 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1184 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Sample delivery delay | Delivery delay resulting in unviable cells. | 0 | 0 | 0 | Yes
Lab-1207 | Negative | Negative | Positive | Negative | 0.232 | -0.065 | 0.665 | 0.122 |  | 0 | Viability not assessed | 0 | 1.323 | 0.30 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1208 | Negative | Negative | Positive | Negative | 6.4 | 5.1 | 34.6 | 6.0 | Median Fluorescence Intensity | 86 |  | 5.0 | 215.5 | >1.5 negative control MFI | 2026-06-03 | 2026-06-09 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1235 | Negative | Negative | Positive | Negative | ratio 1.15 | ratio 0.95 | ratio 2.07 | ratio 1.14 | MFI | 96 |  | MFI 12544 | MFI 289098 | ratio > 1.39 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1236 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | JJ submitting on behalf of participant - no methods provided. |  |  |  | 2026-06-07 |  | Yes | 2026 | Cell viability too low | Participant noted: "Yes, we tested samples 2B (1/2026) and 2/2026; however, we were unable to obtain results due to extremely low cell counts (almost zero) and very poor cell viability." | 0 | 0 | 0 | Yes
Lab-1256 | Not Tested | Negative | Positive | Negative | cell count to low | 0.163 | 1.79 | 0.218 | Median Log Channel | 90 |  | 0.314 | 11.3 | Ratio >1.8 | 2026-06-04 | 2026-06-05 | Yes | 2026 | Technical failure | serum 1, cell count to low (T and B) | 3 | 3 | 3 | Yes
Lab-1286 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Technical failure | Technical issue | 0 | 0 | 0 | Yes
Lab-1305 | Negative | Negative | Positive | Negative | [10 empty] | 2026-06-05 | 2026-06-08 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes

## 2B-2-2026 B cells (G3)
2B-2-2026 G3
Distribution Date: 02/06/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 24 | 24 | 24 | 24
Total submitted | 24 | 24 | 24 | 24
Not Tested | 4 | 3 | 4 | 5
Positive | 13 | 19 | 15 | 1
Negative | 7 | 2 | 5 | 18
Equivocal | 0 | 0 | 0 | 0
% Positive | 65% | 90.48% | 75% | 5.263%
% Negative | 35% | 9.524% | 25% | 94.74%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | No consensus | Positive | Positive | Negative
Unacceptable | N/A | Negative, Equivocal | Negative, Equivocal | Positive, Equivocal
Number acceptable | N/A | 19 | 15 | 18
Number unacceptable | N/A | 2 | 5 | 1
Assessed | No | Yes | Yes | Yes
Laboratory Code | B-cells Serum 1 | B-cells Serum 2 | B-cells Serum 3 | B-cells Serum 4 | B-cells Serum 1 Cytometer Reading | B-cells Serum 2 Cytometer Reading | B-cells Serum 3 Cytometer Reading | B-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | B-cells Local Negative Control | B-cells Local Positive Control | B-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Bcell
Lab-1023 | Positive | Positive | Positive | Negative | 2,1 | 5,6 | 2,1 | 0,8 | ratio | 75 |  | 306 | 6,14 | 2,0 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1038 | Positive | Positive | Positive | Negative | 1046 | 2454 | 1185 | 410 | median fluorescence | 90 | Low count of B cells | 262 | 5471 | Ratio sample/negative control > 2.5 | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1041 | Positive | Positive | Positive | Negative | 244 | 626 | 189 | 155 | median fluorescens intensity | 95 | Very low cell numbers, some vials with only 1 event. | 159 | 11999 | 177 (159+18) | 2026-06-03 | 2026-06-03 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1059 | Positive | Positive | Positive | Negative | 102.0 | 202.0 | 80.0 | 43.0 | Geo mean linear value | 96 |  | 31.5 | 343.0 | 3SD | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1068 | Positive | Positive | Positive | Positive | 1988 | 4253 | 1809 | 1472 | Logarithmic | 90 | Cell viability is not performed in our current version of crossmatching by flow cytometry. The answer is based on historic results when viability assessement was included and results for it usually varied between 90 and 99%. | 571 | 3011 | 70% increase (shift in %) of median fluorescens intensity compared with negative control | 2026-06-02 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1072 | Negative | Negative | Negative | Negative | 1649.65 | 1608.75 | 1712.30 | 1592.40 | MFI | 90 |  | 1593.05 | 4324.45 | 960 log channel shift | 2026-06-02 | 2026-06-03 | Yes | 2026 |  |  | 4 | 1 | 3 | Yes
Lab-1073 | Positive | Positive | Positive | Negative | [9 empty] | 2SD | 2026-06-04 | 2026-06-05 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1074 | Positive | Positive | Positive | Negative | 628 | 781 | 654 | 227 | median log channel | 85 |  | 253 | 11459 | 167 median log channel shift | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1100 | Positive | Positive | Positive | Negative | 353 | 600 | 382 | 225 | median log channel | 98 |  | 236 | 9691 | NEG+3SD (336) | 2026-06-04 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1115 | Negative | Positive | Not Tested | Negative | [5 empty] | 89 |  |  |  |  | 2026-06-04 | 2026-06-04 | Yes | 2026 | Cell viability too low | cell viability too low | 3 | 2 | 2 | Yes
Lab-1127 | Negative | Negative | Negative | Negative | 1.4 | 2.25 | 1.24 | 0.98 | MFI | 97.1 |  | - | 46.4 | >2.5 | 2026-06-08 | 2026-06-08 | Yes | 2026 |  |  | 4 | 1 | 3 | Yes
Lab-1131 | Positive | Positive | Positive | Negative | 1748,5 | 3898,8 | 1623,5 | 769,5 | Median log channel | 43 |  | 464,6 | 32240 | 2SD | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1135 | Positive | Positive | Positive | Negative | 998 | 2087 | 834 | 299 |  | 85 |  | 249 | 64375 | 1,7 x higher than neg. control | 2026-06-05 | 2026-06-09 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1152 | Positive | Positive | Positive | Not Tested | 1.420 | 3.640 | 0.928 | Not Tested |  | 45 |  | 0.571 | 18.000 | 3SD | 2026-06-05 | 2026-06-06 | Yes | 2026 | Other | Doubtful Result | 3 | 2 | 2 | Yes
Lab-1154 | Negative | Positive | Positive | Negative | 54923 | 121742 | 68676 | 40394 |  | 98 |  | 30766 | 345006 | ratio >2,0 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1169 | Negative | Positive | Negative | Negative | 1.15 | 2.3 | 1.27 | 0.531 | median log fluorescence intensity | 90 |  | 1.24 | 26.1 | 2SD | 2026-06-08 | 2026-06-09 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1184 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Sample delivery delay | Delivery delay resulting in unviable cells. | 0 | 0 | 0 | Yes
Lab-1207 | Positive | Positive | Positive | Negative | 0.402 | 0.663 | 0.335 | 0.122 |  | 0 | Viability not assessed | 0 | 1.162 | 0.30 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1208 | Positive | Positive | Positive | Negative | 52.2 | 110 | 94.9 | 38.6 | Median Fluorescence Intensity | 86 |  | 23.3 | 956.0 | >1.5 negative control MFI | 2026-06-03 | 2026-06-09 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1235 | Negative | Positive | Negative | Negative | ratio 1.73 | ratio 3.92 | ratio 1.69 | ratio 1.21 | MFI | 96 |  | MFI 14116 | MFI 179696 | ratio > 1.65 | 2026-06-03 | 2026-06-04 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1236 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | JJ submitting on behalf of participant - no methods provided. |  |  |  | 2026-06-07 |  | Yes | 2026 | Cell viability too low | Participant noted: "Yes, we tested samples 2B (1/2026) and 2/2026; however, we were unable to obtain results due to extremely low cell counts (almost zero) and very poor cell viability." | 0 | 0 | 0 | Yes
Lab-1256 | Not Tested | Positive | Positive | Negative | cell count to low | 1.97 | 1.8 | 0.371 | Median Log Channel | 90 |  | 0.529 | 10.9 | Ratio > 2.0 | 2026-06-04 | 2026-06-05 | Yes | 2026 | Technical failure | serum 1, cell count to low (T and B) | 3 | 3 | 3 | Yes
Lab-1286 | Not Tested | Not Tested | Not Tested | Not Tested | [12 empty] | Yes | 2026 | Technical failure | Technical issue | 0 | 0 | 0 | Yes
Lab-1305 | Negative | Positive | Negative | Not Tested | [10 empty] | 2026-06-05 | 2026-06-08 | Yes | 2026 |  |  | 3 | 1 | 2 | Yes