## Scheme 7_1-3 2026 Methods
(Do Not Modify) Methodology_Scheme7 | (Do Not Modify) Row Checksum | (Do Not Modify) Modified On | Laboratory Code (Laboratory) (Laboratory) | Methods Used | Methods Used (Other) | Commercial Kit Manufacturer | DNA Extraction Method | Reagent(s)/Kit(s) Used | DNA Extraction System | DNA Quantification Method | Comments
8da9bf1f-6a7c-f111-ab0e-70a8a5764274 | ojxZsPlLl5Omco5Ezrw4oJKUBIFkSUWvrXYVQnUPL2WAzZhZf2NqBMQO10efadGm+meG6uBqKJyI6tPY4pCGBQ== | 2026-07-10 15:37 | Lab-1003 | Next Generation Sequencing |  | One Lambda | Automated | EZ1 DSP DNA Blood kit | EZ2 connect | Spectrophotometry
ff40e4cc-1279-f111-ab0e-70a8a576d3d8 | k0nLxYYQY26KQ3gPUQO/XnwHYPSeYQnkoc4bOWnDn6Pxo/mtiYRx90rLQkLAglXI7OYyrNGNu9kY0QktrTZfmA== | 2026-07-07 07:30 | Lab-1005 | PCR-SSP | PCR-SSP | CareDX | Automated | TANbead Nucleic extraction kit | TANbead Maelstrom Switch 8 | Nanodrop lite plus
8d5bf029-7b7c-f111-ab0e-7ced8d392e90 | /XwcDGDXSZ5FRkQPESahwUhnac3SxMaEhhc2+0MwxpE4OwqML4iEBHFDUVRmD6zISJVkRdPgif/vUHE7DtianA== | 2026-07-10 16:21 | Lab-1007 | PCR-SSP |  | Thermofisher | Automated | Roche MP24 | Roche MP24 | Q-bit
9fa7a836-e97a-f111-ab0e-7ced8d6c2733 | BNaRlzH41ywXybz8ftd+n2Tx/FxwSelcORqqtPST807zFW78ud8UntMJUUUZ5+mjsb8SGkmXccduO/vpDPHCcA== | 2026-07-10 11:53 | Lab-1008 | PCR-SSO |  | Werfen | Automated | Maxwell RSC Whole Blood DNA Kit | Maxwell RSC | Nanodrop Lite
229f635a-d77a-f111-ab0e-7ced8d6c2733 | 3S3sNCRSK8O1DV5NlaJ8Z5IU78letGcbTw4WUfCcACamsqOHX/GxsPAUmmcn9yBX4iqTqua58JMUQO0gYlyTbA== | 2026-07-08 14:26 | Lab-1013 | PCR-SSO, PCR-SSP |  | One lambda and Innotrain | Automated | Maxwell | Maxwell | Implen
a5045d54-5b7b-f111-ab0e-70a8a576d3d8 | bJeDukBXQcPGoySAQv2Te7YEjpZ70g0mcYsBdKivmk5Css1o3pEZBQ/lKsendUUW/Kp9Iu9o7DnrhWi5Ipr+Xw== | 2026-07-09 10:06 | Lab-1020 | PCR-SSP |  | Olerup | Automated | QIAsymphony DNA Midi Kit | Qiagen Qiasymphony | Nanodrop
39be9315-c87a-f111-ab0e-70a8a576d3d8 | Hk3uC2d70c2/VjBE/dOMnvBunPZddR8f3Gp9j6/0nqRzkrXzmk+UBkIBzdsPI/cmroTtHze3fCHf6GBrKEa2Zw== | 2026-07-08 13:35 | Lab-1024 | RT-PCR |  |  | Automated | EZ1 blood DNA | EZ2 | nano Drop 1
abca98df-997a-f111-ab0f-6045bdc13891 | clvCR62IeVMqwx31Um5rCQj052Iuj/4yIQSkEC86SQFQVCqxPf+8kdnw2+3Pou8oTrfchYFbYSV26BuWwMjYkg== | 2026-07-08 09:01 | Lab-1026 | PCR-SSO |  |  | Automated | Qiagen EZ2 |  | Nanodrop
353ac2b0-be7a-f111-ab0e-7ced8d6c2733 | hhboL9m0BKQey86MLhcGr/3qOAHQc3vph1aN47Nq0OQwppWHhZbxlPGKjwBhB8P0Vsyl583pFsAE3/E/OsK8Cw== | 2026-07-08 11:19 | Lab-1033 | PCR-SSP |  | Inno-Train | Automated | Maxwell RSC Blood DNA Kit | Maxwell RSC | Nanodrop
9fafa656-5179-f111-ab0e-7ced8d9b985d | 77xwy5gzxGmVRVgp7TDOz+3wyHre1UCMJD06cKdcpA75lmHu5wsCIBl8JEtMmsPkFFUzGp+DJ4Tu+I8lyijG6A== | 2026-07-07 12:56 | Lab-1039 | Next Generation Sequencing |  | Holotype 11 loci Omixon | Automated | MagDEA Dx SV Extraction | MagLEAD | Nanophotometer
804fc807-ab7a-f111-ab0f-6045bdc13891 | xWFtTCXDTl/ZvLins/aH3zZoOMCdkCD/kRNj9BXy7Bq8oad8rSvL3qFQf1aDug0wHhyozqgZgCfHs8AdBhjdiQ== | 2026-07-08 09:01 | Lab-1067 | RT-PCR |  | In house design | Automated | EZ1 & 2 DNA Blood 350 uL Kit (48) | EZ1 | -
d7674161-ba7b-f111-ab0f-6045bdc13891 | fjp+Es2lW9ytEYPGwO2fVyLXpCFfSeqC+juminfVJ2wh7WQ/2+81oRuLoSUFz6LScACEgfWVic5bOm/aFz2UFQ== | 2026-07-09 17:33 | Lab-1077 | Next Generation Sequencing, PCR-SSO |  | Thermo Fisher, BAG | Automated | Qiagen EZ2 Blood 350µl | Qiagen EZ2 Connect | Qubit
1921f8d5-0e7a-f111-ab0e-70a8a576d3d8 | Zu2RM0CUhKzy893RtthW5bfMZAqD5hfrQivNbh0WhyrjeqQ8lW7l8Hu82lGcypodQbM+f3ZE7Mf0FV3uJuFBug== | 2026-07-09 10:18 | Lab-1079 | PCR-SSO |  | LIFECODES IMMUCOR | Automated | DNA Blood 350 Kit | Advanced XL EZ1 DNA extraction machine | NanoDrop Lite Plus Spectrophotometer
f0eda4ae-df7a-f111-ab0e-7ced8d6c2733 | WxQBDPrq0L9uXtt/emRxdHN6JLBXHYSWUc/JDR0iPAYlfR9DnPFCNveNcixKZTfqCyOY29i/a4egff6mM95v/Q== | 2026-07-09 08:45 | Lab-1090 | Next Generation Sequencing, PCR-SSO |  | one lambda TSV FAST PLEX 11 / BAG diagnostics | Automated |  | Lab Turbo
8dc5b8da-b27b-f111-ab0f-6045bdc13891 | jlJS0zyGeUbbLlDpWf1Nw6YJOTriF5gcWOs8WN3bNptTocsN26VbzO65wXi2LHAOHOCbNTWkb+//WNVy2p5HKg== | 2026-07-10 09:00 | Lab-1104 | PCR-SSO |  | Lifecodes Werfen | Automated | Qiagen QIA Symphony DNA Midi kit | Qiagen QIA Symphony
349ef14a-2979-f111-ab0e-7ced8d9b985d | IYE2aQyOVj9LhWHOO3P/Z2zbY0vAN3nCwOem1bBqmoiV1sZ5BgS9celKSG0bZ7fGJ5X1hp0EQdIkvrd6zds2yQ== | 2026-07-10 10:21 | Lab-1108 | RT-PCR |  | LinkSeq | Automated | Whole Blood DNA kit | Maxwell CSC
d0e29efe-727b-f111-ab0f-6045bdc13891 | 6aHjxBTbs+0ZRh8lWwZSjZz90Q6O59qH0+T2jimf90neOYJ5gkzURvYcxfHyy0CN1FNLPLc+vBn9s94JoNFSBg== | 2026-07-09 09:38 | Lab-1118 | Next Generation Sequencing |  | GenDx | Automated | Qiagen DNA Blood 350ul kit | EZ1 Advanced XL | Nanodrop
08f7f88f-5d7b-f111-ab0e-70a8a576d3d8 | PzRuqifsKXrUbonXNJHRcgT6sml9Wky7f0IbvlF3w7GVLPfnYcuorP/agG3R8nI0R3KBN/FTC/5lM3M52uxBfQ== | 2026-07-09 06:18 | Lab-1134 | RT-PCR |  | Genvinset, BDR diagnostic | Automated | Qiagen | QiaSymphony
13ed7044-8b7b-f111-ab0e-70a8a577821e | lqctYvw5TqyeEaIzPkEl3nSp+AeKyEIPAR7gaDz3/Op1yeYCD0Fk+jAabQ0Mrul07AUZoOOhnBXrnLNSGkY5cQ== | 2026-07-09 14:31 | Lab-1139 | Next Generation Sequencing |  | Eurobio GenDx | Automated | Maxwell® RSC Whole Blood DNA Kit | Maxwell RSC | Nanodrop
ac8c7a8e-2f84-f111-ab0e-70a8a576d3d8 | b+MYYZKHIgsAptmyFt4lqU1khZOdEM70PuCHq1dw1L6MomaH8l8+cxgdiS293U7giKx4OH/0PPkNBMfil54Lbw== | 2026-07-20 11:39 | Lab-1151 | Next Generation Sequencing, PCR-SSO |  |  | Automated |  | QIAGEN
31f456cb-dc7a-f111-ab0e-7ced8d6c2733 | ObYi7opVp5iJqdxjK8+F7vtKxdfwTcniI7HZY9/tb57F3UAxN7mj3V00ir+ITu9dTUgVsZSsvGxwpoWUCeEf0Q== | 2026-07-10 09:44 | Lab-1153 | PCR-SSP |  | n/a | Automated | Promega maxwell buffy coat | Promega maxwell | Nanospectrophotometer N60
ac42fd87-017a-f111-ab0f-6045bdc13891 | TqfjUiDiWoMLqx7QzVVUuCeELSQv/uNOHPp0H8lSIAaYozMdk0xsE9aV++FDMogYcVe+pnKCMnMJJjVmYqoCrA== | 2026-07-07 12:44 | Lab-1154 | Next Generation Sequencing |  | GenDx | Automated | Qiagen | EZ1 and EZ2 | Nano Drop
261776e3-ac7a-f111-ab0e-7ced8d6c2733 | mrQEkzGcP5oCJyFdrvUN3B66WqzyEg1+pt3tyQ4JPry2KQizc8yt/NzkZGL34EIEbkwO9oh4wWcNECn1EdLBiA== | 2026-07-09 09:37 | Lab-1165 | PCR-SSP |  | LinkSeq | Automated | Maxwell Whole Blood DNA-Kit | Maxwell CSC | Nanodrop
2ef23c21-cb7a-f111-ab0f-6045bdc13891 | 1Hqh7mBoYDc+87s8DtzivMzfyNpif7+72M5TOqg2Tuej4H3DMzfh98wq4OgwDxGBZrmb43WUpu5W9VnxfCyJ0A== | 2026-07-08 15:50 | Lab-1174 | PCR-SSP |  | Innotrain ReadyGene | Automated | Maxwell | Maxwell RSC | Nanodrop
27b60a98-927b-f111-ab0e-70a8a577821e | F9Oc/g9euh+dRqYC2zypli3nfMgK1/CDkKLSjyhecKPg3vxCoNvMJdkXsnJlw043pxG5TBI8cAgXA93pYMztGw== | 2026-07-10 12:41 | Lab-1176 | PCR-SSO |  | One Lambda | Automated | Promega | Maxwell | Nanodrop
01830e7e-e379-f111-ab0e-6045bdd1cbcd | a2hGxoWQbyS0rwbEHy7lcYvcDzYXPC5J/hzWP8X3qPmRPCAdgofztFaBwB026hnEDR/Obnd2dUiepjP+M5q6CQ== | 2026-07-07 09:12 | Lab-1188 | RT-PCR |  | Werfen | Automated | NUCLISENS easyMAG Magnetic Silica | e-Mag Biomerieux
e6ef2881-c97a-f111-ab0e-70a8a576d3d8 | 9aEtBmhZsnHt3FIw4xoNmxPZdRKKmxPciCnW4gmjAlRgm7fJIudJ02hy9+2aemltuzFNxLVR+qGcvrR4QCXTnA== | 2026-07-08 12:36 | Lab-1193 | Other | DNA Microarray | EUROIMMUN – EUROArray HLA-B27 Direct | Manual
fadaa19f-527c-f111-ab0f-6045bdc13891 | 9mOvKB3LeJzkqlbUG1O5g71a8Wr/KaIe6l6+MQDyxLwMymkipkHOqBZgYe0e76Ii0CDVpNKsFVaG3Vv9NoQBpQ== | 2026-07-14 16:59 | Lab-1199 | PCR-SSO | PCR-SSP | One lambda, Olerup | Automated | QIAsymphony DSP DNA Kits | qiasymphony
474bbb1a-a47b-f111-ab0e-70a8a5764274 | Uo+m6zKbR1Upj1kuDIwaxX97w+uuY1560Jdh6lmgmfVb8tlyvmKpUu3yyqMIwOZGQySqTsOI8BxzE80umj94WQ== | 2026-07-09 14:41 | Lab-1202 | Other | MASS ARRAY | Veridose v2.0 | Automated | CS200 | CHEMAGIC C360 | Nano drop
31dc322d-2579-f111-ab0f-6045bdc13891 | JoR0xuTzIuUK3KrOox1KkrfWjPhycuqg5zI3wgGeu0khqxDqIQnav4gDvAVAaOrqeM1iks3IwIB+ZfM8DNdfBQ== | 2026-07-06 12:13 | Lab-1208 | RT-PCR |  | BDR Diagnostics | Automated | Promega Maxwell RSC Whole Blood DNA Kit for DNA purification and BDR Genvinset for RT-PCR | Maxwell RSC and AriaMX | NanoDrop One
3cb2ca1d-d17e-f111-ab0f-70a8a5764274 | B63NGWtnTR2BtztlGbgSLueefBxRDl3E59Aq123l/j0DWg5xDcpz3qCgX4tOKXh9yDXA4ECqML9WyimdA5mj4Q== | 2026-07-13 15:40 | Lab-1214 | Nanopore |  | Nanotype | Automated | QIAsymphony SP DSP DNA | QIAsymphony | QBIT
7ddd946d-cd7a-f111-ab0f-6045bdc13891 | +Dkv/B+FHmAEyM7+V33pOcKxv9NvbAiBctUIWhJxPTUROd7vjeEaQUhRsgFi1/SUsF/Md/Mvf2sgM6xf6ToNiw== | 2026-07-09 09:09 | Lab-1215 | PCR-SSP |  | CareDx | Automated | Qiagen | Qia Symphony | Nanodrop
70b5d8c2-3879-f111-ab0e-70a8a576d3d8 | PV+uHFwXFJ21cR2PXwkvKgdxm0AaWYorRkE8umVnZvF0cyvBUs5jefNhMmKWJM/Q01QLYBzt5SbenEeaIY0AkQ== | 2026-07-07 12:51 | Lab-1216 | Next Generation Sequencing |  | GenDx | Automated | EZ1/2 DNA Extraction Kits (Blood 350uL kits) | EZ1/2 | Nanodrop
23248815-757b-f111-ab0e-70a8a576d3d8 | UjOeCrvGTGrt5pfl7TJ9rYdCY+Aru+obWq3jLQ+FxVGYke9R4TPjrQYx/ASw3ZbZmsYEWyP5dMP4QD3RgbouYQ== | 2026-07-09 10:42 | Lab-1239 | PCR-SSO |  | Werfen Lifecodes | Automated | Maxwell RSC whole blood | Promega Maxwell
4f429a01-9e7b-f111-ab0f-6045bdc13891 | JKaJ/YAxfPm8DMFTjxpRVVJroQg9ur41sTVa9u524OQbTPDJxlnxSFq4dsF4l5mC6hk0/MienqOeJyXFyYawAA== | 2026-07-09 13:57 | Lab-1257 | PCR-SSP | NA | Olerup | Automated | Qiagen DSP Mini Kit | Qiasymphony | Nanodrop
cae4fecb-a776-f111-ab0e-70a8a5764274 | exAbZUPTBbZPjP9S15OwxBa3kUHDzbX9pbIP1e7EpkFALT6ztUl9kD+ChPPplWuj13vB+c0TB0lgpsvtOdfMPw== | 2026-07-03 06:24 | Lab-1268 | RT-PCR |  | Clonit | Automated
0d1f5ca7-157a-f111-ab0e-70a8a576d3d8 | KDgoAZzDcHcH206D9Lph4UzLnCHOQEyNQjpZdEvNeimQwu0KWQEcVfdGP3jGBXIPoGomxwa1M2nw/Oy8lNwPxw== | 2026-07-08 11:38 | Lab-1269 | RT-PCR |  |  | Automated
e2d7f870-3a7c-f111-ab0f-6045bdc13891 | U96Ohz4eKJASz2oF4MCqxb9WVK5Hy+QYXGKmxz88p13kBaCOeXmvOkHdloZXKfpZKq9++0dCb4KN174DJQFLhg== | 2026-07-10 09:31 | Lab-1291 | RT-PCR |  | ViennaLab | Automated | Maxwell CSC Blood DNA kit | Promega Maxwell CSC | Spectrophotometer DeNovix DS-11
cecdb458-c076-f111-ab0e-70a8a5764274 | ymP+a8hk5rjwOauVvdcHNI34m09oQDv2LzeMeNdPsE6kfC1uFOhsMnthXyB2pRhO3GLpmquc57hvBQRp1V4eeA== | 2026-07-03 10:25 | Lab-1304 | RT-PCR |  | LabLab Genvinset HLA B57v5 | Automated | Maxwell RSC Whole Blood DNA Kit | Promega Maxwell

## hiddenSheet (hidden)
vunhst_methodology_scheme7:HBxNTW1wBj2dCWpbIOAjQdL/a3+EJO8fEg9aDtU//v2Vl8soHCDDvck7LbWV+chtSH9QovL98vbeycVr7e6Jzw==:vunhst_methodology_scheme7id=%28Do%20Not%20Modify%29%20Methodology_Scheme7&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&4bd408b7-733d-4adc-9de2-42885b3942bf.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_laboratory=Laboratory&vunhst_sample=Sample&vunhst_registration=Registration&vunhst_methodsused=Methods%20Used&e6ce04b5-8cba-44b5-9dfc-78d1c468ec61.vunhst_distributionyear=Distribution%20Year%20%28Distribution_Lab%29%20%28Distribution_Lab%29&createdon=Created%20On&vunhst_comments=Comments&vunhst_commercialkitmanufacturer=Commercial%20Kit%20Manufacturer&createdby=Created%20By&createdonbehalfby=Created%20By%20%28Delegate%29&vunhst_distribution_lab=Distribution_Lab&vunhst_dnaextractionmethod=DNA%20Extraction%20Method&vunhst_dnaextractionsystem=DNA%20Extraction%20System&vunhst_dnaquantificationmethod=DNA%20Quantification%20Method&vunhst_methodsusedother=Methods%20Used%20%28Other%29&modifiedby=Modified%20By&modifiedonbehalfby=Modified%20By%20%28Delegate%29&modifiedon=Modified%20On&ownerid=Owner&owningbusinessunit=Owning%20Business%20Unit&vunhst_reagentskitsused=Reagent%28s%29%2fKit%28s%29%20Used&overriddencreatedon=Record%20Created%20On&statuscode=Status%20Reason
Active | Inactive