## Scheme 1B 03-04 2026
Laboratory Code | Methods Used | Methods Used (Others) | Source of Primers and Probes | Detection System | DNA Extraction Method | Reagents / Kits Used | System | Reference to Primer Probe Sequences | Comments
Lab-1003 | PCR - Melt curve analysis |  | Commercial kits |  | Automated | OneLamda Linkseq B27 testing kit | QIAGEN EZ2 DNA extraction
Lab-1004 | Other | Flow cytometry | Commercial kits | Fluorescence |  | BD HLA-B27 kit | BD FACS Lyric
Lab-1005 | Other | PCR SSP | Commercial kits | Gel | Automated | Olerup SSP Care Dx
Lab-1008 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen | Luminex
Lab-1009 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | BD HLA-B27 Kit | BD Facs Lyric
Lab-1013 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Thermofisher Labtype | Luminex Flexmap | 025
Lab-1015 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit | ABI-7500
Lab-1016 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | magna pure 24 total NA Isolation Kit | Magna Pure 24 and Cobas Z480 LightCycler
Lab-1019 | Other | PCR-SSP | Commercial kits | Gel | Automated | Maxwell RSC Blood DNA Kit | Maxwell RSC 48 instrument | N/A
Lab-1020 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | QIAsymphony DSP DNA Kits/BAG Diagnostics Fast B*27 | Qiagen Qiasymphony
Lab-1021 | Other | Flowcytometry | Commercial kits | Fluorescence |  | Beckman | DXFlex
Lab-1024 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | EZ1 blood DNA | EZ2
Lab-1026 | PCR-SSO |  | Commercial kits | Fluorescence, Other | Automated | Qiagen EZ2
Lab-1027 | Other | PCR-SSP | Commercial kits | Gel | Automated | MagDea Dx SV | magLEAD
Lab-1028 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | RIDAGENE HLA-B27
Lab-1031 | Other | LAMP | Commercial kits | Fluorescence | Manual | LC-HLAB27-LP
Lab-1042 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit-Duplica Prep | ABI 7500
Lab-1043 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other
Lab-1044 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | The geneMAP HLA-B*27 Detection Kit , The Omega Bio-Tek Mag-Bind® Blood & Tissue DNA Kit | Kingfisher Flex, ABI 7500
Lab-1046 | Other | Flow cytometry |  |  |  | Beckman-Coulter kit
Lab-1049 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | FastQ B*27 direct from BAG Diagnostics | Quantstudio 7 Flex Real Time PCR system |  | B*27 testing method used is direct from blood and DNA extraction is not required so chose the 'other' option for the DNA extraction method category. B*27 Direct from blood kit detects alleles as per IMGT library 3.58. IMGT library kit updated in June 2026 and current library update is IMGT 3.63 as of 16/07/2026.
Lab-1050 | Other | flow cytometry | Commercial kits | Other |  | BD Bioscience for HLA-B27 |  |  | Equivocal results are sent to Molecular Pathology for DNA confirmation.
Lab-1052 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | SP200 Extraction reagent & CLONIT HLA B27 kit | Elitech Ingenius
Lab-1055 | Other | PCR-SSP | Commercial kits | Gel | Automated | Qiagen | EZ2 Connect MDX
Lab-1057 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | QIAamp DNA blood mini kit | Qiacube
Lab-1066 | Other | PCR-SSP | Commercial kits | Gel | Automated | MACHEREY-NAGEL | HAMILTON | 101.531 LOT 1S4
Lab-1067 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | in house | Quantstudio 3 | IPD-IMGT/HLA version 2.2
Lab-1075 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | LinkSeq HLA -B27 Typing Kit | QuantStudio6 | https://www.thermofisher.com/is/en/home/brands/onelambda.html
Lab-1077 | PCR-SSO |  | Commercial kits | Other | Automated | BAG Histospot SSO kit | Mr Spot | IMGT 3.61
Lab-1079 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen-Lifecodes | Luminex | IMGT Allele database version 3.62
Lab-1080 | Other | PCR-SSP OLERUP | Commercial kits | Gel | Automated | PROMEGA | MAXWELL 16
Lab-1081 | Other | Serological | Commercial kits | Fluorescence |  | BD HLA-B27 Kit
Lab-1082 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | BAG FastQ
Lab-1084 | Other | Serological |  |  |  | BD HLA-B27 kit / One Lambda FITC | BD FACSLyric
Lab-1085 | Other | Q-PCR
Lab-1086 | Real Time - PCR (RT-PCR) |  | Other | Fluorescence | Automated | QIAsymphony DSP Virus/Pathogen Midi Kit | QIagen Qiasymphony | Roelandse-Koop EA, Buisman B, van Hannen EJ, van der Zee A, Kortlandt W, Hermans MH, van Houte AJ, van Rhee-Luderer R. Rapid HLA-B27 screening with real-time TaqMan PCR: a clinical validation in the Dutch population. Clin Chem Lab Med. 2011 Sep 6;49(12):1979-85. doi: 10.1515/CCLM.2011.252. PMID: 21892909.
Lab-1088 | Other | Complement Dependent Cytotoxicity | Commercial kits | Other | Other | One Lambda | N/A | N/A
Lab-1090 | PCR-SSO |  | Commercial kits | Other | Automated | LGD | labturbo
Lab-1099 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | WERFEN | LUMINEX | IPD- IMGT/HLA DATABASE v3.60.0
Lab-1102 | Other | Flow Cytometry | Own design | Fluorescence |  | Beckman Coulter HLA-B27 / HLA-B7. One Lambda HLA-B27. | Beckman Coulter Navios EX |  | These results were submitted 12/05/2026 via email (spoke to Melanie) due to IT errors
Lab-1104 | PCR - Melt curve analysis |  | Commercial kits | Other | Automated | geneMAP HLA-B*27 detection kit
Lab-1105 | Other | Flow cytometry | Commercial kits |  |  | Beckman Coulter | DxFlex
Lab-1108 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Maxwell whole blood | Maxwell
Lab-1110 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | MagnaPure small volume kit , gb GENETIC HLA B27, Generi Biotech | MagnaPure 96
Lab-1115 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | ONE LAMBDA | LUMINEX
Lab-1118 | Other | PCR - SSP | Commercial kits | Gel | Automated | EZ1&2 extraction, DNA blood 200ul and 350ul kit | Qiagen |  | Olerup B*27 SSP kits used.
Lab-1119 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | kit cobas6800 UTIC chan + EliGene Spondylitis HLA B-27 | cobas6800
Lab-1120 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated |  | QiaSymphony
Lab-1124 | Other | Flow Cytometry | Commercial kits | Other
Lab-1125 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated
Lab-1128 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | Direct from Blood - BAGG | QuantStudio Dx | Commercial primers
Lab-1130 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | STARMag Universal cartridge Kit | Seegene STARlet
Lab-1134 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | FastQ BAG Diagnostics | QIASymphony
Lab-1136 | Other | Flow cytometry | Other | Other | Other | HLA-B27 | BD FACSCanto II
Lab-1138 | Other |  | Commercial kits | Fluorescence
Lab-1139 | Next Generation Sequencing (NGS) |  | Commercial kits | Fluorescence | Automated | Maxwell Whole Blood | Maxwell RSC | 3.62.0
Lab-1140 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | 25892502(PSR) | eMAG for extraction and Light Cycler for amplification
Lab-1142 | Real Time - PCR (RT-PCR) | SSP-PCR | Commercial kits | Fluorescence | Automated | DNA extraction: SeeGene STARMag Universal Extraction kit; detection: Inno-Train HLA-FluoGene B27 | CFX96
Lab-1143 | Other | FLow cytometry | Commercial kits | Fluorescence |  | BD JLA-B27 kit | Flow cytometry
Lab-1144 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | LaCar HLA B27 | Tecan Evo75/LC480
Lab-1145 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit HLA-B*27 Real Time System | Qiagen QIASymphony + Applied Biosystem QuantStudio5/ ABI-7500
Lab-1146 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Ridagene
Lab-1148 | PCR - Melt curve analysis |  | Own design | Fluorescence | Automated | MagNA Pure 96 DNA and Viral NA Small Volume Kit | Roche
Lab-1149 | Other | LAMP | Commercial kits | Fluorescence | Automated | Lacar LAMP Human HLA-27 direct detection KIT
Lab-1151 | PCR-SSO |  |  | Fluorescence | Automated | QIAGEN | QIASYMPHONY
Lab-1152 | PCR-SSO |  | Commercial kits |  | Automated | AS1540 Promega | Maxwell RSC
Lab-1153 | Other | PCR-SSP | Own design | Gel | Automated | - | Maxwell | -
Lab-1154 | Other | PCR SSP | Commercial kits | Gel | Automated | Qiagen | EZ1 and EZ2
Lab-1158 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Manual | Macherey Nagel Dx Blood / TibMolbiol | LC480
Lab-1163 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonith HLA-B27 | Ingenius
Lab-1165 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | Maxwell Whole Blood DNA-Kit | Maxwell CSC | 3.57.0 July 2024
Lab-1168 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | HLA-B27 Kit ( Anti-HLA-B27/CD3) | Becton Dickinsion (BD)
Lab-1170 | Other | Flow Cytometry | Own design | Fluorescence |  | IOTest HLA-B27 FITC/HLA-B7 PE (A07739) + CD3 PE-Cy7 (clone UCHT1 ref 737657) - Beckman Coulter | DX Flex (Beckman Coulter)
Lab-1174 | Other | PCR-SSP | Commercial kits | Gel | Automated | Maxwell RSC Buffy Coat DNA Kit, HLA-Ready Gene B27 | Maxwell
Lab-1175 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Promega Buffy coat extraction kit As1010 | Maxwell MDx Promega
Lab-1178 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated | NucleoSpin Dx Blood Macherey Nagel / TibMolBiol | cobas z480
Lab-1179 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen | Luminex | Lifecodes HLA-B HLA-B eRES SSO
Lab-1180 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | IgG1 FITC + IgG1 PE and HLA-B27 FITC + HLA-B7 PE
Lab-1181 | Real Time - PCR (RT-PCR)
Lab-1189 | Other | BD HLAB27 | Commercial kits | Fluorescence |  | BD HLAB27
Lab-1190 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | InviMag® Universal Kit/ KF96 /gb GENETIC HLA-B*27 | Quantstudio5
Lab-1191 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | HLA-B27 Multiplex qPCR Kit (NZYTECH) | CFX96™ System (BIO-RAD)
Lab-1192 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit | Ingenious Elitech
Lab-1193 | Other | DNA Microarray | Commercial kits | Fluorescence | Manual | EUROIMMUN – EUROArray HLA-B27 Direct | . | .
Lab-1194 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Clonit HLA B27 Kit | ELITe InGenius SYSTEM | HLA B27 allele
Lab-1195 | Other | Flow citometry |  |  |  | Couter
Lab-1196 | Other | Flow cytometry | Commercial kits | Other |  | BD HLA-B27 KIT | FACS CANTO II
Lab-1198 | Other | Flow cytometry | Commercial kits | Fluorescence |  | Beckman coulter | Navios EX | Beckman coulter
Lab-1199 | Other | PCR SSP | Commercial kits | Gel | Automated | BAG diagnostics Histo type B27
Lab-1200 | Other | PCR-SSP | Own design | Gel | Manual | Purelink genomic DNA mini kit
Lab-1203 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | One Lambda SSO | Luminex
Lab-1204 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Manual | In House | CFX 96 Real time system | In House
Lab-1207 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | DNA Blood kit (Qiagen) | EZ1
Lab-1208 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Promega Maxwell RSC Whole Blood DNA Kit for DNA purification and BDR Genvinset for RT-PCR | Maxwell RSC and AriaMX
Lab-1210 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | EuroArray from Euroimmun Direct
Lab-1211 | PCR-SSO |  | Own design | Fluorescence | Automated
Lab-1213 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Other | FASTQ - Direct from blood | Quant Studio DX | IMGT HLA 3.60
Lab-1215 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | BDR Genvinset | Quantstudio 6 | -
Lab-1216 | Next Generation Sequencing (NGS) |  | Commercial kits | Fluorescence | Automated | GenDx |  | IMGT 3.62.0 | no methods provided.
Lab-1218 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Qiagen DNA 1 | EZ1
Lab-1238 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | FASTQ B*27 direct kit | Quant Studio Dx
Lab-1239 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen - Immucor | Luminex
Lab-1240 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated |  | Ingenius Elite
Lab-1256 | PCR-SSO |  | Commercial kits | Fluorescence | Automated | Werfen Immucore | Luminex
Lab-1257 | Other | LAMP | Commercial kits | Fluorescence | Other | LaCAR LAMP kit | Optigene GenieHT | N/A
Lab-1263 | Other |  | Commercial kits | Other | Manual | Beckman | Navios Ex - Flowcytometry
Lab-1264 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | FastQ® B*27 Direct Kits, Qiagen EZ2 DNA extraction
Lab-1266 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | Qiagen-Sample Prep Cartridges Cat No/ID: 997002 | Magnetic beads | Three primer pairs with their respective probes
Lab-1267 | PCR - Melt curve analysis |  | Commercial kits | Fluorescence | Automated
Lab-1268 | Real Time - PCR (RT-PCR) |  | Commercial kits |  | Automated | Clonit
Lab-1269 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Maxwel | QuantStudio 5
Lab-1270 | Other | Flow cytometry |  | Other |  |  |  |  | Navios Flow cytometer, B27-FITC Beckman, B27 One Lambda VH Bio
Lab-1271 | Overig | flowcytometrie | Overig | Fluorescentie |  |  | Sysmex XF1600
Lab-1273 | PCR-SSO |  | Own design | Gel | Manual | Qiagen
Lab-1274 | Other | Flowcytometrie | Commercial kits | Fluorescence | Other | BD | not provided | not provided | not provided
Lab-1276 | Other | Flow cytometry (BD HLAB27 Kit) | Commercial kits | Fluorescence |  | HLAB27 kit BD | Facs Canto 2
Lab-1279 | Real Time - PCR (RT-PCR) |  | Other | Fluorescence | Automated | Maxwell RSC whole blood DNA AS1520 | Promega Maxwell | Roelandse-Koop EA et al 2011 Clin Chem Lab Med 49, 1979-1985
Lab-1280 | Other | Flow Cytometry | Commercial kits | Fluorescence |  | HLA-B27 KIT
Lab-1285 | Real Time - PCR (RT-PCR) |  | Own design | Fluorescence | Automated | TaqMan Fast universal PCR master mix, no AmpErase UNG | NucliSens EasyMAG 1.0 | Forward primer HLA B27 (460): 5'-gctacgtggacgacacRctC-3' Reverse primer HLA B27 (461): 5'-agtctgtgccttggcYttgc-3' Probe HLA B27 (462): 5'-JOE- ttcgtgaggttcgacagcgacgc-BHQ1-3' De primers zijn in exon 2 van het HLA B27 gen gelegen en geven aanleiding tot een 143 bp amplificatieproduct. Forward primer beta-globine (155): 5'- GTGCACCTGACTCCTGAGGAG-3' Reverse primer beta-globine (156): 5'- CCTTGATACCAACCTGCCCAG-3' Probe beta-globine (157): 5'-FAM- AAGGTGAACGTGGATGAAGTTGGTGG-TAMRA-3' De primers en de probe zijn in het humaan beta globinegen gelegen en geven aanleiding tot een 102 bp amplificatieproduct.
Lab-1290 | Other | Flow cytometry | Commercial kits | Fluorescence |  | HLA-B27-FITC/HLA-B7-PE Antibody Cocktail | DxFLEX Beckman Coulter
Lab-1292 | Other | Flow cytometry | Commercial kits | Fluorescence |  | HLAB27 FITC/HLAB7PE/CD3APC-A750 | DxFLEX BECKMAN COULTER
Lab-1295 | Other | NOT TESTED | [6 empty] | NOT TESTED
Lab-1304 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | QIAsymphony DSP DNA Mini Kit / BDR Genvinset HLA B27v5 | QIAsymphony SP / QuantStudioTM 6 Flex
Lab-1307 | Real Time - PCR (RT-PCR) |  | Commercial kits | Fluorescence | Automated | Extraction: Roche Cobas 6800 omni reagents for sample preparation + Detection: EliGene Spondylitis HLA-B27 C6 | Roche Cobas 6800 v2 | HLA-B27 (subtypes B*2701-2759)

## hiddenSheet (hidden)
vunhst_methodology_scheme1b:iZNhxVHKqx23z2GaljN3S9dnm0uUASxwkP0CmFYcbSKtCK2Zp5AY/I6jWG9mzUsacFS/R76zTNkJGhVQfHnybQ==:vunhst_methodology_scheme1bid=%28Do%20Not%20Modify%29%20Methodology_Scheme1B&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&35aaf976-4770-4426-b072-5e7690164470.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_laboratory=Laboratory&vunhst_sample=Sample&vunhst_registration=Registration&vunhst_methodsused=Methods%20Used&aaddd6bf-ca32-4429-91d8-bb4faa6fb2bf.vunhst_distributionyear=Distribution%20Year%20%28Distribution_Lab%29%20%28Distribution_Lab%29&createdon=Created%20On&vunhst_comments=Comments&createdby=Created%20By&createdonbehalfby=Created%20By%20%28Delegate%29&vunhst_detectionsystem=Detection%20System&vunhst_distribution_lab=Distribution_Lab&vunhst_dnaextractionmethod=DNA%20Extraction%20Method&vunhst_methodology=Methodology&vunhst_methodsusedothers=Methods%20Used%20%28Others%29&modifiedby=Modified%20By&modifiedonbehalfby=Modified%20By%20%28Delegate%29&modifiedon=Modified%20On&ownerid=Owner&owningbusinessunit=Owning%20Business%20Unit&vunhst_reagentskitsused=Reagents%20%2f%20Kits%20Used&overriddencreatedon=Record%20Created%20On&vunhst_referencetoprimerprobesequences=Reference%20to%20Primer%20Probe%20Sequences&vunhst_sourceofprimersandprobes=Source%20of%20Primers%20and%20Probes&statuscode=Status%20Reason&vunhst_system=System
Active | Inactive