## 2B-3-2026 T cells (G1)
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 19 | 19 | 19 | 19
Total submitted | 19 | 19 | 19 | 19
Not Tested | 0 | 0 | 1 | 1
Positive | 1 | 17 | 0 | 0
Negative | 18 | 2 | 18 | 18
Equivocal | 0 | 0 | 0 | 0
% Positive | 5.263% | 89.47% | 0% | 0%
% Negative | 94.74% | 10.53% | 100% | 100%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Negative | Positive | Negative | Negative
Unacceptable | Positive, Equivocal | Negative, Equivocal | Positive, Equivocal | Positive, Equivocal
Number acceptable | 18 | 17 | 18 | 18
Number unacceptable | 1 | 2 | 0 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | T-cells Serum 1 | T-cells Serum 2 | T-cells Serum 3 | T-cells Serum 4 | T-cells Serum 1 Cytometer Reading | T-cells Serum 2 Cytometer Reading | T-cells Serum 3 Cytometer Reading | T-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | T-cells Local Negative Control | T-cells Local Positive Control | T-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Tcell
Lab-1003 | Negative | Positive | Negative | Negative | 2612 | 12952 | 2953 | 3244 | Median Channel Fluorescence | 90 |  | 2465 | 5780 | 40 LCS | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1008 | Negative | Positive | Negative | Negative | 2077 | 3154 | 1931 | 1851 |  | 100 |  | 1951 | 23239 | >1.3 RMF | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1019 | Negative | Positive | Negative | Negative | 0.38 | 1.63 | 0.35 | 0.35 | Median Log Fluorescent Intensity | 99 |  | 0.38 | 3.64 | 1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1043 | Negative | Positive | Negative | Negative | 1.00 | 3.56 | 0.94 | 1.01 |  |  |  | 6113.23 | 49.68 | RMF Ratio of >1.5 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1055 | Negative | Positive | Negative | Negative | 97 | 427 | 93 | 95 | Median Log Channel | 100 |  | 89 | 815 | RMF >1.2 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1079 | Negative | Positive | Negative | Negative | 1.17 | 2.21 | 0.95 | 0.97 |  | 99 | Cell viability not measured - forced to enter a value so entered 99 | 1.0 | 137 | 1.3 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1108 | Negative | Positive | Negative | Negative | 144 | 404 | 153 | 159 | Log median | 98 |  | 154 | 588 | 1.5 times the mean of negative control replicate median values | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1118 | Negative | Positive | Negative | Negative | 1.0 | 2.9 | 0.9 | 0.9 | MCFN | 95 | Relative ratio calculation for positive negative results from MCFN | 424 MCFN | RR 9.7 | >1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1128 | Negative | Positive | Negative | Negative | 7681 | 28112 | 6992 | 6925 | log median x | 0 |  |  | 196409 | 1.904 * av neg | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1139 | Negative | Positive | Negative | Negative | 107, 105, 104 | 866, 887, 820 | 93, 95, 89 | 110, 110, 109 | Median channel shift |  | Cell viability not meassured | 153 | 4375 | Ratio cutoff = 1.595 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1153 | Negative | Positive | Negative | Negative | 160 MCV | 239 MCV | 149 MCV | 153 MCV | median channel value |  |  | 154 MCV | 626 MCV | 194 MCV (40 channel shift) | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1174 | Negative | Positive | Negative | Negative | 1122 | 1282 | 1270 | 1214 |  | 85 |  | 973 | 3019 | 1280 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1176 | Negative | Positive | Negative | Negative | 0.9 | 2.4 | 0.8 | 0.7 | RFI | 79.4 |  | 0.0 Negative | 62.4 | >=1.67 RFI | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1199 | Negative | Positive | Negative | Negative | 129.7 | 405.0 | 119.3 | 126.3 | MFI | 100 |  | 142.0 | 11653.5 | RMF ≥1.6 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1212 | Negative | Negative | Negative | Negative | 153 MFI (RMF = 0.98) | 168 MFI (RMF = 1.08) | 152 MFI (RMF = 0.98) | 154 MFI (RMF = 0.99) | Median Fluorescence Intensity (MFI) | 95 |  | 155 MFI | 814 MFI (RMF = 5.25) | RMF = 1.30 X mean of Negative control | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1216 | Negative | Negative | Negative | Negative | 1585 | 1667 | 1732 | 1845 |  | 83 |  | 1466 | 3054 | >1.5 x Trimmed mean | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1238 | Positive | Positive | Not Tested | Not Tested | 160 | 232.7 |  |  | MFI | 100 |  | 65.3 | 1718 | 2SD | 2026-07-22 | 2026-07-22 | Yes | 2026 | Other | Invalid results obtained | 2 | 1 | 2 | Yes
Lab-1239 | Negative | Positive | Negative | Negative | 146,127 | 401,384 | 164,116 | 131,128 | Median log fluorescence |  |  | 128,139,159,143 | 355,8376 | 1.3RMF | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Negative | Positive | Negative | Negative | MEDIAN= 1,046 (RMF=0.96) | MEDIAN= 2,775 (RMF=2.55) | MEDIAN= 925 (RMF=0.85) | MEDIAN= 973 (RMF=0.89) | MEDIAN | 70 |  | MEDIAN= 1,087 | MEDIAN=79,180 | RMF >1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes

## 2B-4-2026 T cells (G1)
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 19 | 19 | 19 | 19
Total submitted | 19 | 19 | 19 | 19
Not Tested | 0 | 0 | 1 | 1
Positive | 18 | 0 | 17 | 14
Negative | 1 | 19 | 1 | 4
Equivocal | 0 | 0 | 0 | 0
% Positive | 94.74% | 0% | 94.44% | 77.78%
% Negative | 5.263% | 100% | 5.556% | 22.22%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Positive | Negative | Positive | Positive
Unacceptable | Negative, Equivocal | Positive, Equivocal | Negative, Equivocal | Negative, Equivocal
Number acceptable | 18 | 19 | 17 | 14
Number unacceptable | 1 | 0 | 1 | 4
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | T-cells Serum 1 | T-cells Serum 2 | T-cells Serum 3 | T-cells Serum 4 | T-cells Serum 1 Cytometer Reading | T-cells Serum 2 Cytometer Reading | T-cells Serum 3 Cytometer Reading | T-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | T-cells Local Negative Control | T-cells Local Positive Control | T-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Tcell
Lab-1003 | Positive | Negative | Positive | Positive | 10832 | 3443 | 11716 | 6505 | Median Channel Fluorescence | 90 |  | 3036 | 7208 | 40 LCS | 2026-07-22 | 2026-07-24 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1008 | Positive | Negative | Positive | Positive | 2978 | 1479 | 3193 | 2341 |  | 100 |  | 1399 | 26446 | >1.3 RMF | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1019 | Positive | Negative | Positive | Positive | 1.56 | 0.4 | 2.9 | 1.36 | Median Log Fluorescent Intensity | 99 |  | 0.41 | 10.67 |  | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1043 | Positive | Negative | Positive | Positive | 2.17 | 0.98 | 3.60 | 1.95 |  |  |  | 7044.43 | 10.18 | RMF Ratio of >1.5 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1055 | Positive | Negative | Positive | Positive | 138 | 104 | 669 | 210 | Median Log Channel | 100 |  | 88 | 531 | RMF >1.2 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1079 | Positive | Negative | Positive | Not Tested | 2.06 | 0.93 | 2.12 |  |  | 99 | Cell viability not measured - forced to enter a value so entered 99 | 1 | 279 | 1.3 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 3 | 3 | 3 | Yes
Lab-1108 | Positive | Negative | Positive | Negative | 427 | 146 | 540 | 323 | Log median | 98 |  | 292 | 1091 | 1.5 times the mean of negative control replicate median values | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1118 | Positive | Negative | Positive | Positive | 3.5 | 0.9 | 5.4 | 2.6 | MCFN | 100 | Relative Ratio is calculated for positive and negative results from the MCFN | 266 MCFN | 14.9 | RR 1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1128 | Positive | Negative | Positive | Positive | 18252 | 7153 | 30303 | 16710 | log median x | 0 |  |  | 210468 | 1.904 * av neg | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1139 | Positive | Negative | Positive | Positive | 489,450,486 | 133,154,121 | 607,604,618 | 354,339,369 | Median channel shift |  | NB: Viability not tested | 166,159,163 | 2215 | a ratio of 1.595 or greater | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1153 | Positive | Negative | Positive | Positive | 242 MCV | 161 MCV | 253 MCV | 211 MCV | median channel value |  |  | 166 MCV | 614 MCV | 206 MCV (40 channel shift) | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1174 | Positive | Negative | Negative | Negative | 595 | 444 | 439 | 469 |  | 85 |  | 433 | 2081 | 520 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 2 | 4 | Yes
Lab-1176 | Positive | Negative | Positive | Positive | 2.6 | 0.9 | 2.9 | 1.8 | RFI | 83 |  | 0.0 Negative | 142.6 Positive | >=1.67 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1199 | Positive | Negative | Positive | Positive | 359.7 | 128.7 | 419.0 | 240.7 | MFI | 100 |  | 135.3 | 16673.0 | RMF ≥1.6 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1212 | Positive | Negative | Positive | Positive | 293 MFI (RMF = 1.70) | 164 MFI (RMF = 0.95) | 242 MFI (RMF = 1.40) | 239 MFI (RMF = 1.39) | Median Fluorescence Intensity (MFI) | 95 |  | 173 MFI | 3374 MFI (RMF = 19.56) | RMF = 1.30 X mean of Negative control | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1216 | Negative | Negative | Not Tested | Negative | 1915 | 2016 |  | 2307 |  | 90 |  | 1573 | 4134 | >1.5 x Trimmed mean | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 3 | 1 | 3 | Yes
Lab-1238 | Positive | Negative | Positive | Positive | 108.66667 | 65.666667 | 142 | 86 | Median | 90 |  | 58 | 639 | 2SD | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1239 | Positive | Negative | Positive | Positive | 287,301 | 170,171 | 432,474 | 269,266 | Median log fluorescence |  |  | 178,185,198,185 | 576,6278 | 1.3RMF | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Positive | Negative | Positive | Negative | MEDIAN= 2,772 (RMF=1.65) | MEDIAN= 1,520 (RMF=0.90) | MEDIAN= 3,691 (RMF=2.19) | MEDIAN= 2,186 (RMF=1.30) | MEDIAN | 70 |  | MEDIAN= 1,684 | MEDIAN= 54,495 | RMF >1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes

## 2B-3-2026 B cells (G1)
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 19 | 19 | 19 | 19
Total submitted | 19 | 19 | 19 | 19
Not Tested | 0 | 0 | 0 | 0
Positive | 19 | 16 | 1 | 1
Negative | 0 | 3 | 18 | 18
Equivocal | 0 | 0 | 0 | 0
% Positive | 100% | 84.21% | 5.263% | 5.263%
% Negative | 0% | 15.79% | 94.74% | 94.74%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | Positive | Positive | Negative | Negative
Unacceptable | Negative, Equivocal | Negative, Equivocal | Positive, Equivocal | Positive, Equivocal
Number acceptable | 19 | 16 | 18 | 18
Number unacceptable | 0 | 3 | 1 | 1
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B-cells Serum 1 | B-cells Serum 2 | B-cells Serum 3 | B-cells Serum 4 | B-cells Serum 1 Cytometer Reading | B-cells Serum 2 Cytometer Reading | B-cells Serum 3 Cytometer Reading | B-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | B-cells Local Negative Control | B-cells Local Positive Control | B-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Bcell
Lab-1003 | Positive | Positive | Negative | Negative | 116573 | 43766 | 12688 | 13857 | Median Channel Fluorescence | 90 |  | 11716 | 64258 | 40 LCS | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1008 | Positive | Positive | Positive | Negative | 33521 | 7356 | 4684 | 3873 |  | 100 |  | 3063 | 56918 | >1.3 RMF | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1019 | Positive | Positive | Negative | Negative | 25.33 | 5.83 | 1.84 | 2.22 | Median Log Fluorescent Intensity | 99 |  | 1.79 | 39.69 | 3 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1043 | Positive | Positive | Negative | Negative | 13.15 | 2.51 | 1.02 | 1.17 |  |  |  | 25952.5 | 41.05 | RMF Ratio of >2.0 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1055 | Positive | Positive | Negative | Negative | 3990 | 1064 | 200 | 233 | Median Log Channel | 100 |  | 228 | 4030 | RMF >1.3 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1079 | Positive | Positive | Negative | Negative | 18.11 | 3.33 | 0.93 | 0.97 |  | 99 | Cell viability not measured - forced to enter a value so entered 99 | 1.0 | 251 | 1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1108 | Positive | Positive | Negative | Negative | 4583 | 1614 | 379 | 460 | Log median | 98 |  | 550 | 7173 | 1.5 times the mean of negative control replicate median values | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1118 | Positive | Positive | Negative | Negative | 21.4 | 4.4 | 0.9 | 0.9 | MCFN | 95 | Relative ratio calculation for positive negative results from MCFN | MCFN 261 | 59.4 | >2.0 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1128 | Positive | Positive | Negative | Negative | 371127 | 103872 | 39208 | 43257 | log median x | 0 |  |  | 846460 | 2.795 * av neg control | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1139 | Positive | Positive | Negative | Negative | 7621, 7018, 6650 | 1325, 1305, 1381 | 282, 302, 268 | 314, 255, 284 | Median channel shift |  | Cell viability not meassured | 399 | 4545 | Ratio cutoff = 2.545 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1153 | Positive | Positive | Negative | Negative | 540 MCV | 391 MCV | 327 MCV | 338 MCV | median channel value |  |  | 351 MCV | 750 MCV | 391 MCV (40 channel shift) | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1174 | Positive | Positive | Negative | Negative | 3861 | 2268 | 1939 | 2123 |  | 85 |  | 1399 | 12037 | 2220 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1176 | Positive | Positive | Negative | Negative | 5.4 | 1.7 | 1.1 | 0.8 | RFI | 79.4 |  | 0.0 Negative | 12.7 Positive | >=1.61 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1199 | Positive | Positive | Negative | Negative | 2391.7 | 765.3 | 236.7 | 237.0 | MFI | 100 |  | 315.7 | 12600.5 | RMF ≥1.6 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1212 | Positive | Negative | Negative | Negative | 433 MFI (RMF = 2.78) | 179 MFI (RMF = 1.15) | 152 MFI (RMF = 0.98) | 147 MFI (RMF = 0.94) | Median Fluorescence Intensity (MFI) | 95 |  | 156 MFI | 1535 MFI (RMF = 9.87) | RMF = 1.30 x Mean of Negative control | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1216 | Positive | Negative | Negative | Negative | 13296 | 3445 | 3260 | 3442 |  | 83 |  | 2889 | 10971 | >3.0 x Trimmed mean | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 4 | Yes
Lab-1238 | Positive | Positive | Negative | Negative | 797 | 329.3 | 157.7 | 199.7 | MFI | 100 |  | 213.7 | 2777 | 2SD | 2026-07-22 | 2026-07-22 | Yes | 2026 | Other | Invalid results obtained | 4 | 4 | 4 | Yes
Lab-1239 | Positive | Positive | Negative | Negative | 5700,5665 | 1049,1017 | 322,328 | 408,373 | Median log fluorescence |  |  | 404,387,432 | 993,17084 | 1.2RMF | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Positive | Negative | Negative | Positive | MEDIAN= 49,464 (RMF=6.62) | MEDIAN= 19,197 (RMF=2.57) | MEDIAN= 10,725 (RMF=1.44) | MEDIAN= 53,790 (RMF=7.20) | MEDIAN | 70 |  | MEDIAN= 7,470 | MEDIAN= 179,398 | RMF >1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 2 | 4 | Yes

## 2B-4-2026 B cells (G1)
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 19 | 19 | 19 | 19
Total submitted | 19 | 19 | 19 | 19
Not Tested | 0 | 0 | 1 | 1
Positive | 11 | 2 | 16 | 18
Negative | 8 | 17 | 2 | 0
Equivocal | 0 | 0 | 0 | 0
% Positive | 57.89% | 10.53% | 88.89% | 100%
% Negative | 42.11% | 89.47% | 11.11% | 0%
% Equivocal | 0% | 0% | 0% | 0%
Consensus | No consensus | Negative | Positive | Positive
Unacceptable | N/A | Positive, Equivocal | Negative, Equivocal | Negative, Equivocal
Number acceptable | N/A | 17 | 16 | 18
Number unacceptable | N/A | 2 | 2 | 0
Assessed | No | Yes | Yes | Yes
Laboratory Code | B-cells Serum 1 | B-cells Serum 2 | B-cells Serum 3 | B-cells Serum 4 | B-cells Serum 1 Cytometer Reading | B-cells Serum 2 Cytometer Reading | B-cells Serum 3 Cytometer Reading | B-cells Serum 4 Cytometer Reading | Units for cytometer readings | Cell Viability | Comments | B-cells Local Negative Control | B-cells Local Positive Control | B-cells Positive Result Value | Date received | Date Tested | Submitted | Distribution Year | Reason for not testing | Confirm Reason | Tested | Correct | Assessed | Bcell
Lab-1003 | Positive | Negative | Positive | Positive | 38408 | 12916 | 56687 | 54094 | Median Channel Fluorescence | 90 |  | 13176 | 69057 | 40 LCS | 2026-07-22 | 2026-07-24 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1008 | Positive | Positive | Positive | Positive | 5262 | 3472 | 6409 | 16849 |  | 100 |  | 1859 | 38431 | >1.3 RMF | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1019 | Positive | Negative | Positive | Positive | 6.33 | 2.44 | 8.91 | 14.08 | Median Log Fluorescent Intensity | 99 |  | 2.11 | 46.26 | 3 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1043 | Negative | Negative | Positive | Positive | 1.45 | 1.11 | 2.11 | 2.80 |  |  |  | 41419.6 | 13.05 | RMF Ratio of >2.0 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1055 | Positive | Positive | Positive | Positive | 310 | 277 | 1354 | 1578 | Median Log Channel | 100 |  | 117 | 3368 | RMF >1.3 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1079 | Positive | Negative | Positive | Positive | 1.41 | 1.01 | 2.86 | 3.55 |  | 99 | Cell viability not measured - forced to enter a value so entered 99 | 1 | 209 |  | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1108 | Positive | Negative | Positive | Positive | 1043 | 454 | 1064 | 2119 | Log median | 98 |  | 575 | 6387 | 1.5 times the mean of negative control replicate median values | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1118 | Positive | Negative | Positive | Positive | 2.3 | 0.8 | 3.6 | 5.6 | MCFN | 100 | Relative Ratio is calculated for positive and negative results from the MCFN | MCFN 319 | RR 37.2 | RR 2.0 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1128 | Negative | Negative | Positive | Positive | 76254 | 49932 | 121509 | 148202 | log median x | 0 |  |  | 1083577 | 2.795 * av neg control | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1139 | Negative | Negative | Positive | Positive | 670,632,623 | 402,320,369 | 1100,1114,1082 | 1836,2127,1544 | Median channel shift |  | NB: Viability not tested | 316,394,355 | 8872 | A ratio of 2.545 or greater | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1153 | Negative | Negative | Negative | Positive | 373 MCV | 370 MCV | 398 MCV | 451 MCV | median channel value |  |  | 397 MCV | 748 MCV | 437 MCV (40 channel shift) | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes
Lab-1174 | Positive | Negative | Positive | Positive | 678 | 534 | 885 | 1350 |  | 85 |  | 414 | 11213 | 635 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1176 | Negative | Negative | Positive | Positive | 1.3 | 1.2 | 1.8 | 2.2 | RFI | 83 |  | 0.0 Negative | 22.3 Positive | >=1.61 | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1199 | Negative | Negative | Positive | Positive | 583.7 | 324.3 | 780.5 | 1473.7 | MFI | 100 |  | 461.3 | 21371.0 | RMF ≥1.6 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1212 | Positive | Negative | Positive | Positive | 359 MFI (RMF = 1.52) | 203 MFI (RMF = 0.86) | 347 MFI (RMF = 1.47) | 912 MFI (RMF = 3.86) | Median Fluorescence Intensity (MFI) | 95 |  | 236 MFI | 10997 MFI (RMF = 46.60) | RMF = 1.30 x Mean of Negative control | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1216 | Negative | Negative | Not Tested | Not Tested | 3746 | 3431 |  |  |  | 90 |  | 3318 | 11988 | >3.0 x Trimmed mean | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 2 | 1 | 1 | Yes
Lab-1238 | Positive | Negative | Positive | Positive | 118.33333 | 80.666667 | 156 | 195.33333 | Median | 90 |  | 86.333333 | 955 | 2SD | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1239 | Positive | Negative | Positive | Positive | 751,880 | 440,497 | 1226,1237 | 1694,1777 | Median log fluorescence |  |  | 389,377,395,416 | 1078,14730 | 1.2RMF | 2026-07-22 | 2026-07-23 | Yes | 2026 |  |  | 4 | 3 | 3 | Yes
Lab-1264 | Negative | Negative | Negative | Positive | MEDIAN= 14,266 (RMF=1.14) | MEDIAN= 10,087 (RMF=0.81) | MEDIAN= 17,291 (RMF=1.38) | MEDIAN= 22,456 (RMF=1.79) | MEDIAN | 70 |  | MEDIAN= 12,522 | MEDIAN= 92,826 | RMF >1.5 | 2026-07-22 | 2026-07-22 | Yes | 2026 |  |  | 4 | 2 | 3 | Yes