## 6-1-2026
6-1-2026
Distribution Date: 16/06/2026 | Class I | Class II
Total distributed | 57 | 54
Total submitted | 57 | 54
Total assessed | 55 | 53
Not tested | 2 | 1
Negative | 7 | 2
Positive | 48 | 51
% Negative | 12.73% | 3.774%
% Positive | 87.27% | 96.23%
Consensus | Positive | Positive
Number acceptable | 48 | 51
Assessed | Yes | Yes | [12 empty] | Registered
Lab Code | HLA IgG CI | HLA IgG CII | High Background IgG | HLA IgM CI | HLA IgM CII | High Background IgM | Comments | Reason for not testing | Confirm Reason | isSubmitted | Tested | Date Received | Date Tested | Assessment | Class I | Class II
Lab-1003 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1014 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1019 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1036 | Positive | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | No
Lab-1038 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1043 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1049 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-01 | Acceptable | Yes | Yes
Lab-1051 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1055 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1057 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1068 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1072 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Unacceptable | Yes | Yes
Lab-1073 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-26 | Acceptable | Yes | Yes
Lab-1079 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1082 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1096 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-19 | Acceptable | Yes | Yes
Lab-1108 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1112 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1115 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1118 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1128 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1137 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1144 | Positive | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | No
Lab-1147 | Positive | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | No
Lab-1151 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1152 | Not Tested | Not Tested | No | Not Tested | Not Tested | No |  | Other | Lack of Reagents | Yes | Not Tested | 2026-06-21 |  | NT | Yes | Yes
Lab-1166 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-02 | Acceptable | Yes | Yes
Lab-1167 | Positive | Negative | No | Not Tested | Not Tested | No | The sample was received 4 days after despatch and there were no cool packs for maintaining the temperature which can lead to loss of reactivity. The same sample was positive for class I antibodies and negative for HLA -Class II antibodies on Phenotype bead assay. However, we are sharing the screen (pooled bead assay) results. |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Unacceptable | Yes | Yes
Lab-1174 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1176 | Positive | Positive | No | Not Tested | Not Tested | No | Positive by Mixed, Negative by PRA |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1199 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-08-03 | Acceptable | Yes | Yes
Lab-1212 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1213 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1216 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-24 | Acceptable | Yes | Yes
Lab-1218 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1219 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Unacceptable | Yes | Yes
Lab-1220 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1221 | Negative | Positive | Yes |  |  | No | We found high background for Class I |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-23 | Unacceptable | Yes | Yes
Lab-1222 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1223 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested |  | 2026-06-24 | Unacceptable | Yes | Yes
Lab-1224 | Negative | Positive | Yes | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-25 | Unacceptable | Yes | Yes
Lab-1226 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-07-06 | Acceptable | Yes | Yes
Lab-1227 | Not Tested | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1229 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1230 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1232 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1234 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1238 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1239 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1246 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1256 | Negative | Positive | Yes | Not Tested | Not Tested | No | NA |  |  | Yes | Fully Tested | 2026-06-24 | 2026-06-30 | Unacceptable | Yes | Yes
Lab-1258 | Positive | Positive | No |  | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1264 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1283 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1286 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1286 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1304 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-07-01 | Acceptable | Yes | Yes

## 6-2-2026
6-2-2026
Distribution Date: 16/06/2026 | Class I | Class II
Total distributed | 57 | 54
Total submitted | 57 | 54
Total assessed | 56 | 53
Not tested | 1 | 1
Negative | 55 | 53
Positive | 1 | 0
% Negative | 98.21% | 100%
% Positive | 1.786% | 0%
Consensus | Negative | Negative
Number acceptable | 55 | 53
Assessed | Yes | Yes | [12 empty] | Registered
Lab Code | HLA IgG CI | HLA IgG CII | High Background IgG | HLA IgM CI | HLA IgM CII | High Background IgM | Comments | Reason for not testing | Confirm Reason | isSubmitted | Tested | Date Received | Date Tested | Assessment | Class I | Class II
Lab-1003 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1014 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1019 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1036 | Negative | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | No
Lab-1038 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-22 | Acceptable | Yes | Yes
Lab-1043 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1049 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-01 | Acceptable | Yes | Yes
Lab-1051 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1055 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1057 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1068 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1072 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1073 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-26 | Acceptable | Yes | Yes
Lab-1079 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1082 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1096 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-19 | Acceptable | Yes | Yes
Lab-1108 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1112 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1115 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1118 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1128 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1137 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1144 | Negative | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | No
Lab-1147 | Negative | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | No
Lab-1151 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1152 | Not Tested | Not Tested | No | Not Tested | Not Tested | No |  | Other | Lack of Reagents | Yes | Not Tested | 2026-06-22 |  | NT | Yes | Yes
Lab-1166 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-02 | Acceptable | Yes | Yes
Lab-1167 | Negative | Negative | No | Not Tested | Not Tested | No | This particular sample was negative by pooled and phenotype bead assay for HLA -Class I and II IgG antibodies, but was positive for one class I antibody -C*04:03 (MFI 1472). |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1174 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1176 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1199 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-03 | Acceptable | Yes | Yes
Lab-1212 | Positive | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Unacceptable | Yes | Yes
Lab-1213 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1216 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-24 | Acceptable | Yes | Yes
Lab-1218 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1219 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1220 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1221 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1222 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1223 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested |  | 2026-06-24 | Acceptable | Yes | Yes
Lab-1224 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1226 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-07-06 | Acceptable | Yes | Yes
Lab-1227 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1229 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1230 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1232 | Negative | Negative | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1234 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1238 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1239 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1246 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1256 | Negative | Negative | No | Not Tested | Not Tested | No | N/A |  |  | Yes | Fully Tested | 2026-06-24 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1258 | Negative | Negative | No | Not Tested |  | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1264 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1283 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1286 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1286 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1304 | Negative | Negative | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-07-01 | Acceptable | Yes | Yes

## 6-3-2026
6-3-2026
Distribution Date: 16/06/2026 | Class I | Class II
Total distributed | 57 | 54
Total submitted | 57 | 54
Total assessed | 56 | 53
Not tested | 1 | 1
Negative | 54 | 0
Positive | 2 | 53
% Negative | 96.43% | 0%
% Positive | 3.571% | 100%
Consensus | Negative | Positive
Number acceptable | 54 | 53
Assessed | Yes | Yes | [12 empty] | Registered
Lab Code | HLA IgG CI | HLA IgG CII | High Background IgG | HLA IgM CI | HLA IgM CII | High Background IgM | Comments | Reason for not testing | Confirm Reason | isSubmitted | Tested | Date Received | Date Tested | Assessment | Class I | Class II
Lab-1003 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1014 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1019 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1036 | Negative | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | No
Lab-1038 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1043 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1049 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-01 | Acceptable | Yes | Yes
Lab-1051 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1055 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1057 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1068 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1072 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1073 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-26 | Acceptable | Yes | Yes
Lab-1079 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1082 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1096 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-19 | Acceptable | Yes | Yes
Lab-1108 | Negative | Positive | Yes | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1112 | Negative | Positive | Yes | Not Tested | Not Tested | No | We would concider HLA class I inconclusive, but no anti-HLA class I antibodies detected. Potential additional testing for certain clinical investigations. |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1115 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1118 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1128 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1137 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1144 | Negative | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | No
Lab-1147 | Negative | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | No
Lab-1151 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1152 | Not Tested | Not Tested | No | Not Tested | Not Tested | No |  | Other | Lack of Reagents | Yes | Not Tested | 2026-06-22 |  | NT | Yes | Yes
Lab-1166 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-02 | Acceptable | Yes | Yes
Lab-1167 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1174 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1176 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1199 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-08-03 | Acceptable | Yes | Yes
Lab-1212 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Unacceptable | Yes | Yes
Lab-1213 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1216 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-24 | Acceptable | Yes | Yes
Lab-1218 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1219 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1220 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1221 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1222 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1223 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested |  | 2026-06-24 | Acceptable | Yes | Yes
Lab-1224 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1226 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-07-06 | Acceptable | Yes | Yes
Lab-1227 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1229 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1230 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1232 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1234 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1238 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1239 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1246 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1256 | Negative | Positive | Yes | Not Tested | Not Tested | No | NA |  |  | Yes | Fully Tested | 2026-06-24 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1258 | Positive | Positive | No | Not Tested |  | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Unacceptable | Yes | Yes
Lab-1264 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1283 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1286 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1286 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1304 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-07-01 | Acceptable | Yes | Yes

## 6-4-2026
6-4-2026
Distribution Date: 16/06/2026 | Class I | Class II
Total distributed | 57 | 54
Total submitted | 57 | 54
Total assessed | 56 | 53
Not tested | 1 | 1
Negative | 19 | 0
Positive | 37 | 53
% Negative | 33.93% | 0%
% Positive | 66.07% | 100%
Consensus | No consensus | Positive
Number acceptable | 0 | 53
Assessed | No | Yes | [12 empty] | Registered
Lab Code | HLA IgG CI | HLA IgG CII | High Background IgG | HLA IgM CI | HLA IgM CII | High Background IgM | Comments | Reason for not testing | Confirm Reason | isSubmitted | Tested | Date Received | Date Tested | Assessment | Class I | Class II
Lab-1003 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1014 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1019 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1036 | Negative | Not Tested | No | Not Tested | Not Tested | No | Extra population visible below 10E3, in routine a control sample would be asked. |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | N/A | Yes | No
Lab-1038 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested |  |  | Acceptable | Yes | Yes
Lab-1043 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1049 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-01 | Acceptable | Yes | Yes
Lab-1051 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1055 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1057 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1068 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1072 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1073 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-26 | Acceptable | Yes | Yes
Lab-1079 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1082 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1096 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-19 | Acceptable | Yes | Yes
Lab-1108 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1112 | Negative | Positive | No | Not Tested | Not Tested | No | Some reactivity of 751 (score 1 pos) and 679 (score 1 pos) for 2 HLA-I beads, but below our cut-off of >800 MFI. |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1115 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1118 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1128 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1137 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1144 | Negative | Not Tested | No | Not Tested | Not Tested | No | This sample was not that easy to evaluate. The plot was a bit difficult to judge but we landed on the conclusion that it was negative. |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | N/A | Yes | No
Lab-1147 | Positive | Not Tested | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | N/A | Yes | No
Lab-1151 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1152 | Not Tested | Not Tested | No | Not Tested | Not Tested | No |  | Other | Lack of Reagents | Yes | Not Tested | 2026-06-22 |  | NT | Yes | Yes
Lab-1166 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-02 | Acceptable | Yes | Yes
Lab-1167 | Negative | Positive | No | Not Tested |  | No |  |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1174 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1176 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1199 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-07-03 | Acceptable | Yes | Yes
Lab-1212 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-18 | Acceptable | Yes | Yes
Lab-1213 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1216 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-06-24 | Acceptable | Yes | Yes
Lab-1218 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-07-22 | Acceptable | Yes | Yes
Lab-1219 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-25 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1220 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-29 | Acceptable | Yes | Yes
Lab-1221 | Negative | Positive | Yes |  |  | No | We found high background for Class I |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1222 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-07-10 | Acceptable | Yes | Yes
Lab-1223 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested |  | 2026-06-24 | Acceptable | Yes | Yes
Lab-1224 | Negative | Positive | Yes | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1226 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-23 | 2026-07-06 | Acceptable | Yes | Yes
Lab-1227 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-22 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1229 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1230 | Negative | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1232 | Positive | Positive | No |  |  | No |  |  |  | Yes | Fully Tested | 2026-06-20 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1234 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-19 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1238 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-17 | Acceptable | Yes | Yes
Lab-1239 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1246 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1256 | Positive | Positive | No | Not Tested | Not Tested | No | NA |  |  | Yes | Fully Tested | 2026-06-24 | 2026-06-30 | Acceptable | Yes | Yes
Lab-1258 | Positive | Positive | No | Not Tested |  | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1264 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-17 | 2026-06-25 | Acceptable | Yes | Yes
Lab-1283 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-23 | Acceptable | Yes | Yes
Lab-1286 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1286 | Positive | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-06-22 | Acceptable | Yes | Yes
Lab-1304 | Negative | Positive | No | Not Tested | Not Tested | No |  |  |  | Yes | Fully Tested | 2026-06-18 | 2026-07-01 | Acceptable | Yes | Yes

## hiddenSheet (hidden)
vunhst_results_scheme6:f2QIt4D8pXjMPBSPvwHeg/D6RZa6QvunfjfFHpeLMsQzkVvnBgiaSB8l4MC0dhKBT/VhaLKFej6ytizZwqeC6w==:vunhst_results_scheme6id=%28Do%20Not%20Modify%29%20Results_Scheme6&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&vunhst_sample=Sample&59dbf1b5-c64c-42d6-9f6c-046d51eb833d.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_hlaiggci=HLA%20IgG%20CI&vunhst_hlaiggcii=HLA%20IgG%20CII&vunhst_hlaigmci=HLA%20IgM%20CI&vunhst_hlaigmcii=HLA%20IgM%20CII&vunhst_highbackground=High%20Background%20IgG&vunhst_highbackground2=High%20Background%20IgM&vunhst_comments=Comments&vunhst_reasonfornottesting=Reason%20for%20not%20testing&vunhst_confirmreason=Confirm%20Reason&vunhst_issubmitted=isSubmitted&vunhst_tested=Tested&vunhst_datereceived=Date%20Received&vunhst_datetested=Date%20Tested
Yes | No
Yes | No
Yes | No