## 8-2-2026 Coeliac
8-2-2026 | Coeliac Disease
Distribution Date: 30/06/2026
Total distributed | 54
Total submitted | 52
Not tested | 2
Reference | DRB1*04:07, 15:01; DQA1*01:02, 03:01; DQB1*03:02, 06:02
Number acceptable | 51
Assessed | Yes
Comments
Lab Code | Coeliac Disease Results for Assessment | Coeliac Disease Alleles of Interest | Coeliac Disease Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | HLA-DQA1*01:02, 03:01; DQB1*03:02, 06:02 | Specific genotype combinations of HLA-DQA1 and DQB1 alleles (HLA-DQA1*05, HLA-DQB1*02 / HLA-DQA1*03, HLA-DQB1*03:02 / HLA-DQA1*02:01, HLA-DQB1*02:02) | Positive for HLA-DQ8 The patient carries the HLA-DQ8 heterodimer (HLA-DQA1*03, DQB1*03:02) associated with Coeliac disease. Approximately 5% of HLA-DQ2.5 negative Coeliac disease sufferers carry this HLA type. The following considerations should be made when interpreting the HLA status of the patient: • Major histocompatibility antigens are expressed for life. Approximately 95% of coeliac disease (CD) patients express the HLA-DQ heterodimers DQ2.5 (encoded by alleles DQB1*02 and DQA1*05) and DQ8 (encoded by alleles DQA1*03 and DQB1*03(DQ8)). • Expression of HLA-DQ2 and/or -DQ8 molecules is necessary, but not sufficient, to cause the disease. This result must be used in combination with further clinical information. • HLA-DQ2 and -DQ8 is present in approximately 40% of the UK population so a positive test in the absence of CD specific antibody testing has no predictive value, but a negative test can exclude a diagnosis of CD (NICE Clinical Guideline 86 2009). • Whilst HLA typing does not have an absolute diagnostic value it enables assessment of relative risk in the presence of a positive CD antibody test. References: Bodd et al. (2012) T-cell response to gluten in patients with HLA-DQ2.2 reveals requirement of peptide-MHC stability in celiac disease. Gastroenterology 142:552-561. D. Pritchard et al. (2024) UK NEQAS and BSHI guideline: Laboratory testing and clinical interpretation of HLA genotyping results supporting the diagnosis of coeliac disease. International Journal of Immunogenetics 51:3-20. Medrano et al. (2012) HLA and celiac disease susceptibility: new genetic factors bring open questions about the HLA influence and gene-dosage effects. PLoS ONE 7(10):e48403. Megiorni et al. (2009) HLA-DQ status and risk gradient for celiac disease. Human Immunology 70:55-59. | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | Yes
Lab-1005 | HLA-DQ8 positive. | DQA1*02, DQA1*03, DQA1*05 DQB1*02, DQB1*03:02 | The patient is HLA-DQ8 positive. Celiac disease is associated with this type of HLA that that occurs in 5% of the cases. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1008 | DQA1*01, *03; DQB1*03:02/32/45/62/63++, *06:02/11/16/26N/33++ | HLA-DQA1*05/DQB1*02 HLA-DQA1*03/DQB1*03:02 HLA-DQA1*02/DQB1*02 | This person has the HLA-DQB1*03:02/DQA1*03 allele combination encoding the coeliac-associated HLA-DQ8 heterodimer | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1011 | DQA1*02 not detected, DQA1*03 detected, DQA1*05 not detected, DQB1*02 not detected, DQB1*03:02 detected | DQA1*02, DQA1*03, DQA1*05, DQB1*02, DQB1*03:02 | Subject has the HLA-DQ8 allotype which is expressed by 5-10% of patients with coeliac disease. However, the presence of associated HLA alleles should not be used to diagnose coeliac disease due to the very low positive predictive value of the association. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1020 | DQA1*03, DQB1*03:02 | DQ2.5 (DQA1*05, DQB1*02) DQ2.2 (DQA1*02, DQB1*02) DQ8 (DQA1*03, DQB1*03:02) |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | Yes
Lab-1024 | HLA-DQA1*02 ABSENT HLA-DQA1*05 ABSENT HLA-DQB1*02 ABSENT HLA-DQB1*03:02 (DQ8) PRESENT | HLA-DQA1*02, HLA-DQA1*05, HLA-DQB1*02 and HLA-DQB1*03:02 (DQ8) | Présence du HLA-DQ8. Risque faible de prédisposition à la maladie coeliaque. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1025 | Predisposed (HLA DQ8/X) | HLA-DQA1*03 HLA-DQB1*03:02 (the kit also detected the HLA-DQB1-no*03:02 allele, indicating a heterozygous genotype at this locus) HLA-DRB1*04 | The HLA-DQ8/X genotype is associated with a moderategenetic risk for coeliac disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | Yes
Lab-1026 | DQA1*05= negative; DQB1*02= negative; DQB1*03:02/05 (DQ8 group)= positive | DQA1*05; DQB1*02; DQB1*03:02/05 (DQ8 group) |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | Yes
Lab-1027 | This sample contains DQ8 (HLA-DQA1*03:01 and HLA-DQB1*03:02), a genetic marker associated with coeliac disease. |  |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | Yes
Lab-1031 | DQA1*05= negative; DQB1*02=negative; DQB1*03:02=positive | DQA1*05, DQB1*02, DQB1*03:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | Yes
Lab-1033 | HLA-DQB1*02: negative, HLA-DQA1*05:xx: negative, HLA-DQB1*03:02: positive | HLA-DQA1*05:xx, HLA-DQB1*02:01,02, HLA-DQB1*03:02 | The allele DQ8, which is associated with coeliac disease, could be detected. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | Yes
Lab-1038 | HLA genotype : HLA-DQA1*03:01, DQA1*01:02 HLA-DQB1*03:02, DQB1*06:02 Result : HLA-DQ2.5 (DQA1*05:01, DQB1*02:01, cis): absence HLA-DQ2.5 (DQA1*05:05, DQB1*02:02, trans) : absence HLA-DQ2.2 (DQA1*02:01, DQB1*02:02, cis) : absence HLA-DQ8 (DQA1*03, DQB1*03:02) : presence | HLA-DQ2.5 (DQA1*05:01, DQB1*02:01, cis) HLA-DQ2.5 (DQA1*05:05, DQB1*02:02, trans) HLA-DQ2.2 (DQA1*02:01, DQB1*02:02, cis) HLA-DQ8 (DQA1*03, DQB1*03:02) | This individual carries HLA-DQA1*03, DQB1*03:02 (DQ8) that has a weak association with coeliac disease. >95% of CD patients carry HLA-DQ2 encoded by DQ2.5 (cis or trans) and 5% of CD patients carry HLA-DQ8 encoded by DQA1*03, DQB1*03:02. HLA genotyping has a good negative predictive value in the diagnosis of CD. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1039 | Positive associoation for Coeliac Disease: DQA1*03:01-DQB1*03:02 | DQA1 & DQB1 (DQ2/DQ8) | Presence of DQ8 | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | Yes
Lab-1057 | DQA1*01,DQA1*03,DQB1*03:02,DQB1*06 | DQA1*05,DQB1*02,DQB1*03:02 | DQA1*05=absent DQB1*02=absent DQB1*03:02=present | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1061 | HLA-DQA1*01:02/HLA-DQA1*03:01 HLA-DQB1*03:XX (DQ8)/HLA-DQB1*06:XX |  |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | Yes
Lab-1065 | DQB1*02 negative DQA1*05 negative DQB1*03:02 positive DQA1*03 positive | DQB1*02 (heterozygous/homozygous), DQA1*05, DQB1*03:02 and DQA1*03 |  | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1067 | DQ2.5: Negative DQ2.2: Negative DQ8: Positive | Combination of: DQ2.5: DQA1*05 and DQB1*02 DQ2.2: DQA1*02 and DQB1*02 DQ8: DQA1*03 and DQB1*0302 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1077 | DQA1*01:02:01, DQA1*03:01:01, DQB1*03:02:01, DQB1*06:02:01 | DQA1 and DQB1 | DQB1*02, DQA1*05 (DQ2.5) Negative DQB1*02, DQA1*02 (DQ2.2) Negative DQB1*03:02 (DQ8) Positive | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | Yes
Lab-1079 | DQB1*03:02/03:32/03:45/03:62/03:63/03:66N/03:67/03:68/03:81/03:85/03:106/03:146/03:161/03:174/03:175/03:178/03:185/03:189/03:190/03:203/03:205/03:210/03:213N/03:215/03:221/03:224/03:225/03:229/03:245/03:247/03:251/03:265/03:269N/03:273/03:277/03:279/03:287/03:289/03:295/03:296/03:298/03:299/03:308/03:310N/03:315/03:320/03:321/03:322/03:323/03:324/03:334N/03:339N/03:343/03:344/03:345/03:348/03:349/03:364/03:367/03:368/03:369/03:379/03:383/03:386/03:388/03:392/03:403N/03:409/03:410/03:412/03:415/03:416/03:422N/03:429/03:433/03:437/03:440N/03:441/03:442/03:444/03:446/03:447/03:452/03:456/03:457/03:459/03:462/03:463/03:464/03:466/03:471/03:479/03:481/03:484/03:490/03:493/03:495/03:498/03:500/03:501/03:502/03:504/03:511/03:512/03:515/03:517/03:525/03:533/03:535/03:540/03:541N/03:543/03:547/03:548/03:554/03:558/03:559/03:561/03:566/03:567/03:570/03:576Q/03:580/06:139 DQB1*06:02/06:02Q/06:11/06:16/06:26N/06:33/06:46/06:47/06:49/06:50/06:68/06:70/06:71/06:72/06:73/06:74/06:75N/06:77N/06:81/06:83/06:84/06:107/06:109/06:111/06:112N/06:113/06:115/06:116/06:117/06:124/06:125/06:126/06:127/06:131/06:136/06:137/06:146/06:151/06:159/06:161/06:163/06:165/06:166/06:173/06:174/06:175/06:176/06:178/06:179N/06:182/06:188/06:192/06:198/06:200/06:211/06:213/06:216N/06:219/06:224/06:225/06:226/06:227/06:228/06:232/06:236/06:237/06:240/06:242/06:249/06:255/06:256/06:262/06:264/06:270/06:271/06:273/06:284/06:286/06:289/06:290/06:293/06:295/06:296/06:297/06:298/06:300/06:304N/06:306N/06:308N/06:311/06:314/06:315/06:317N/06:324/06:326/06:333/06:335/06:338/06:341N/06:344/06:347/06:355/06:356/06:357/06:363/06:366/06:370/06:374/06:376/06:379N/06:380/06:383N/06:384/06:386/06:388/06:390/06:395/06:397N/06:401/06:402/06:404/06:405/06:406/06:409/06:411/06:412/06:413/06:416Q/06:422N/06:430/06:431/06:437/06:438/06:445/06:446/06:447N/06:448/06:456N/06:457/06:461/06:468/06:477N/06:485/06:486/06:487/06:491N/06:497/06:499/06:503/06:512/06:515/06:517/06:531/06:535/06:536/06:537 DQA1*01:02/01:08/01:09/01:11/01:13/01:16N/01:19/01:20/01:21/01:23/01:25/01:28/01:31/01:32/01:36/01:38/01:39/01:40Q/01:41/01:42/01:46/01:48/01:51/01:52/01:54/01:62/01:63/01:69/01:71/01:72/01:73/01:75/01:81/01:85/01:91/01:92/01:93/01:94/01:100/01:103/01:104/01:106/01:111/01:115/01:116/01:124/01:125/01:127/01:128/01:129/01:132/01:133Q/01:134/01:135/01:140/01:141/01:142/01:143/01:144/01:145/01:151/01:152/01:158/01:163/01:168/01:171/01:174/01:178/01:179/01:180/01:184/01:189/01:190/01:191 DQA1*03:01/03:06/03:10/03:12/03:15/03:16/03:18/03:22/03:25/03:27N/03:29/03:30/03:36/03:40/03:41/03:44/03:47/03:52/03:53/03:55/03:57/03:59N/03:60/03:61/03:64/03:66/03:70/03:72/03:73/03:78/03:80/03:81/03:83/03:84/03:87/03:88N | HLA-DQB1*02, HLA-DQB1*03:02 and HLA-DQA1*05 | This patient is NEGATIVE for HLA-DQ2 (DQA1*05, DQB1*02) and POSITIVE for HLA-DQ8. Patients with this genotype have a HIGH RISK of predisposition to Coeliac disease though other factors are likely involved | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1080 | DQB1*03:02,*06 DQA1*01,*03 | DQA1, DQB1 | Presence of HLA DQ8 heterodimer (DQA1*03,DQB1*03:02) indicates susceptibility for CD | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | Yes
Lab-1085 | NT | DQA1*02 DQA1*03 DQA1*05 DQA1*01/04/06 DQA1*02/03:01 DQA1*03:02/03 DQB1*02 DQB1*03:02 DQB1*03/06 DQB1*04 DQB1*05 | Low yield, no results | Not Tested |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | Yes
Lab-1086 | HLA DQ2.5: negative HLA DQ2.2: negative HLA DQ8: positive | DQA1*05, DQB1*02, DQA1*02, DQA1*03, DQB1*03, DQB1*0302 *0305, DQB1*0302 *0303 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | Yes
Lab-1090 | DQA1*01,*03 DQB1*03(serological equivalent DQ8),*06 | DQB1*02+DQA1*05 DQB1*02 DQB1*03:02 | Presence of DQ8 antigen: low to very low risk to develop coeliac disease. This result alone does not confirm the diagnosis. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | Yes
Lab-1104 | HLA coeliac disease associated Heterodimer result: HLA-DQB1*02, DQA1*05 (DQ2.5) NOT detected HLA-DQB1*02, DQA1*02 (DQ2.2) NOT detected HLA-DQB1*03:02 (DQ8) DETECTED | HLA Coeliac Disease associated Heterodimers: HLA-DQB1*02, DQA1*05 (DQ2.5) HLA-DQB1*02, DQA1*02 (DQ2.2) HLA-DQB1*03:02 (DQ8) | This individual has a genotype which is associated with coeliac disease (CD). More than 90% of individuals with coeliac disease (CD), across all populations, express either HLA-DQ2 and / or DQ8 molecules with less than 2% lacking these human leukocyte antigen (HLA) types completely. The HLA-DQA1 and DQB1 alleles that encode these CD associated heterodimers (also referred to as DQ2.5, DQ2.2 and DQ8) are DQA1*05 DQB1*02, DQA1*02 DQB1*02 and DQB1*03:02. The majority of individuals with CD express the DQ2.5 heterodimer while remaining 5-10% express DQ2.2 or DQ8. As HLA-DQ2 and DQ8 are common in the general population (40% in Europeans) and only 1% develop CD, their presence has a low positive predictive value and does not confer a diagnosis of CD. A diagnosis should be based on serological testing from the gluten sensitivity profile, clinical findings and histological evaluation of duodenal biopsy. For further information see Pritchard, D. et al., 2024. UK NEQAS and BSHI guideline: Laboratory testing and clinical interpretation of HLA genotyping results supporting the diagnosis of coeliac disease. International Journal of Immunogenetics, 51(Suppl. 1), 3–20. This assay has been performed by PCR-SSO (sequence specific oligonucleotides) based on Luminex xMAP technology using the LIFECODES HLA-DQA1/B1 SSO Typing kit (CE IVD) (Immucor), to determine the presence or absence of specific HLA alleles that form the above listed CD associated heterodimers. Heterodimer ambiguities have been resolved using additional PCR-SSP (sequence specific primers with the HLA Coeliac Disease Domino System (CE IVD) (Protrans), kit lot number 13-0 version 01 | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1111 | HLA-DQ2.5 - negative (-) HLA-DQ2.2 - negative (-) HLA-DQ8 - positive (+) | HLA-DQ2.5 (DQA1*05/DQB1*02), HLA-DQ2.2 (DQA1*02/DQB1*02), HLA-DQ8 (DQA1*03/DQB1*03:02) | Haplotype: DQ8 Disease risk: medium-high Only a negative result for the HLA-DQ2/DQ8 alleles rules out a genetic basis for celiac disease with 99% probability. A positive result does not confirm the disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1118 | DQB1*03:02/32/45/62/63/66N**, DQB1*06:02/02Q/11/16/26N/33** DQA1*01:02/08/09/11/13/16N**, DQA1*03:01/06/10/12/15/27N** | DQB1*02:01, DQB1*02:02, DQB1*03:02 and DQA1*05 | The patient possesses HLA DQB1*03:02 (DQ8) alleles that is associated with Coeliac Disease. Patients with this genotype have a high risk of predisposition to Coeliac Disease, however; presence of this allele alone does not confirm diagnosis. Other clinical indications are required for diagnosis. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1120 | • DQA1*05 Not Detected • DQB1*02 Not Detected • DQB1*0302 Detected | DQA1*05, DQB1*02, DQB1*0302 | This individual has one of the HLA-DQ variants associated with coeliac disease (DQ8). More than 97% of coeliac disease patients carry either HLA-DQ2.2, HLA-DQ2.5 or DQ8. However, these variants are also present in approximately 40% of the general population and therefore whilst possession of the variant can support a diagnosis of coeliac disease it is not per se diagnostic of the condition. This assay tests for the presence of HLA-DQ2.2 (DQB1*02), HLA-DQ2.5 (DQA1*05/DQB1*02) and HLA-DQ8 (DQB1*0302). | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | Yes
Lab-1132 | DQA105: negative; DQB102: negative; DQB1*03:02: positive | DQA105 - DQB102 - DQB1*03:02 This test cannot detect variants other than those targeted by the analysis. Test sensitivity and specificity: 99%. | DQ8 | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | Yes
Lab-1134 | HLA-DQB1*02 negative, HLA-DQA1*05 negative, HLA-DQB1*03:02 positive | HLA-DQB1*02, HLA-DQB1*03:02 HLA-DQA1*05 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | Yes
Lab-1139 | DQA1*01:02, DQA1*03:01 DQB1*03:02, DQB1*06:02 | DQA1*05 + DQB1*02 (cis or trans) DQA1*XX + DQB1*03:02 DQA1*02 + DQB1*02 | This patient has DQB1*03:02 (DQ8) that has a weak association with coeliac disease in patients where laboratory tests or symptoms or endoscopic features suggest coeliac disease. The presence of an associated HLA genotype does not confer a diagnosis of coeliac disease and has a low positive predictive value for coeliac disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | DQB1*03:02: positive DQA1*05: negative DQB1*02: negative DQA1*02: negative. Reported serotypes: DQ8 | HLA-DQB1*03:02, HLA-DQA1*05, HLA-DQB1*02, HLA-DQA1*02 | "HLA-DQ8 is detected in the form of HLA-DQB1*03:02. A minority of coeliac patients has this allele. The allele is common in the general population. Coeliac disease is unlikely. However, the test alone cannot exclude coeliac disease." | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | Yes
Lab-1146 | DQA1*03:01, DQA1 DQB1*03:02, DQB1 | DQA1*05 DQB1*02, DQB1*03:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1150 | DQ8 | DQA1*05-DQB1*02-DRB1*03 DQA1*05-DQB1*03:01-DRB1*11/DRB1*12 DQA1*02-DQB1*02-DRB1*07 DQA1*03-DQB1*03:02-DRB1*04 | detected HlA genotype is associated with a risk of coeliac disease | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | Yes
Lab-1151 | DQA1*01:02, 03:01 DQB1*03:02, 06:02 | DQA1*05 , DQA1*02, DQB1*02, DQB1*03:02 | This individual carries DQB1*03:02 (DQ8) that has a weak association with coeliac disease in patients where laboratory tests or symptoms or endoscopic features suggest coeliac disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | Yes
Lab-1154 | DQ8 present | DQ2, DQ8 and DQ7 and DQA05 | DQ8 is associated with Coeliac disease | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1176 | HLA-DQA1*01:02, 03:01; DQB1*03:02, 06:02 | HLA-DQA1*05:01/DQB1*02:01 (DQ2.5); HLA-DQA1*03/DQB1*03:02 (DQ8); HLA-DQA1*02:01/DQB1*02:02 (DQ2.2) | Positive for DQ8. This individual carries DQB1*03:02 (DQ8) that has a weak association with coeliac disease in patients where laboratory tests or symptoms or endoscopic features suggest coeliac disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | DQA1*05 - NEGATIVE DQB1*02 - NEGATIVE DQA1*03 - POSITIVE DQB1*03:02 - POSITIVE DQB1*03:03 - NEGATIVE | HLA-DQA1*05, HLA-DQA1*03, HLA-DQB1*02, HLA-DQB1*03:02, HLA-DQB1*03:03 | DQ8 haplotypes. Risk of celiac disease | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1199 | DQB1*06-DQA1*01 DQB1*03:02-DQA1*03 | HLA-DQ2.5/DQ8 | The presence of HLA-DQB1*03:02 (DQ8) has a weak association with coeliac disease in patients where laboratory tests or symptoms or endoscopic features suggest coeliac disease. The presence of an associated HLA genotype does not confer a diagnosis of coeliac disease and has a low positive predictive value for coeliac disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | Yes
Lab-1205 | HLA DQ2.2 = Absent ; HLA DQ2.5 = Absent ; HLA DQ8 = Present | DQA1*02; DQA1*02/*0301; DQA1*03; DQA1*0302/03; DQA1*05; DQB1*02; DQB1*02/*0302. |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | Genotypen er associeret med cøliaki. Analysen har påvist HLA-DQB1*03:02. Den genetiske risiko for cøliaki er til stede. | DQA1*05 negative DQB1*02 negative DQA1*02 negative DQB1*03:02 positive DQA1*03 positive |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | Yes
Lab-1208 | DQB1*02 - Negative DQA1*05 - Negative DQB1*03:02 - Positive | DQB1*02 DQA1*05 DQB1*03:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | Yes
Lab-1209 | HLA-DQ2.2 - NEGATIVE HLA-DQ2.5 - NEGATIVE HLA-DQ8 - POSITIVE b-subunit HLA-DQ2.2/DQ2.5 - NEGATIVE |  |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | Yes
Lab-1215 | DQB1*03:02 - Positive DQB1*02 - Negative DQA1*05 - Negative | DQB1*03:02 DQB1*02 DQA1*05 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1239 | This patient is POSITIVE for the HLA-DQ8 genotype but negative for HLA-DQ2.2 and -DQ2.5. | DQA1*02, *03, *05 and DQB1*02, *03:02 | CD is associated with HLA heterodimers HLA-DQA1*05-DQB1*02 (DQ2.5), HLA-DQA1*03-DQB1*03:02 (DQ8) or HLA-DQA1*02-DQB1*02 (DQ2.2). The absence of any of these associated genotypes excludes the diagnosis of coeliac disease with a high probability (<1% likelihood). Further information is available in the ESsCD guidelines (2019): https://doi.org/10.1177/2050640619844125. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1265 | DQB1*03:02 ; DQA1*03 DQB1*06:02 ; DQA1*01 | DQB1*02:01/DQA1*05:01 ; DQB1*03:02/DQA1*03 DQB1*02:02/DQA1*02:01 | Investigation of susceptibility to celiac disease The patient carries the HLA-DQB1*03:02/HLA-DQA1*03 (DQ8) haplotype. This HLA-DQ specificity is associated with a limited genetic predisposition to celiac disease. Absence of the DQ2 haplotype The presence of the DQ8 haplotype alone does not confirm the diagnosis of celiac disease. This result must be interpreted in the context of clinical presentation and other laboratory data. (Réf. : Ludvig M.Sollid et al., 2012 ; Megiorni F et al. 2012 ; Hadithi M. et al. 2007 ; Margaritte-Jeannin P et al., 2004) | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1268 |  |  |  | Unacceptable | No results returned | No | [5 empty] | Yes
Lab-1269 | Presence of DQB1*03:02, DQA1*03. Absence of DQB1*02, DQA1*05 | DQB1*02, DQA1*05, DQB1*03:02, DQA1*03 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | Yes
Lab-1272 | HLA-DQA1*05 -> negative HLA-DQB1*02 -> negative HLA-DQB1*03:02 -> positive | HLA-DQA1*05, HLA-DQB1*02, HLA-DQB1*03:02 | DQ2 -; DQ8 + Mässiges Risiko Glutenunverträglichkeit | Acceptable |  | Yes | Partially Tested | Other | Only coeliac disease is tested in the laboratory. No other analyses are performed. | 2026-07-06 | 2026-08-04 | Yes
Lab-1284 | DQB1*03:02 | HLA-DQB1*03:02; HLA-DQB1*02 – HLA-DQA1*05; HLA-DQB1*02 – HLA-DQA1*02 | Positive for HLA-DQ8, which is associated with coeliac disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | Yes
Lab-1291 | DRB1*04 - DQA1*03 - DQB1*03:02 DRB1*X - DQA1*01 - DQB1*X |  | DR4 DQ8 DRX DQX | Acceptable |  | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | Yes
Lab-1295 | Identified heterodimers: DQ8 | // | // | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | Yes
Lab-1296 | DQA1*03 DQB1*0302 DRB1*04 | DQA1*03 DQB1*0302 DRB1*04 | HLA-DQ8 | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1304 | HLA-DQA1*05 Negative HLA-DQB1*02 Negative HLA-DQB1*03:02 Positive | HLA-DQA1*05 HLA-DQB1*02 HLA-DQB1*03:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | Yes
Lab-1306 | NT |  |  | Not Tested |  | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | Yes

## 8-2-2026 Narcolepsy
8-2-2026 | Narcolepsy
Distribution Date: 30/06/2026
Total distributed | 25
Total submitted | 52
Not tested | 1
Reference | DQB1*03:02, 06:02
Number acceptable | 24
Assessed | Yes
Comments
Lab Code | Narcolepsy Results for Assessment | Narcolepsy Alleles of Interest | Narcolepsy Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | HLA-DQB1*03:02, 06:02 | HLA-DQB1*06:02 | This patient is Positive for HLA-DQB1*06:02, the allele associated with Narcolepsy | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | Yes
Lab-1005 | DQB1*06:02 positive | DQB1*06:02 | The patient is positive for the HLA-type (DQB1*06:02) wich is associatetd with narcolepsy. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1008 | DQB1*03:02/32/45/62/63++, *06:02/11/16/26N/33++ | HLA-DQB1*06:02 | This patient is positive for the HLA-DQB1*06 allelic group and appears to have the HLA-DQB1*06:02 allele associated with narcolepsy | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | DQA1*01:02, DQB1*06:02 | DQA1*01:02, DQB1*06:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | Yes
Lab-1024 | DQB1*06:02 PRESENT | DQB1*06:02 | Présence de l'allèle DQB1*06:02 Le diagnostic de narcolepsie de type 1 est peu probable mais n’est pas formellement exclu. L’interprétation de ce résultat doit être réalisée en fonction du contexte clinique. Références : - Rennac V et al. Guidelines from the French-speaking Society for Histocompatibility and Immunogenetics (SFHI) for harmonisation of HLA genotyping in autoimmune diseases, drug hypersensitivity and pharmacogenetics. HLA 2025;106:e70442. - Capittini C et al. Correlation between HLA-DQB1*06 :02 and narcolepsy with and without cataplexy. Sleep Medicine 2018;52:150-157. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | DQB1*06:02= positive | DQB1*06:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | Yes
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | HLA-DQB1*06:02: positive | HLA-DQB1*06:02 | In the presence of the allele HLA-DQB1*06:02, a narcolepsy with cataplexy cannot be excluded | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | Yes
Lab-1038 | HLA-DQB1*03 :02, DQB1*06:02 | HLA-DQB1*06:02 | Presence of the HLA-DQB1*06:02 susceptibility allele associated with narcolepsy-cataplexy: This allele is present in 85–95% of patients with narcolepsy-cataplexy, 40–60% of patients with narcolepsy without cataplexy, and 18% of patients with idiopathic hypersomnia. However, it is also present in 12–38% of the general population. This finding supports a diagnosis of narcolepsy-cataplexy only when accompanied by the clinical signs, biological markers, and functional test results that meet the diagnostic criteria. No specific preventive measures, nor family or prenatal screening, are currently recommended for carriers of this predisposition gene. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1039 | Positive association for narcolepsy | DQB1*06:02 | Presence of DQB1*06:02 | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | Yes
Lab-1057 | DQB1*03,DQB1*06:02 | DQB1*06:02 | DQB1*06:02=present | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | DQB1*06:02 positive | DQB1*06:02 |  | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1067 | N/A |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | DQB1*03:02:01, DQB1*06:02:01 | DQB1*06:02 | DQB1*06:02 Positive | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | Yes
Lab-1079 | DQB1*03:02/03:32/03:45/03:62/03:63/03:66N/03:67/03:68/03:81/03:85/03:106/03:146/03:161/03:174/03:175/03:178/03:185/03:189/03:190/03:203/03:205/03:210/03:213N/03:215/03:221/03:224/03:225/03:229/03:245/03:247/03:251/03:265/03:269N/03:273/03:277/03:279/03:287/03:289/03:295/03:296/03:298/03:299/03:308/03:310N/03:315/03:320/03:321/03:322/03:323/03:324/03:334N/03:339N/03:343/03:344/03:345/03:348/03:349/03:364/03:367/03:368/03:369/03:379/03:383/03:386/03:388/03:392/03:403N/03:409/03:410/03:412/03:415/03:416/03:422N/03:429/03:433/03:437/03:440N/03:441/03:442/03:444/03:446/03:447/03:452/03:456/03:457/03:459/03:462/03:463/03:464/03:466/03:471/03:479/03:481/03:484/03:490/03:493/03:495/03:498/03:500/03:501/03:502/03:504/03:511/03:512/03:515/03:517/03:525/03:533/03:535/03:540/03:541N/03:543/03:547/03:548/03:554/03:558/03:559/03:561/03:566/03:567/03:570/03:576Q/03:580/06:139 DQB1*06:02/06:02Q/06:11/06:16/06:26N/06:33/06:46/06:47/06:49/06:50/06:68/06:70/06:71/06:72/06:73/06:74/06:75N/06:77N/06:81/06:83/06:84/06:107/06:109/06:111/06:112N/06:113/06:115/06:116/06:117/06:124/06:125/06:126/06:127/06:131/06:136/06:137/06:146/06:151/06:159/06:161/06:163/06:165/06:166/06:173/06:174/06:175/06:176/06:178/06:179N/06:182/06:188/06:192/06:198/06:200/06:211/06:213/06:216N/06:219/06:224/06:225/06:226/06:227/06:228/06:232/06:236/06:237/06:240/06:242/06:249/06:255/06:256/06:262/06:264/06:270/06:271/06:273/06:284/06:286/06:289/06:290/06:293/06:295/06:296/06:297/06:298/06:300/06:304N/06:306N/06:308N/06:311/06:314/06:315/06:317N/06:324/06:326/06:333/06:335/06:338/06:341N/06:344/06:347/06:355/06:356/06:357/06:363/06:366/06:370/06:374/06:376/06:379N/06:380/06:383N/06:384/06:386/06:388/06:390/06:395/06:397N/06:401/06:402/06:404/06:405/06:406/06:409/06:411/06:412/06:413/06:416Q/06:422N/06:430/06:431/06:437/06:438/06:445/06:446/06:447N/06:448/06:456N/06:457/06:461/06:468/06:477N/06:485/06:486/06:487/06:491N/06:497/06:499/06:503/06:512/06:515/06:517/06:531/06:535/06:536/06:537 | DQB1*06:02 | HLA-DQB1*06:02 POSITIVE. Narcolepsy is associated with the expression of the human leukocyte antigen (HLA) class II molecule DQB1*06:02. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | DQB1*03(serological equivalent DQ8),*06 | DQB1*06:02 | Presence of the susceptibility allele for narcolepsy-cataplexy HLA-DQB1*06:02 in the heterozygous state. 85-95% of the patients carry this allele. This allele is present in 12 to 38% of the general population, in 40 to 60% of the patients with narcolepsy without cataplexy and in 18% of the patients with idiopathic hypersomnia. The relative risk is doubled in case of homozygosity. This result, associated with clinical signs, polysomnography results, iterative sleep latency tests, and hypocretin-1 CSF assay, supports the diagnosis of narcolepsy-cataplexy. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | Yes
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | DQB1*03:02/32/45/62/63/66N**, DQB1*06:02 | DQB1*06:02 | The patient is POSITIVE for HLA-DQB1*06:02 which is associated with narcolepsy - cataplexy. The presence of HLA-DQB1*06:02 alone is insufficient for diagnosis. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | HLA-DQB1*06:02 positive | HLA-DQB1*06:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | Yes
Lab-1139 | DQB1*03:02, DQB1*06:02 | DQB1*06:02 | This patient has the HLADQB1*06 allele classically associated with Narcolepsy | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-DQB1*03:02, 06:02 | HLA-DQB1*06:02 | HLA-DQB1*06:02 positive | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1199 | DQB1*06:02-DQA1*01 DQB1*03:02-DQA1*03 | HLA-DQB1*06:02 | Patient has tested positive for HLA DQB1*06:02 allele which is associated with Narcolepsy. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | Yes
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | DQB1*06:02 - Positive | DQB1*06:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | Yes
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1239 | HLA-DQB1*06:02 POSITIVE | DQB1*06:02 | The presence of the HLA-DQA1*01:02-DQB1*06:02 genotype (DQ0602) is associated with, but not diagnostic of, Narcolepsy. HLA-DQ0602 is present in ~40% of the UK population. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1265 | DQB1*03:02 DQB1*06:02 | DQB1*06:02 | Investigation of Susceptibility to Narcolepsy Presence of the HLA-DQB1*06:02 specificity allele described in narcolepsy/cataplexy This allele is present in: • 85–95% of individuals diagnosed with narcolepsy with cataplexy, • 40–60% of those with narcolepsy without cataplexy, • 18% of patients with idiopathic hypersomnia, However, this allele is also present in 12–38% of the general population. Although the presence of this allele may support the diagnosis of narcolepsy with cataplexy, it is not diagnostic on its own. Its clinical relevance depends on correlation with: • Characteristic clinical symptoms, • Biological markers, • Functional studies, in accordance with established diagnostic criteria. At present, no specific preventive measures, familial screening, or prenatal testing are recommended for carriers of this genetic predisposition. (Réf : Correlation between HLA-DQB1*06:02 and narcolepsy with and without cataplexy: approving a safe and sensitive genetic test in four major ethnic groups. A Systematic meta analysis, Sleep Medecine, 2018) | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | Presence of DQB1*06:02 | DQB1*06:02 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | Yes
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | DQB1*06:02 positive. | HLA-DQB1*06:02 | Genotype is associated with narcolepsy. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | Yes
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | NT |  |  | Not Tested |  | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | Yes

## 8-2-2026 Actinic Prurigo
8-2-2026 | Actinic Prurigo
Distribution Date: 30/06/2026
Total distributed | 6
Total submitted | 53
Not tested | 0
Reference | DRB1*04:07, 15:01
Number acceptable | 6
Assessed | Yes
Comments
Lab Code | Actinic Prurigo Results for Assessment | Actinic Prurigo Alleles of Interest | Actinic Prurigo Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | HLA-DRB1*04:07, 15:01 | DRB1*04:07 | This patient is Positive for HLA-DRB1*04:07, the allele associated with Actinic Prurigo | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | Yes
Lab-1005 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1008 | DRB1*04:07/74/92/129/172++, *15:01/04/07/09/13Q++ | HLA-DRB1*04:07 | This patient is positive for the HLA-DRB1*04 allelic group and appears to have the HLA-DRB1*04:07 allele associated with Actinic Prurigo | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1024 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | No
Lab-1038 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1039 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | No
Lab-1057 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1067 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | No
Lab-1079 | DRB1*04:07/04:74/04:92/04:129/04:172/04:199/04:209/04:212N/04:222/04:246/04:249/04:256/04:262/04:263/04:269/04:278/04:298/04:315/04:337/04:344/04:351/04:356/04:366/04:393/04:394 DRB1*15:01/15:01Q/15:04/15:07/15:09/15:13Q/15:20/15:22/15:24/15:36/15:37/15:41/15:42/15:43/15:48/15:51/15:52/15:55/15:59/15:62/15:65/15:69/15:74/15:76/15:79/15:81/15:85/15:86/15:87/15:88/15:90/15:91/15:92/15:93/15:97/15:98/15:106/15:107/15:108/15:110/15:112/15:113N/15:121/15:123/15:124/15:127/15:132/15:133/15:134N/15:136/15:138N/15:139/15:141/15:144/15:145/15:146/15:147/15:150/15:151/15:153/15:160/15:166/15:168/15:170/15:171/15:173/15:174/15:175/15:177/15:180N/15:181/15:182/15:184/15:186/15:191/15:193/15:195/15:196/15:197/15:198/15:199/15:201/15:202/15:204/15:205/15:207N/15:208/15:209N/15:211/15:215/15:216/15:218/15:219/15:221/15:222/15:223/15:225/15:226/15:230/15:233/15:237/15:238/15:239/15:241/15:242/15:243 | DRB1*04:07 | HLA-DRB1*04:07 POSITIVE. Actinic Prurigo is associated with the expression of the human leukocyte antigen (HLA) class II molecule DRB1*04:07 | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | No
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1139 | DRB1*04:07, DRB1*15:01 | DRB1*04:07 | This patient has the DRB1*04:07 allele associated with Actinic Prurigo | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-DRB1*04:07, 15:01 | HLA-DRB1*04:07 | HLA-DRB1*04:07 positive | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1199 | DRB1*04:07 DRB1*15 | HLA-DRB1*04:07 | Positive | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | Yes
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1239 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1265 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | No
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | [5 empty] | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | No

## 8-2-2026 Birdshot
8-2-2026 | Birdshot
Distribution Date: 30/06/2026
Total distributed | 16
Total submitted | 52
Not tested | 1
Reference | A*03:01, 11:01
Number acceptable | 15
Assessed | Yes
Comments
Lab Code | Birdshot Results for Assessment | Birdshot Alleles of Interest | Birdshot Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | HLA-A*03:01, 11:01 | HLA-A29 | This patient is Negative for HLA-A29, the specificity associated with Birdshot Retinopathy | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | Yes
Lab-1005 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1008 | A*03:01/03N/04/11N/12++, *11:01/05/07/12/13++ | HLA-A*29 | This patient does not have the HLA-A29 antigen associated with birdshot retinopathy | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1024 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | HLA-A*29: negative. | HLA-A*29 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | Yes
Lab-1038 | HLA Genotype: HLA-A*03:01, A*11:01 Result: HLA-A*29 : absence | HLA-A*29 | The absence of the HLA-A*29 allele argues against the diagnosis of Birdshot chorioretinitis. The prevalence of HLA-A29 in patients with Birdshot chorioretinitis is 90–100% according to published studies. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1039 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | No
Lab-1057 | A*03,A*11 | A*29 | A*29=absent | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | A*29 negative | A*29 |  | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1067 | N/A |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | A*03:01, A11:01 | A*29 | A*29 Negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | Yes
Lab-1079 | A*03:01/03:01N/03:01Q/03:03N/03:04/03:11N/03:12/03:13/03:14/03:15/03:16/03:17/03:20/03:21N/03:25/03:26/03:27/03:28/03:29/03:33/03:34/03:35/03:36N/03:37/03:38/03:39/03:43/03:44/03:45/03:46/03:47/03:48/03:51/03:52/03:53/03:55/03:56/03:58/03:59/03:60/03:61/03:62/03:63/03:65/03:67/03:68N/03:70/03:71/03:75/03:77/03:78/03:80/03:81/03:83/03:84/03:85/03:86/03:87/03:88/03:91N/03:92/03:93/03:94/03:96/03:99/03:100/03:101/03:102/03:103/03:104/03:109/03:110/03:111/03:112/03:114/03:115/03:116/03:117/03:118/03:119/03:120/03:121/03:123/03:124/03:125/03:126/03:127/03:128/03:129N/03:130/03:131/03:132/03:134/03:136/03:137/03:138/03:141/03:142/03:143/03:144/03:145/03:146/03:147/03:148/03:149/03:151/03:154/03:155/03:156/03:157/03:158/03:159/03:161N/03:162N/03:163/03:164/03:168N/03:170/03:173/03:174/03:175/03:177/03:178N/03:179/03:180/03:181/03:182/03:184/03:185/03:186/03:188/03:189/03:190/03:191/03:192N/03:193/03:195/03:196/03:197N/03:199/03:201/03:202/03:203/03:204/03:205/03:206/03:207/03:209/03:210/03:211/03:212/03:213/03:214/03:216/03:217/03:220/03:221/03:222/03:224/03:226/03:227/03:228/03:230/03:232/03:233/03:235/03:238/03:239/03:240/03:241/03:243/03:245/03:246/03:247/03:249/03:250/03:251/03:252/03:255/03:256/03:257/03:258/03:259/03:261/03:262N/03:263/03:264/03:265/03:267/03:268/03:269N/03:270/03:271/03:272/03:276/03:277/03:279N/03:282/03:283N/03:284N/03:286N/03:287/03:288/03:289/03:290/03:291/03:292/03:293/03:294/03:295/03:296/03:297N/03:298/03:299/03:300/03:301/03:302/03:303/03:304/03:305/03:306/03:307/03:310/03:311/03:312/03:313/03:315/03:316/03:317/03:320/03:321/03:322/03:324/03:325/03:327/03:328/03:329N/03:330N/03:331/03:334N/03:335N/03:336N/03:337N/03:338/03:339/03:340/03:341/03:342N/03:344/03:345/03:346/03:349/03:350/03:351/03:352/03:353/03:354/03:355/03:357N/03:358/03:359/03:360/03:361/03:362/03:363/03:364N/03:365/03:366/03:367/03:368/03:369/03:370/03:371/03:372/03:374N/03:375/03:376/03:377/03:379/03:380/03:381N/03:383/03:384/03:386/03:387/03:388Q/03:389/03:390/03:391/03:392/03:393/03:394/03:396/03:397/03:399/03:400N/03:401/03:402N/03:403/03:404N/03:405/03:406/03:407/03:408N/03:409/03:410/03:411/03:412/03:414/03:415/03:417/03:418/03:419/03:420/03:421/03:423/03:424/03:425/03:426/03:427/03:430/03:431/03:432/03:433/03:434/03:435/03:436/03:437Q/03:438/03:439/03:440/03:441/03:443/03:444/03:445/03:446/03:447/03:448N/03:449/03:450/03:451/03:454/03:455/03:456/03:457/03:459/03:460/03:462/03:463N/03:464Q/03:467/03:469/03:471/03:472/03:474/03:476/03:478/03:480/03:481/03:482/03:483N/03:484/03:485/03:486/03:487/03:488/03:489/03:490/03:491/03:492Q/03:493/03:494N/03:495/03:497 A*11:01/11:01Q/11:05/11:07/11:12/11:13/11:20/11:21N/11:22/11:24/11:29/11:30/11:32/11:36/11:37/11:41/11:42/11:43/11:45/11:46/11:47/11:48/11:49/11:51/11:52Q/11:54/11:55/11:56/11:58/11:59/11:61/11:62/11:63/11:64/11:65/11:66/11:67/11:68/11:69N/11:71/11:72/11:73/11:74/11:75/11:76/11:78N/11:79/11:80/11:81/11:82/11:83/11:84/11:85/11:86/11:87/11:89/11:91/11:92/11:93/11:95/11:96/11:97/11:99N/11:100/11:102/11:103/11:104/11:105/11:106/11:107/11:108/11:109N/11:111/11:114/11:115N/11:116/11:117/11:119/11:120/11:123/11:124/11:125/11:126/11:127N/11:128/11:129/11:130/11:131/11:132/11:133/11:134/11:135/11:136/11:137N/11:138/11:141/11:142/11:143/11:144/11:145/11:146/11:148/11:149/11:150/11:151/11:152/11:153/11:154/11:156/11:157/11:159/11:160/11:161/11:162/11:163/11:165/11:166/11:167/11:168/11:169/11:171/11:172/11:173/11:174/11:179/11:180N/11:184/11:185/11:186/11:187/11:188/11:189/11:192/11:193/11:194/11:196/11:197/11:198/11:199/11:200/11:203/11:205/11:206/11:207/11:208N/11:210N/11:212/11:213/11:214/11:215N/11:216/11:217/11:218/11:219/11:220/11:222/11:224/11:225/11:227/11:228/11:230/11:232/11:233/11:234/11:235Q/11:236/11:237/11:238N/11:239/11:240/11:241/11:242/11:243/11:244/11:245/11:246/11:247/11:248/11:249/11:251N/11:252/11:253/11:254/11:257/11:258/11:259/11:260/11:261/11:263/11:265/11:266/11:267/11:270/11:272Q/11:273/11:274/11:275/11:276/11:277/11:278/11:279/11:280/11:283/11:284/11:285/11:286/11:287N/11:289/11:291/11:292/11:293/11:294/11:295/11:296/11:297/11:298/11:299/11:301/11:302/11:303/11:304/11:305/11:306/11:307/11:309/11:311/11:313Q/11:314/11:315/11:316/11:317/11:318/11:319/11:320/11:321/11:322/11:323/11:324/11:327/11:328/11:329/11:330/11:331/11:332/11:333/11:334/11:335/11:336/11:337/11:338/11:339/11:340N/11:341/11:342/11:343/11:344/11:347N/11:349/11:350/11:351Q/11:352/11:353/11:354/11:355/11:356/11:357/11:358/11:359/11:360/11:361/11:362/11:363/11:364/11:365N/11:367/11:368/11:369/11:370/11:371/11:373/11:374/11:375Q/11:376/11:377/11:378/11:379/11:380/11:382N/11:383N/11:385/11:386/11:387/11:388N/11:390/11:391/11:392/11:393/11:394/11:395/11:397N/11:398/11:399/11:400N/11:401/11:402/11:403N/11:404/11:405/11:406/11:407N/11:408/11:409/11:410/11:412/11:413N/11:414/11:415/11:416/11:417N/11:418/11:419/11:420/11:421/11:422/11:423/11:424/11:425/11:426/11:427/11:428/11:430/11:431/11:434/11:437/11:439/11:440/11:441/11:442/11:444/11:445/11:446/11:447Q/11:448/11:449/11:450/11:451 | HLA-A*29 | HLA-A*29 NEGATIVE. Birdshot retinochoroidopathy is associated with the expression of the human leukocyte antigen (HLA) class I molecule A*29. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | NT | HLA-A29 | low yield, no results | Not Tested |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | Yes
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | A*03,*11 | A*29 | Absence of susceptibility allele A*29. In case of clinical signs of posterior uveitis, the absence of the HLA-A*29 allele is very little in favor of the diagnosis of birdshot disease. The prevalence of HLA-A*29 in birdshot patients is 90 to 100% according to published studies. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | Yes
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | A*03:01/01N/01Q/03N/04/11N/12**, A*11:01/01Q/05/07/12/13** | A*29 | The patient is negative for HLA-A29 which is associated with Birdshot chorioretinopathy. The absence of HLA-A29 alone cannot be used to eliminate disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1139 | A*03, A*11 | A*29 | This patient does not have a HLA genotype associated with Birdshot Retinopathy | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-A*03:01, 11:01 | HLA-A*29 | HLA-A*29 negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1199 | A*03 A*11 | HLA-A*29 | Negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | Yes
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1239 | HLA-A29 NEGATIVE | HLA-A*29 | The HLA-A29 genotype associated with, but not diagnostic of, Birdshot Chorioretinopathy is absent in this patient. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1265 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | Absence A*29 | A*29 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | Yes
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | [5 empty] | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | No

## 8-2-2026 Behcets
8-2-2026 | Behcets
Distribution Date: 30/06/2026
Total distributed | 20
Total submitted | 51
Not tested | 2
Reference | B*07:02, 35:01
Number acceptable | 18
Assessed | Yes
Comments
Lab Code | Behcets Results for Assessment | Behcets Alleles of Interest | Behcets Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | HLA-B*07:02, 35:01 | HLA-B51 | This patient is Negative for HLA-B51, the specificity associated with Behcet's disease | Acceptable |  | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | Yes
Lab-1005 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1008 | *07:02/07/09/12/15++, *35:01/05/07/08/11++ | HLA-B*51 | This patient does not have the HLA-B51 antigen associated with Behcet’s disease | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1024 | HLA-B*51 ABSENT | HLA-B*51 | « Ce résultat n'exclut pas le diagnostic de maladie de Behçet : 30 à 50% des patients atteints ne possèdent pas l’allèle HLA B*51 » | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | HLA-B*51: negative | HLA-B*51 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | Yes
Lab-1038 | HLA genotype : HLA-B*07:02, B*35:01 Result : HLA-B*51: absence | HLA-B*51 | Absence of the HLA-B*51 susceptibility allele This result does not rule out the diagnosis of anterior inflammatory uveitis associated with Behçet's disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1039 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | No
Lab-1057 | B*07,B*35 | B*51 | B*51=absent | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | B*51 negative | B*51 |  | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1067 | N/A |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | B*07:02:01, B*35:01:01 | B*51 | B*51 Negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | Yes
Lab-1079 | B*07:02/07:02N/07:02Q/07:07/07:09/07:12/07:15/07:18/07:21/07:22/07:23/07:24/07:26/07:30/07:39/07:41/07:44N/07:46/07:47/07:48/07:49N/07:56/07:58/07:59/07:61/07:62/07:67N/07:68/07:70/07:71/07:72/07:73/07:74/07:76/07:77/07:79/07:82/07:86/07:87/07:88/07:89/07:91/07:93/07:94/07:95/07:98/07:99/07:101/07:102/07:103/07:104/07:106/07:108/07:109/07:111N/07:113/07:114/07:117/07:119/07:120/07:126/07:127/07:128/07:129/07:130/07:131/07:135N/07:136/07:141/07:142/07:143/07:144/07:145/07:147/07:148/07:150/07:151/07:152/07:156/07:157/07:158/07:159/07:160/07:161N/07:162/07:163/07:167N/07:168/07:169/07:170/07:171/07:172/07:173/07:174/07:175/07:177/07:179/07:181N/07:184/07:185/07:186/07:188/07:189/07:190/07:191/07:192/07:193/07:194/07:195/07:196/07:198/07:199/07:200/07:203/07:205/07:208/07:211/07:212/07:215/07:216/07:217/07:221/07:224/07:229/07:230/07:231N/07:233/07:234/07:237/07:238/07:241/07:242/07:243/07:244/07:245/07:248/07:250/07:252/07:253/07:254/07:256/07:257/07:261/07:263/07:265/07:267/07:268/07:271/07:272N/07:275/07:276/07:277/07:280/07:281/07:282/07:285N/07:286/07:290/07:291/07:294/07:295/07:296/07:297/07:298/07:299/07:300/07:302/07:303/07:305/07:307/07:308/07:309/07:310/07:311/07:312/07:313/07:315N/07:318N/07:319/07:320/07:321/07:322/07:323/07:326/07:328/07:329/07:330N/07:334/07:336/07:337/07:338/07:339/07:341/07:342/07:344/07:345/07:347/07:348/07:350/07:351N/07:354/07:355/07:362/07:364/07:365/07:366/07:369/07:370/07:371/07:372/07:373N/07:374N/07:375/07:377/07:379/07:380/07:381/07:382/07:384/07:385/07:390/07:391/07:392/07:393/07:394/07:396/07:397/07:398/07:402/07:403/07:404/07:405/07:406/07:410/07:411/07:412/07:413/07:414/07:415N/07:416/07:417/07:418/07:419/07:422/07:423/07:425N/07:427/07:430/07:431/07:432/07:433/07:435N/07:436/07:438/07:441/07:445/07:446N/07:447/07:448/07:449/07:450/07:451/07:454/07:455/07:456/07:458/07:459/07:461/07:462/07:463/07:465/07:466/07:469N/07:470/07:475/07:476/07:477/07:478/07:482/07:483/07:484/07:486/07:487/07:488/07:490/07:491/07:492/07:493/07:496/07:498/07:499/07:500/07:503/07:505/07:506/07:509N/07:510/07:511/07:512/07:513/07:515/07:518/07:519/07:520N/07:521/07:522/07:523/07:524/07:525/07:526N/07:528/07:529/07:531/07:532/07:536/07:537/07:538Q/07:540 B*35:01/35:05/35:07/35:08/35:11/35:15/35:17/35:29/35:30/35:34/35:40N/35:41/35:42/35:48/35:50/35:51/35:52/35:53N/35:57/35:64/35:68/35:77/35:89/35:90/35:91/35:92/35:94/35:97/35:100/35:101/35:103/35:105/35:107/35:108/35:110/35:111/35:113/35:114/35:116/35:119/35:120/35:122/35:123/35:124/35:125/35:126/35:130N/35:131/35:132/35:134N/35:137/35:138/35:139/35:141/35:142/35:143/35:144/35:145N/35:147/35:148/35:158/35:159/35:161/35:165N/35:168/35:170/35:171/35:173N/35:174/35:175/35:176/35:177/35:178/35:187/35:189/35:192/35:194/35:196/35:197/35:199/35:200/35:202/35:203/35:206/35:209/35:216N/35:219/35:222/35:224/35:225/35:227/35:228/35:238/35:239/35:240/35:241/35:244/35:245/35:247/35:248/35:249/35:250/35:252/35:253/35:263/35:264/35:269/35:272/35:275/35:284/35:286/35:288/35:289/35:293/35:295/35:297/35:299/35:301/35:302/35:304/35:305/35:306/35:308/35:310/35:313/35:314/35:315/35:319/35:322/35:324/35:325/35:327/35:328/35:330/35:331/35:332/35:336/35:337/35:338/35:340/35:341/35:342/35:346/35:347/35:348/35:351/35:353/35:359/35:363/35:365/35:369/35:370/35:373/35:376/35:380/35:382/35:383/35:385/35:386/35:388/35:389/35:392/35:393/35:400/35:401/35:402/35:404/35:405/35:406/35:408/35:409/35:411/35:412/35:416/35:417/35:418/35:421/35:427N/35:428Q/35:429/35:433/35:437/35:444/35:445/35:447/35:448N/35:449/35:453N/35:454/35:456N/35:458/35:459N/35:462/35:464/35:465/35:466/35:467/35:470/35:473/35:484/35:485/35:488/35:490/35:493/35:494/35:497/35:499/35:500/35:502/35:503/35:504/35:506/35:509/35:513N/35:514/35:515/35:516/35:517/35:518/35:520/35:524/35:525/35:526/35:528/35:529/35:532/35:533/35:536/35:537/35:538/35:542N/35:551N/35:552/35:556Q/35:558/35:559/35:560/35:564/35:566/35:572/35:573/35:574N/35:576/35:577/35:580/35:581/35:584/35:587/35:588/35:591/35:597N/35:601N/35:602/35:603/35:606/35:608/35:612/35:613/35:614/35:615/35:616/35:619/35:620/35:624/35:626/35:627/35:628/35:629N/35:636N/35:637/35:638/35:640/35:641/35:642/35:643/35:647/35:648/35:649/35:652/35:653 | HLA-B*27 and HLA-B*51 | HLA-B*27 NEGATIVE HLA-B*51 NEGATIVE Behcet's disease is associated with the expression of the human leukocyte antigen (HLA) class I molecule B51. HLA-B*27 result can be used for differential diagnoses due to the overlapping clinical features of Behcet's and HLA-B27 related diseases. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | NT | HLA-B51 | low yield, no results | Not Tested |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | Yes
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | B*07,*35 | B*51 | Absence of the susceptibility allele HLA-B*51. This result does not exclude the diagnosis of Behçet's disease: 30-50% of patients do not have the B*51 allele. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | Yes
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | B*07:02/02N/02Q/07/09/12/15**, B*35:01/05/07/08/11/40N** | B*51 | The patients HLA type does NOT include HLA - B51 which is associated with Behcet’s disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | Yes
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1139 | B*07, B*35 | B*51 | This patient does not have a HLA genotype associated with Behcet's Disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-B*07:02, 35:01 | HLA-B*51 | HLA-B*51 negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | B*51 - NEGATIVE | HLA-B*51 | Low risk of Behçet Syndrome | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1199 | B*07 B*35 | HLA-B*51 | Negative The patient does not have the HLA antigen (HLA-B51) associated with Behcets | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | Yes
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | HLA-B*51 - Negative | HLA-B*51 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1239 | HLA-B51 NEGATIVE | HLA-B*51 | The HLA-B51 genotype associated with, but not diagnostic of Behcet's disease is absent in this patient. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1265 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | Absence of B*51 | B*51 |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | Yes
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | NT |  |  | Not Tested |  | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | Yes

## 8-2-2026 Rheumatoid
8-2-2026 | Rheumatoid
Distribution Date: 30/06/2026
Total distributed | 6
Total submitted | 52
Not tested | 1
Reference | DRB1*04:07, 15:01
Number acceptable | 5
Assessed | Yes
Comments
Lab Code | Rheumatoid Results for Assessment | Rheumatoid Alleles of Interest | Rheumatoid Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | No
Lab-1005 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1008 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1024 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | No
Lab-1038 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1039 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | No
Lab-1057 | DRB1*04,DRB1*15 | DRB1*04 | DRB1*04=present | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1067 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | No
Lab-1079 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | DRB1*04:07,*15:01 | DRB1*04:01,*04:04,*04:05,*04:08 DRB1*10 DRB1*01:01,*01:02,*01:04 DRB1*14:06 | Absence of any susceptibility epitope carried by an HLA-DRB1 molecule. The patient has no epitope associated with a risk of developing rheumatoid arthritis. 20% of the patients with rheumatoid arthritis do not have a susceptibility epitope, so this result alone does not exclude the diagnosis. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | Yes
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1139 | DRB1*04:07, DRB1*15:01 | DRB1*04:01/04:04/04:05. DRB1*01:01, DRB1*14:02 to a lesser extent | This patient does not have a HLA-DRB1 allele classically associated with Rheumatoid Arthritis (RA). | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-DRB1*04:07, 15:01 | HLA-DRB1*01:01, DRB1*01:02, DRB1*04:01, DRB1*04:04, DRB1*04:05, DRB1*04:08, DRB1*10:01, DRB1*14:02 | HLA-DRB1*01:01, DRB1*01:02, DRB1*04:01, DRB1*04:04, DRB1*04:05, DRB1*04:08, DRB1*10:01, DRB1*14:02 negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1199 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | No
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1239 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1265 | DRB1*04:07 DRB1*15 | DRB1*01:01/02/04 ; DRB1*10 ; DRB1*14:02 DRB1*04:01/04/05/08 | Investigation of Genetic Susceptibility to Rheumatoid Arthritis ABSENCE of a susceptibility epitope carried by a molecule HLA-DRB1. The patient does not have an epitope associated with a risk of developing rheumatoid arthritis, but 20% of patients with rheumatoid arthritis do not have one. This result alone does not exclude the diagnosis of rheumatoid arthritis (ACR 2010 criteria). (Ref : Balandraud N, Picard C, Reviron D, Landais C, Toussirot E, Roudier J. HLA-DRB1 Genotypes and the Risk of Developing Anti- Citrullinated Protein Antibody (ACPA) Positive Rheumatoid Arthritis. PLoS One (2013) 8:64108) | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | No
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | NT |  |  | Not Tested |  | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | Yes

## 8-2-2026 Diabetes
8-2-2026 | Diabetes
Distribution Date: 30/06/2026
Total distributed | 8
Total submitted | 52
Not tested | 1
Reference | DRB1*04:07, 15:01; DQA1*01:02, 03:01; DQB1*03:02, 06:02
Number acceptable | 7
Assessed | Yes
Comments
Lab Code | Diabetes Results for Assessment | Diabetes Alleles of Interest | Diabetes Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | No
Lab-1005 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1008 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1024 | HLA-DRB1*03 :01 ;DQA1*05 :01 ;DQB1*02 :01 ABSENT HLA-DRB1*04 :01 ;DQA1*03 :01 ;DQB1*03 :02/04 ABSENT HLA-DRB1*04 :02 ;DQA1*03 :01 ;DQB1*03 :02/04 ABSENT HLA-DRB1*04 :04 ;DQA1*03 :01 ;DQB1*03 :02/04 ABSENT HLA-DRB1*04 :05 ;DQA1*03 :01 ;DQB1*03 :02/04 ABSENT HLA-DRB1*15 :01 ; DQA1*01 :02 ; DQB1*06 :02 PRESENT HLA-DRB1*14 :01 ; DQA1*01 :01 ; DQB1*05 :03 ABSENT HLA-DRB1*07 :01 ; DQA1*02 :01 ; DQB1*03 :03 ABSENT HLA-DRB1*04 :03 ; DQA1*03 :01 ; DQB1*03 :02 ABSENT | HLA-DRB1*03 :01 ;DQA1*05 :01 ;DQB1*02 :01 HLA-DRB1*04 :01 ;DQA1*03 :01 ;DQB1*03 :02/04 HLA-DRB1*04 :02 ;DQA1*03 :01 ;DQB1*03 :02/04 HLA-DRB1*04 :04 ;DQA1*03 :01 ;DQB1*03 :02/04 HLA-DRB1*04 :05 ;DQA1*03 :01 ;DQB1*03 :02/04 HLA-DRB1*15 :01 ; DQA1*01 :02 ; DQB1*06 :02 HLA-DRB1*14 :01 ; DQA1*01 :01 ; DQB1*05 :03 HLA-DRB1*07 :01 ; DQA1*02 :01 ; DQB1*03 :03 HLA-DRB1*04 :03 ; DQA1*03 :01 ; DQB1*03 :02 | Présence d'allèles HLA-DRB1*15:01/DQA1*01:02/DQB1*06:02, pouvant constituer un haplotype HLA protecteur conférant à l'individu porteur un risque plus faible de développer la maladie. Ce résultat ne constitue pas un critère de diagnostic d'exclusion de la maladie. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | No
Lab-1038 | HLA genotype : HLA-DRB1*04:07, DRB1*15:01 HLA-DQA1*03:01, DQA1*01:02 HLA-DQB1*03:02, DQB1*06:02 Result : HLA-DRB1*03:01, DQA1*05:01, DQB1*02:01: absence HLA-DRB1*04:01/04:02/04:04/04:05, DQA1*03, DQB1*03:02 : absence HLA-DRB1*04:01/04:02/04:04/04:05, DQA1*03, DQB1*03:04 : absence | HLA-DRB1*03, DQA1*05:01, DQB1*02:01 HLA-DRB1*04:01/04:02/04:04/04:05, DQA1*03, DQB1*03:02 HLA-DRB1*04:01/04:02/04:04/04:05, DQA1*03, DQB1*03:04 | This individual has no HLA haplotype associated with type 1 diabetes. The DR3,DQ2 and DR4,DQ8 haplotypes are found in 95% of type 1 diabetes patients whereas the HLA-DR3 and DR4 antigens are found 40% of the Caucasian population. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1039 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | No
Lab-1057 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1067 | N/A |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | No
Lab-1079 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | DRB1*04:07,*15:01 DQA1*01:02,*03:01 DQB1*03:02,*06:02 | DRB1*03:01;DQA1*05:01;DQB1*02:01 DRB1*04:01;DQA1*03:01;DQB1*03:02/04 DRB1*04:02;DQA1*03:01;DQB1*03:02/04 DRB1*04:04;DQA1*03:01;DQB1*03:02/04 DRB1*04:05;DQA1*03:01;DQB1*03:02/04 | Absence of alleles that may constitute a susceptibility HLA haplotype to type I diabetes. This result does not constitute a criterion for excluding the disease. | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | Yes
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1139 | DQB1*03:02, DQB1*06:02 | DQB1*03:02, DQB1*02 | This patient has the DQB1*03:02 allele classically associated with Insulin-Dependent Diabetes Mellitus (IDDM). | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-DRB1*04:07, 15:01; DQA1*01:02, 03:01; DQB1*03:02, 06:02 | HLA-DRB1*03:01/DQA1*05:01/DQB1*02:01; HLA-DRB1*0405/DQA1*03:01/03/DQB1*03:02; HLA-DRB1*04:01/DQA1*03:01/03/DQB1*03:02; HLA-DRB1*04:02/DQA1*03:01/DQB1*03:02 | HLA-DRB1*03:01/DQA1*05:01/DQB1*02:01; HLA-DRB1*0405/DQA1*03:01/03/DQB1*03:02; HLA-DRB1*04:01/DQA1*03:01/03/DQB1*03:02; HLA-DRB1*04:02/DQA1*03:01/DQB1*03:02 Negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1199 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | No
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | HLA-DRB1*04:07 HLA-DRB1*15 | HLA-DRB1* |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | Yes
Lab-1239 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1265 | DQB1*03:02 ; DQA1*03 ; DRB1*04:07 DQB1*06:02 ; DQA1*01 ; DRB1*15 | DQB1*02:01/DQA1*05:01/DRB1*03:01 ; DQB1*03:02/DQA1*03/DRB1*04:01/02/04/05 | Investigation of susceptibility to type I diabetes ABSENCE of an full HLA haplotype of susceptibility to type I diabetes. This result does not constitute a criterion for exclusion of the disease. (Ref: Noble JA. Immunogenetics of type 1 diabetes: A comprehensive review. J Autoimmun. nov 2015;64:101-12. Zhao LP et al nine residues in HLA-DQ molecules determine with susceptibility and resistance to type 1 diabetes among young children in Sweden. Sci Rep . 2021 Apr 23;11(1):8821) | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | Yes
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | No
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | NT |  |  | Not Tested |  | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | Yes

## 8-2-2026 Psoriasis
8-2-2026 | Psoriasis
Distribution Date: 30/06/2026
Total distributed | 6
Total submitted | 52
Not tested | 1
Reference | C*04:01, 07:02
Number acceptable | 5
Assessed | Yes
Comments
Lab Code | Psoriasis Results for Assessment | Psoriasis Alleles of Interest | Psoriasis Interpretive Comments | Assessment | Assessment notes | isSubmitted | Tested | Reason for not testing | Confirm Reason | Date Received | Date Tested | Registered
Lab-1003 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-08 | No
Lab-1005 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1008 | C*04:01/04/07/09L/20++, *07:02/10/37/38/42++ | HLA-C*06 | This patient does not have the HLA-C*06 allele group associated with psoriasis | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | Yes
Lab-1011 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1020 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1024 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1025 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-13 | No
Lab-1026 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | No
Lab-1027 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-29 | 2026-07-02 | No
Lab-1031 |  | Not tested |  |  |  | Yes | Fully Tested |  |  | 2026-07-07 | 2026-07-16 | No
Lab-1033 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-06 | 2026-07-08 | No
Lab-1038 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1039 | [5 empty] | Yes | Fully Tested |  |  | 2026-06-30 | 2026-07-06 | No
Lab-1057 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | No
Lab-1061 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-09 | 2026-07-13 | No
Lab-1065 | C*06 negative | C*06 |  | Acceptable |  | Yes | Fully Tested |  |  |  |  | Yes
Lab-1067 | N/A |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1077 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-06 | No
Lab-1079 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1080 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1085 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1086 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1090 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-14 | No
Lab-1104 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1111 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1118 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1120 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1132 | Not performed. Not enrolled in the program. |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-03 | No
Lab-1134 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-07 | No
Lab-1139 | B*07, B*35 C*04, C*07 | C*06 or B*27 | This patient does not have the HLA alleles associated with psoriasis | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-03 | Yes
Lab-1145 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-16 | No
Lab-1146 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1150 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-21 | No
Lab-1151 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-10 | 2026-07-20 | No
Lab-1154 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-02 | No
Lab-1176 | HLA-C*04:01, 07:02 | HLA-C*06 | HLA-C*06 negative | Acceptable |  | Yes | Fully Tested |  |  | 2026-08-01 | 2026-08-03 | Yes
Lab-1186 | [5 empty] | Yes | Fully Tested |  |  |  |  | No
Lab-1199 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-15 | No
Lab-1205 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1206 | Number of HLA-C*06:02 alleles: 0. SNP genotypes are rs10484554: CC, rs3130457: TT, rs6904246: GG, rs7745906: GG. |  |  | Acceptable |  | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-07 | Yes
Lab-1207 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1208 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-09 | No
Lab-1209 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-17 | No
Lab-1215 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1239 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-08 | No
Lab-1265 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-08 | No
Lab-1268 | [5 empty] | No | [5 empty] | No
Lab-1269 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-22 | No
Lab-1272 | NT |  |  |  |  | Yes | Fully Tested |  |  | 2026-07-06 | 2026-08-04 | No
Lab-1284 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-08 | No
Lab-1291 | [5 empty] | Yes | Partially Tested | Other | Our laboratory tests HLA only for Coeliac Desease | 2026-07-06 | 2026-07-08 | No
Lab-1295 | // | // | // |  |  | Yes | Fully Tested |  |  | 2026-07-03 | 2026-07-10 | No
Lab-1296 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-01 | 2026-07-06 | No
Lab-1304 | [5 empty] | Yes | Fully Tested |  |  | 2026-07-02 | 2026-07-06 | No
Lab-1306 | NT |  |  | Not Tested |  | Yes | Not Tested | Samples not received | Shipment refused by customs |  |  | Yes