## 11-1-4-2026
Lab code | Methods Used | Apply same testing strategy to all samples | Further details | PIFT-M platelets | PIFT-FC platelets | PIFT Conjugate | ELISA details | Luminex details | Do you use kit or in-house method? | If Commercial, specify | Standard cell to sera ratio | Additional testing at another concentration | If other provide further details | Testing strategy to selected or all samples | Further details MAIPA | Capture antibodies for each Glycoprotein for MAIPA | How many antigen positive cells do you use? | How many are homozygous | How many are heterozygous | Are all platelet cells from ABO Group O donors | What negative control do you use? | What positive control do you use? | Weak and strong positive control? | Positive control for each gylcoprotein? | What HPA antibodies are you able to detect? | Refer clinical samples to a reference laboratory? | Comments
Lab-1003 | LUMINEX, MAIPA | No | [5 empty] | Pak Lx - Werfen | In-house |  | GPIIb/IIIa 100 to 100, GPIa/IIa 100 to 30, GPIb/IX 100 to 50, CD109 100 to 50 |  |  |  |  | GPIIb/IIIa - Y2/51 GPIa/IIa - Gi-9 GPIb/IB - PAB-5 CD109 - TEA 2/16 | GPIIb/IIa - 2 negative, 2 positive GPIa/IIa - 2 positive, 1 negative GPIb/IX - 1 negative, 1 positive CD109 - 1 negative, 1 positive | 10 | 1 - HPA-5a5b platelet | Yes | In-house AB serum | In-housed defined antibodies. | No | Yes | HPA-1, -2, -3, -4, -5, -15 | No
Lab-1018 | MAIPA | No | [6 empty] | In-house |  |  |  |  | All | In-house MAIPA. | Anti-gp IaIIa: clone Gi9, (anti-CD49b, Immunotech 0717; 0.2 mg/ml) Anti-gp IIbIIIa: clone P2 (anti-CD41; Beckman Coulter, IM0145) Anti-gp IbIX: clone FMC-25 (anti-CD42a, BioRad), 1 mg/ml | two (except for gp IbIX we do not have 2a2b). We use the following panel cells: gp IaIIa: 3 positive cells (5a5a, 5b5b, 5a5b), gp IIbIIIa: 4 positive cells (1a1a3b3b, 1b1b3a3a, 1a1a3a3a, 1b1b3b3b), gp IbIX: 2 positive cells (2a2a, 2b2b). | For gp IaIIa: we have 2 homozygous panel cells (5a5a, 5b5b) For gp IIbIIIa: we have 4 homozygous panel cells (1a1a3b3b, 1b1b3a3a, 1a1a3a3a, 1b1b3b3b) For gp IbIX: we have 2 homozygous panel cells (2a2a, 2b2b) | one (5a5b) | Mostly yes, depending on the availability. | Commercial, pooled AB serum. | Positive, patient-derived serum sample. | Yes | yes | HPA-1a, -1b, -3a, -3b, -2a, -2b, -5a and -5b. We do not have a method for identifying anti-HPA-15 or anti-HPA-4 antibodies in our laboratory. | We are the only laboratory in our country. In case of a need to analyze anti-HPA-15 antibodies in patient samples, we send the samples abroad to a reference laboratory.
Lab-1026 | LUMINEX | No | [5 empty] | Werfen PAK Lx
Lab-1039 | LUMINEX | No
Lab-1051 | LUMINEX | No | [5 empty] | use of Werfen PakLx kit
Lab-1053 | MAIPA | No | [6 empty] | In-house |  |  |  |  | All | To detect specificity for HPA antibody and HLA Class 1 | HPA -1, HPA-2, HPA-3, HPA-5, HPA-15 | HPA- 9 antigen positive Hla Class 1 - pool platelet panel (15 donors) | 9 homozygous | 1 heterozygous | Yes | AB pool plasma | Anti-HPA1a | Yes | No | negative
Lab-1055 | LUMINEX | No | [5 empty] | LX200 instrument. | [6 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Yes, PakLx results referred to reference lab for confirmation. | PakLx results referred to reference lab for confirmation.
Lab-1057 | LUMINEX | No | [5 empty] | Paklx
Lab-1064 | LUMINEX, MAIPA | No | All QC samples are tested both with MAIPA and Luminex |  |  |  |  | PakLx | Commercial | ApDia | 1 to 1 | Other |  | All | Antibody screening with HPA heterozygous platelets. If screening is positive: antibody identification with HPA homozygous platelets. | Anti GP IbIX clone GRP Anti GP IIbIIIa clone P2 Anti GP IaIIa clone Gi9 Anti CD109 clone TEA 2/16 |  | GP IbIX 2 cells : HPA-2aa and HPA-2bb Anti GP IIbIIIa 4 cells : HPA-1aa3aa - HPA-1aa3bb - HPA-1bb3aa - HPA- 1bb3bb Anti GP IaIIa 2 cells : HPA-5aa and HPA-5bb | One Cell: HPA-1ab2ab3ab5ab | Yes | male humen serum AB blood group | CQI IaIIa : NIBSC WHO anti HPA-5b CQI IIbIIIa: NIBSC WHO anti HPA-1b CQI IbIX: internal control (patient) CQI CD109: internal control (donor) | No : weak positive control only | yes | Anti GP IbIX Anti GP IIbIIIa Anti GP IaIIa Anti GPV Anti CD109 | No | CD36 antibody detection performed by Luminex only
Lab-1069 | MAIPA | No | Screening research with pool platelets on GPIIb-IIIa, GPIa-IIa, GPIb-IX and HLA groups. If a positivity is found, the sample is tested with specific platelets. | [5 empty] | Commercial | ApDia | 1 to 1 | Double |  | All | Screening research with pool platelets on GPIIb-IIIa, GPIa-IIa, GPIb-IX and HLA groups. If a positivity is found, the sample is tested with specific platelets. | MAB IIbIIIa, MAB IaIIa, MAB IbIX and MAB HLA. | 25000000 | Homozygous : HPA-4aa and HPA-6aa | 4 (HPA-1, 2, 3 and 5) | yes | The negative control in the kit | The positive controls in the kit (anti HPA-1a, anti HPA-5b, anti HLA) | No | No | HPA-1,2,3,5 | Yes (EFS Rennes)
Lab-1087 | LUMINEX | No | [5 empty] | Luminex PAK-Lx assay used for testing. Kit Lot number: 3016720 Kit Expiry: 31/12/2026 | [16 empty] | Luminex PAK-Lx assay is able to detect 1a, 1b, 2a, 2b, 3a, 3b, 4a, 4b, 5a and 5b antibodies. | Please note: The sensitivity of the PAK-Lx assay for the detection of HPA-3 antibodies is not known, and the assay does not test for HPA-15 antibodies. In clinical cases where HPA-3 and/or HPA-15 antibodies are suspected, samples are referred to Australian Red Cross Lifeblood, Brisbane, for MAIPA testing to enable further investigation and confirmation of platelet-specific antibodies.
Lab-1091 | LUMINEX, MAIPA | No | Nil |  |  |  |  | Luminex Pak Lx cannot detect anti-HPA-6 and anti-HPA-15 / CD109 antibodies | Commercial | apDia | 1:1 |  |  | All | apDia MAIPA cannot detect anti-HPA-15/ CD109 and anti-HPA-4b and anti-HPA-6b antibodies. | Monoclonal antibody vs IIb/IIIa; vs Ia/IIa, vs Ib/IX and vs HLA. No detailed information of monoclonal specificities is provided by manufacturer. | Two | GpIIb/IIIa: two 1aa; three 1bb; four 3aa; two 3bb; six 4aa; six 6aa GpIa/IIa: four 5aa; one 5bb Gp Ib/IX: four 2aa; one 2bb | GpIIb/IIIa: one 1ab GpIa/IIa: one 5ab Gp Ib/IX: one 2ab | Yes | No information provided by manufacturer | Anti-HPA-1a; Anti-HPA-5b; anti-HLA | No | Yes, supplied by the commercial kit. | MAIPA apDia: anti-HPA-1, anti-HPA-2, anti-HPA-3, anti-HPA-4a, anti-HPA-5 and anti-HPA-6a Luminex Pak Lx: anti-HPA-1, anti-HPA-2, anti-HPA-3, anti-HPA-4, anti-HPA-5 | No | NA
Lab-1096 | LUMINEX, MAIPA | No | [5 empty] | PakLX | Commercial | ApDia | 1 to 1 |  |  | All |  | GPIaIIa GPIIbIIIa GPIbIX |  | GPIaIIa : 2 homozygous GPIIbIIIa : 4 homozygous GPIbIX : 2 homozygous | GPIaIIa : 1 heterozygous GPIIbIIIa : 1 heterozygous GPIbIX : 1 heterozygous | yes | commercial negative control | commercial positive control + house positive control | yes, dilution of anti-HPA1a | no | HPA1ab, HPA2ab, HPA3ab, HPA5ab
Lab-1098 | LUMINEX, Other: Pak LX kit | No | [5 empty] | Pak LX kit
Lab-1112 | LUMINEX, MAIPA | No | Routinely, also including PIFT for crossmatch of the implicated individuals, but without any patient information on blood and platelet typing this is not performed. |  |  |  |  | Pak Lx with FM3D instrument | In-house |  |  |  |  | All | Panel cells are routinely chosen, and supplementary panel platelets are routinely used dependent on the HPA typing of the patient. This testing only included routine panel cells, since corresponing HPA typing is lacking. | Y2/51 for GPIIb/IIIa SZ2 for GPIb/IX Gi9 for GPIa/IIa TEA2/16 for CD109 | Minimum 1 pos and 1 neg | One homozygous panel cell of each of 1aa, 1bb, 3aa, 5aa, 15aa, 15bb. Additional 3bb, 5bb are available if required to resolve specificity upon reactivity with heterozygous cells. | One heterozygous cell for 2ab, 5ab, 3ab. | YES | In-house negative control plasma. | In house control (monoclonal ab) | yes | yes |  | we are the reference laboratory
Lab-1113 | LUMINEX | No | Werfen Pak Lx kit |  |  |  |  | Luminex 200 (PAK Lx kit)
Lab-1114 | PIFT-M, LUMINEX, MAIPA | No | . | Treated |  | IgG/IgM |  |  | In-house |  |  | Other |  |  |  | C17 IIb/IIIa MB45 Ib/IX 10G11 Ia/IIa 15E10 CD109 | 1 postive and 1 negative | all homozygous | None | Yes | AB sera, from a blooddonor with bloodgroup AB | anti-HPA-1a | yes (1:16 and 1:32) | No, only for GPIIb/IIIa | HPA-1a, 1b, 2a, 2b, 3a, 3b, 4a, 4b, 5a, 5b, 15a and 15b | No
Lab-1116 | LUMINEX | No | [5 empty] | PakLx Werfen | [16 empty] | HPA-1, HPA-2, HPA-3, HPA-4, HPA-5 | No
Lab-1117 | LUMINEX | No | [5 empty] | Lifecodes PakLX Immucor/Werfen
Lab-1141 | ELISA, LUMINEX, MAIPA | No | MAIPA is routinely used only in FNAIT cases |  |  |  | Commercial kit: Lifecodes Pak Plus (Werfen/ImmuCor) | Commercial kit: Lifecodes Pak LX (Werfen/ImmuCor) | In-house |  |  |  |  | All | Qualitative analysis. Immunoassay with colorimetric detection. | GPIIb/IIIa (HPA-1, HPA-3, HPA-4): CD41-biotin, clone P2 (Beckman Coulter) GPIa/IIa (HPA-5): AK7-biotin (Fisher Scientific) CD109 (HPA-15): Anti-CD109-biotin (R&D Systems) | One antigen positive test cell is used for each specificity. If unclear results, we confirm the analysis. | Homozygous test cells for; HPA-1, -3, and -15. | Heterozygous test cell for HPA-5. | Yes. | EDTA plasma from male blood donors with blood group O. | In-house controls for anti-HPA-1a, anti-HPA-1b, and anti-HPA-5b. Commercial: anti-HPA-15b (NIBSC 18/220). | No, only one positive control for each antigen listed above. | Yes, always for GPIIb/IIIa and GPIa/IIa and for CD109 when anti-HPA-15 is suspected. | Anti-HPA-1a, -1b, -3a, -3b, -5a, -5b, -15a, -15b. | No, we are a reference laboratory.
Lab-1154 | LUMINEX | No | [5 empty] | Immucor PakLx
Lab-1160 | Other: Pak-Lx | No
Lab-1161 | LUMINEX | No | [5 empty] | Pak Lx Assay, Immucor Medizinische Diagnostik GmbH
Lab-1162 | ELISA, LUMINEX | No | [5 empty] | PAK LX 3016720/31.12.2026. | Commercial | PAKPLUS 3016699/17.10.2026.
Lab-1171 | ELISA | No |  |  |  |  | Immucor PakPlus ELISA kit
Lab-1172 | LUMINEX, MAIPA | No | MAIPA apDia batch 6010126 following by Luminex assay |  |  |  |  | Pak Lx Batch 3016891-PLX | Commercial | apDia |  |  |  | All | Commercial MAIPA kit batch 6010126 Ia-IIa, IIb-IIIa Ib-IX and Betamicroglobuline + in house Mabs PL1-64 and PL2-46 | Not known except for GPIIb-IIIa clone P2 (commercial kit apDia) + in house Moabs PL1-64 et PL2-46 | 2 PLT aa + 2 PLT bb for HPA-1 and HPA-3 antibodies (for HPA-2 and HPA-5 antibodies ; 2 PLT aa + 1PLT bb + 1PLT ab) | 2 | 1 screen platelets + 1 identification platelet (HPA-2 and HPA-5) | Yes | Negative Control inside the kit | Positive Control inside the kit (CTRL HPA-1a, HPA-5b and anti-HLA) + in house anti-HPA-3a | Strong (users are dependent of the kit) | No, we don't have positive control for GPIb-IX | anti-HPA-1a, -1b,-2a, -2b,-3a, -3b, -5a, -5b (with apDia kit) -15a,- 15b (with in house MAIPA) | No we are a reference laboratory designated by the Health Ministry | We cannot test serums for anti-HPA-4a and -4b, anti-HPA-6a and -6b and anti-HPA-9b in MAIPA
Lab-1179 | LUMINEX | No | Same testing strategy |  |  |  |  | Luminex LX200 device with commercial kit: PakLx and LIFECODES LifeScreen XP (LMX) (Werfen) | [6 empty] | NA | NA | · 1 type bead coated with GPIV · 1 type bead coated with class I HLA · 6 types beads coated with HPA-1, -3 en -4 antigens of GPIIb-IIIa · 5 types beads coated with HPA-2 antigs of GPIb/IX · 5 types beads coated with HPA-5 antigens of GPIa/IIa · 1 positive control bead: human IgG | HPA-1a 3 HPA-1b 2 HPA-2a 2 HPA-2b 2 HPA-3a 2 HPA-3b 2 HPA-4a 5 HPA-4b 1 HPA-5a 2 HPA-5b 2 | HPA-1a/b 1 HPA-2a/b 1 HPA-3a/b 2 HPA-4a/b 0 HPA-5a/b 1 | Beads | Kit negative control serum: blend obtained from individual(s) with no known antibodies to HPA, GPIV and HLA, with 0,1% sodium azide. | Kit positive control serum: blend obtained from individual(s) with known antibodies to HPA-1a with or without antibodies to Class I HLA, with 0,1% sodium azide. | No | No | HPA-1, HPA-2, HPA-3, HPA-4, HPA-5 and GPIV antibodies | No
Lab-1187 | ELISA | No |  |  |  |  | Commercial kit PakPlus from Werfen(Immucor). |  | Commercial | PAKPLUS
Lab-1208 | LUMINEX | No | [5 empty] | PAK Lx
Lab-1213 | PIFT-FC, LUMINEX, MAIPA | No |  |  | Untreated | IgG/IgM | In house MAIPA | PakLx | In-house |  | 1:1 | Double |  | Selected | Selected samples e.g. HPA-1b1b mothers with no detectable antibodies at standard volume. Perceptive 'Weak' antibodies just below acceptance cut off. | GPIIb/IIIa - 5B12 and PAB-1 GPIa/IIa - P-16 GPIb/IX - PAB-5 HLA Class I - P-43 + W6/32 GPIV - mcb131.4 GPV - SW16 CD109 - TEA2/16 | GPIIb/IIIa - 2 x 1a1a, 2 x 1b1b, 2 x 3a3a, 2 x 3b3b GPIa/IIa - 2 x 5a5a, 2 x 5b5b GPIb/IX - 2 x 2a2a, 2 x 2b2b GPIV - 2 x GPIV positive GPV - 2 x GPV positive CD109 - 3 x 15a positive, 3 x 15b positive | All cells are homozygous | None | Yes, all group O | Blood group AB positive male serum | In house positive controls for HPA-1a, HPA-1b, HPA-5a, HPA-5b, anti-GPIb/IX, anti-HLA class I, HPA-15a, HPA-15b, anti-GPIV, anti-GPV, | No | Yes | HPA-1a, HPA-1b, HPA-3a, HPA-3b, HPA-5a, HPA-5b, HPA-2a, HPA-2b, HPA-15a, HPA-15b, anti-GPIV, anti-GPV | No
Lab-1214 | MAIPA | No |  | Untreated | Untreated | IgG/IgM |  | PAKLX | Commercial | apdia | 25 M platelet with 50 µL of serum |  |  | All |  | commercial kit | at least two | at least one | at least one | yes | commercial kit | commercial kit and in house positive control | yes | not always for GPIBIX | HPA1,2,3,5 + CD36(PAKLX) | yes
Lab-1233 | MAIPA | No |  | Untreated | Untreated |  |  |  | Commercial | APDIA | 1 to 1 |  |  |  | 25 millions of platelets per test |  | 6 cells | 5 cells for each HPA-1,2,3,5 for CD109 only two cells HPA-15(a+b-) and HPA-15(a-b+) | 1 cell for each HPA-1,2,3,5 | yes | negative serum sample given in the kit | positive samples given in the kit and one anti-IaIIa and one anti-IIbIIIa intern control | when possible | for GP IIbIIIa, GP IaIIa, and HLA |  | no, we are a reference laboratory in France | APDIA MAIPA Kit
Lab-1241 | LUMINEX | No
Lab-1242 | ELISA, LUMINEX, Other: SPRCA - WERFEN | No |  |  |  |  | PAK PLUS - WERFEN | PAKLX - WERFEN
Lab-1243 | LUMINEX | No | [5 empty] | PAK Lx Kit
Lab-1245 | ELISA | No | [6 empty] | Commercial | PAKPLUS | 1:1 | Double |  | All
Lab-1250 | PIFT-FC, LUMINEX, MAIPA | No |  |  | Untreated | IgG/IgM |  | Pak-LX and Labscreen HLA-CI Single Antigen | In-house |  | 1 to 1 |  |  | All | Modified Rapid MAIPA | GPIIb/IIIa - P2, GPIa/IIa - Gi9, GPIb/IX - SZ2, GP175 - TEA2/16, GPIV - FA6.152, HLA-CI - w6/32 | 2x HPA-1, 3; 1x HPA-2,5,15; Pool of cells GPIV, HLA-CI | All | 0 | Yes | AB cryo depleted plasma | Anti-HPA-1a strong and weak, Anti-HPA-5a, Anti-HPA-5b, Anti-HLA-CI | Yes, for anti-HPA-1aa | No | Anti-HPA-1a,1b,2a,2b,3a,3b,4a,5a,5b,15a,15b | No
Lab-1252 | PIFT-FC, LUMINEX, MAIPA, Other: Luminex Single Antigen Class I for HLA antibody testing. Note: PIFT-FC is not used for QAP samples however it is routinely used for FNAIT investigations and auto antibody investigations. | No | *For routine FNAIT investigations we perform all the above tests. Refractory patients are HLA typed and antibody tested preferentially to HPA testing. The NEQAS samples are tested using Luminex (HPA and HLA) and MAIPA methods above. |  | Treated | IgG/IgM |  | Immucor PAK-Lx kit- for HPA antibody testing One Lambda Labscreen Luminex Single Antigen Class I for HLA antibody testing | In-house |  | 4 to 1 |  |  | All | Method used - NIBSC Modified MAIPA. If given enough sera we would also try and find HLA matched donors for the MAIPA where there is HLA antibody interference. For HPA-15 detection (where possible) we use high expressor donor cells for HPA-15aa and 15bb | GPIIb/IIIa P2 (routinely) and Y2/51 if indicated. GPIb/IX SZ2 GPIa/IIa Gi9 CD109 Tea 2/16 CD36 FA6.152 | GPIIb/IIIa = 4 GPIb/IX = 2 GPIa/IIa =2 GP175 =2 GPIV = Pool of the above donor cells | GPIIb/IIIa = 4 GPIb/IX = 2 GPIa/IIa =2 GP175 =2 | None | Yes | AB serum (in-house from male blood donors) | anti-HPA-1a - from previous FNAIT cases If available we also use anti-HPA-2b,5a,5b pos controls from previous FNAIT cases (as required) | Yes- for HPA-1a ONLY | Yes for HPA-1a As required for all other glycoproteins, based on HPA genotyping | 1a,1b,2a,2b,3a,3b,4a,4b,5a,5b,15a,15b,CD36 | No | We also use W6/32 monoclonal for HLA antibodies in FNAIT paternal crossmatch only.
Lab-1253 | ELISA | No
Lab-1255 | LUMINEX, MAIPA | No | [5 empty] | Luminex 200 System using the Werfen (Immucor) PakLx kits. | In-house | [5 empty] | GP IIbIIIa is 1:1 and GPIaIIa is 2:1. | Affinipure Goat Anti-Mouse IgG (Subclasses 1+2a+2b+3) Fcy Fragment specific (Min x Hu, Bov, Rb Sr Prot) 1.0mg | 2 cells for each GP | GPIIbIIIa - 4 homozygous cells GPIaIIa - 3 homozygous cells | GPIIbIIIa - none GPIaIIa - 1 heterozygous cell. | No. | Inert blood Type AB serum. | Known positive patient samples and NIBSC reference for HPA-1a, HPA-3a, HPA-5b and HPA-15b. | No. | Yes. | 1a, 1b, 3a, 3b, 4a, 5a, 5b, 15a, 15b | Yes, when encountering a discrepant result.
Lab-1287 | LUMINEX | No | [5 empty] | Werfen PakLx [IgG] lot 3016660-PLX | [5 empty] | All
Lab-1288 | PIFT-FC, ELISA, LUMINEX, MAIPA | No |  |  | Untreated | IgG/IgM | We use the commercial ELISA kit Pak Plus®Werfen | We use the commercial kit Pak LX Werfen | In-house |  | 4 to 1 MAIPA-15; 2 to 1 MAIPA other specificities |  |  | Selected | We use the MAIPA test to investigate anti-HPA-15 antibodies with both typed donor platelets and HP-15 cell lines. In addition, we use the MAIPA test to confirm other HPA specificities and for crossmatching in studies of suspected FNAIT. | CD109: TEA 2/16 GP IIb-IIIa: CLB-tromb/7 6C9 Sanquin and P2 GP IX: SZ1 GP Ia-IIa: AK7 | Two | All | None | Yes | A known negative sera from an AB group donor. | We use sera with known specificities previously identified. | No. | Not always possible. | HPA-1a, HPA-1b, HPA-2a, HPA-2b, HPA-3a, HPA-3b, HPA-4a, HPA-4b, HPA-5a, HPA-5b, HPA-15a and HPA-15b | No
Lab-1314 | MAIPA | No | [6 empty] | In-house | [6 empty] | GPIIb/IIIa: Clone P2 GPIa/IIa: Clone AK7 GPIb/IX: Clone AK2 GPIV: Clone FA6.152 CD109: Clone TEA2 HPA: Clone W6/32 | 11 cell | GPIIb/IIIa: cell 1: HPA-1aa, - 3bb, -4aa cell 2: HPA-1bb, -3aa, -4aa cell 3: HPA-1aa, -3aa, -4ab GPIa/IIa: cell 1: HPA-5aa cell 2: HPA-5bb GPIb/IX: cell 1: HPA-2aa cell 2: HPA-2bb GPIV: cell 1: Nak a positive cell 2: Nak a negative CD109: cell 1: HPA-15aa cell 1: HPA-15bb HLA: Pool 8 donor | 1 cell HPA-4ab | Yes | AB Serum From Thai blood Donor | anti-HPA-1a anti-HPA-3a NIBSC Minimum potency anti-HPA-4b ISBT Exernal QC anti-HPA-5b NIBSC Minimum potency anti-HPA-2b anti-HPA-15b NIBSC Minimum potency anti-HLA Multi specific | Yes | Yes | GPIIb/IIIa: HPA-1a, 1b, 3a, -3b, -4b GPIa/IIa: HPA-5a, -5b GPIb/IX: HPA-2a, 2b GPIV: Nak a positive CD109:HPA-15a, -15b HLA: Multi specific | No

## hiddenSheet (hidden)
vunhst_methodology_scheme11:COXJVEiCWJ42sxi5okqIf/Gv0FxiNPAhdXO5EoEYKzIznArEjAidfEj1pv+DTDpTGcfqiRfzm4rEsLhZ6lEXOw==:vunhst_methodology_scheme11id=%28Do%20Not%20Modify%29%20Methodology_Scheme11&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&5aaeaced-d779-4374-a91e-5cd7a2b59a06.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_laboratory=Laboratory&vunhst_sample=Sample&vunhst_registration=Registration&vunhst_methodsused=Methods%20Used&4438f9e8-3817-444a-a539-3d03df3f2f2e.vunhst_distributionyear=Distribution%20Year%20%28Distribution_Lab%29%20%28Distribution_Lab%29&createdon=Created%20On&vunhst_additionaltestingatanotherconcentration=Additional%20testing%20at%20another%20concentration&vunhst_applysametestingstrategytoallsamples=Apply%20same%20testing%20strategy%20to%20all%20samples&vunhst_plateletfromabogroupo=Are%20all%20platelet%20cells%20from%20ABO%20Group%20O%20donors&vunhst_antibodiesforeachglycoprotein=Capture%20antibodies%20for%20each%20Glycoprotein%20for%20MAIPA&vunhst_comments=Comments&vunhst_distribution_lab=Distribution_Lab&vunhst_doyouusekitorinhousemethod=Do%20you%20use%20kit%20or%20in-house%20method%3f&vunhst_elisadetails=ELISA%20details&vunhst_furtherdetails=Further%20details&vunhst_furtherdetailsmaipa=Further%20details%20MAIPA&vunhst_howmanyantigenpositivecells=How%20many%20antigen%20positive%20cells%20do%20you%20use%3f&vunhst_howmanyareheterozygous=How%20many%20are%20heterozygous&vunhst_howmanyarehomozygous=How%20many%20are%20homozygous&vunhst_ifcommercialspecify=If%20Commercial%2c%20specify&vunhst_ifotheradditionaltesting=If%20other%20provide%20further%20details&vunhst_luminexdetails=Luminex%20details&vunhst_methodologycode=Methodology%20Code&vunhst_piftconjugate=PIFT%20Conjugate&vunhst_piftfcplatelets=PIFT-FC%20platelets&vunhst_piftmplatelets=PIFT-M%20platelets&vunhst_positivecontrolforeachgylcoprotein=Positive%20control%20for%20each%20gylcoprotein%3f&vunhst_referclinicalsamplestoreferencelab=Refer%20clinical%20samples%20to%20a%20reference%20laboratory%3f&vunhst_standardcelltoseraratio=Standard%20cell%20to%20sera%20ratio&vunhst_allorselectedsamples=Testing%20strategy%20to%20selected%20or%20all%20samples&vunhst_weakandstrongpositivecontrol=Weak%20and%20strong%20positive%20control%3f&vunhst_whathpaantibodiesdetected=What%20HPA%20antibodies%20are%20you%20able%20to%20detect%3f&vunhst_whatnegativecontrol=What%20negative%20control%20do%20you%20use%3f&vunhst_whatpositivecontrol=What%20positive%20control%20do%20you%20use%3f
Double | Other
Yes | No
In-house | Commercial
IgG | IgM | IgG/IgM
Treated | Untreated
Treated | Untreated
All | Selected