## 12 1-5_2026 methods
Laboratory Code | Methods Used | Methods Used (Other) | Commercial Kit Manufacturer | DNA extraction method | Reagent(s)/Kit(s) used | System | Quantification Method | Comments
Lab-1013 | PCR-SSP |  | One Lambda | Automated | Maxwell | Maxwell | Implen
Lab-1019 | PCR-SSP |  | One Lambda, In house | Automated | Maxwell RSC Blood DNA Kit | Maxwell RSC 48 instrument | Promega Glomax
Lab-1055 | PCR-SSP |  | One Lambda | Automated | Qiagen EZ1 DSP DNA Bloodkit | Qiagen EZ2 DNA Extractor | Nanodrop
Lab-1112 | PCR-SSO |  | BAG Diagnostics | Manual | QIAamp Blood Mini Kit
Lab-1114 | PCR-SSP, RT-PCR, Sequence Based Typing |  |  | Manual | Qiagen | Columns | Automatic and manual
Lab-1153 | PCR-SSP |  | In-house | Automated | Maxwell buffy coat kit | Promega maxwell | Nanospectrophotometer (N60)
Lab-1160 | PCR-SSP |  |  | Automated | QIAsymphony DSP DNA mini kit
Lab-1213 | Sequence Based Typing |  |  | Automated | EZ2 Blood kit | EZ2 | Nanodrop
Lab-1250 | RT-PCR | In-house TaqMan PCR |  | Automated | EZ1 DSP Blood | EZ2 | QIAxpert spectrophotometer
Lab-1288 | PCR-SSP |  | HNA-TYPE BAGene | Automated | Qiasymphony DNA mini kit | Qiasymphony | spectrophotometry

## hiddenSheet (hidden)
vunhst_methodology_scheme12:Gj2ireHGbUA8FltSzuxYxkhNtwZ2weIdKJYZBKeFNF7AEP0py5hVV5YuR7vRVeCqlhGWap9VS2X+oF7mrNdP9A==:vunhst_methodology_scheme12id=%28Do%20Not%20Modify%29%20Methodology_Scheme12&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&aa9968ee-b304-4022-917c-c1310f4197fb.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_laboratory=Laboratory&vunhst_sample=Sample&vunhst_methodsused=Methods%20Used&vunhst_methodsusedother=Methods%20Used%20%28Other%29&modifiedon=Modified%20On&vunhst_system=System&vunhst_reagentskitsused=Reagent%28s%29%2fKit%28s%29%20used&vunhst_quantificationmethod=Quantification%20Method&vunhst_dnaextractionmethod=DNA%20extraction%20method&vunhst_commercialkitmanufacturer=Commercial%20Kit%20Manufacturer&vunhst_comments=Comments