## 13 1-2-2026 Methods
Lab Code | Methods Used for Testing | Apply the same testing strategy to all samples | Further Details | Kit or In-house Method | If Kit, Specify Manufacturer and type of kit | Tested Strategy Applied To | Negative Control | Positive Control | HNA Antibodies | Refer clinical samples to a reference laboratory | Comments
Lab-1003 | Luminex | Yes |  | Kit | One Lambda, Thermo Fisher, LABScreen Multi Kit | All | Manufacturer LABScreen Negative Control | In house positive control | HNA-1a, 1b, 1c, 2, 3a, 3b, 4a, 5a, 5b | Yes, initial positive samples by this method are referred to a reference laboratory
Lab-1013 | Luminex solid phase assay | Yes |  | Kit | One Lambda Labscreen Multi kit | All | Labscreen negative control | NIBSC anti HNA 3a serum | HNA-1a, 1b, 1c, HNA-2, HNA-3a, 3b, HNA-4a, HNA-5a, 5b | Yes | Currently in process of implementing assay in our laboratory.
Lab-1019 | LABScreen™ Multi | Yes |  | Kit | LABScreen™ Multi | All | LabScreen Negative Control Serum (One Lambda) | Pooled senstitised sera | HNA-1B, HNA-1C, HNA-2, HNA-3A, HNA-3B, HNA-4A, HNA-5A, HNA-5B | No
Lab-1112 | Luminex | Yes |  | Kit | LabScreen Multi, One Lambda | All | Negative control from Kit supplier NC30(12) |  | 1A, 1B, 1C, 2, 3A, 3B, 4A, 5A, 5B
Lab-1114 | We test the samples in GIFT (FACS flow), MAIGA and GAT with typed cells | Yes | For alloantibodies we always use the same strategy. | In-house |  | All | AB serum | anti FcRIIIb in 2 dilutions | HNA-1a, 1b, 1c, 1d, 2, 3a, 3b, 4a, 4b, 5a and 5b | no
Lab-1115 | LUMINEX | Yes |  | Kit | LABSCREEN MULTI | All | MANUFACTOR | MANUFACTOR | HNA1A,HNA1B,HNA1C,HNA2,HNA3A,HNA3B,HNA4A,HNA5A,HNA5B
Lab-1118 | LabScreen Multi | Yes |  | Kit | One Lambda LabScreen Multi Kit | All | One Lambda negative control | In house positive control plus NIBSC HNA3a control | HNA-3a | NA
Lab-1141 | LABScreen Multi and the granulocyte agglutination test (GAT) | Yes |  | Kit | LABScreen Multi from One Lambda (Thermo Fisher Scientific) | All | LABScreen Negative Control Serum (LS-NC) | A pooled in-house positive control consisting of controls for HNA-1b, HNA-2, HNA-3a, HNA-4a, and HNA-1a (NIBSC 09/284) | Anti-HNA-1A, - 1B, -1C, -2, -3A, -3B, -4A, -5A, -5B | No, we are a reference laboratory.
Lab-1153 | Luminex LSMUTR | No | Reflex testing on HNA-3b3b recipients | Kit | OneLambda | Selected | In-house | In-house | HNA-3 | Yes - Filton, Bristol
Lab-1166 | Luminex | Yes |  | Kit | LSMUTR | All | LSNC | INTERNAL PC | HNA-1A,1B,1C,2,3A,3B,4A,5A,5B | NO
Lab-1213 | GIFT, LIFT GCLT, MAIGA, Luminex LSMUTR, rHNA-3 cell lines | No | Tests used are dependent upon ongoing assay results, referral reason and where available genotyping. | In-house |  | Selected | Panel of AB sera derived from donors. | Well defined patient or donor serum. | HNA-1a,1b,1c,1d, HNA-2, HNA-3a, 3b; HNA-4a,4b; HNA-5a,5b. Autoimmune. | No | One Lambda LSMUTR commercial kit.
Lab-1250 | GIFT and GAT | Yes |  | In-house |  | All | Inhouse | Inhouse | HNA-1,2,3,4,5 | No
Lab-1284 |  | Yes |  | Kit | Thermofisher Scientific | All | included in the kit |  |  | no
Lab-1288 | Luminex and GIFT | Yes | Our laboratory pipeline starts with an HNA antibody screening and HNA genotyping. Depending on the results and the clinical context we perform futher studies by MAIGA, GAG and/or GIFT. | Kit | LABScreen Multi, One Lambda™ | All | We use the negative internal control of the kit. | We use the positive internal control of the kit. | HNA-1a, HNA-1b, HNA-1c, HNA-2, HNA-3a, HNA-3b, HNA-4a, HNA-5a, HNA-5b | No | Once we start a new lot of the LABSCreen Multi kit, we test it with a known positive and negative samples.
Lab-1314 | Luminex Analysis | Yes |  | Kit | LABScreen Multi | All | Not used | Not used | None | No | Sample delayed at customs; originally due on 29 July 2026, it was received on 18 August 2026.

## hiddenSheet (hidden)
vunhst_methodology_scheme13:yiBw5W369PjJBoKhUbKteGIbDlfaCbtZM/c1GdnjfojoE4QazHa8QOYFdEmsNRaE+JNQZdSj8ZEKIzdTl2f4cw==:vunhst_methodology_scheme13id=%28Do%20Not%20Modify%29%20Methodology_Scheme13&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&7743dc0c-c5e6-4363-bb57-700f6acf5394.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_laboratory=Laboratory&vunhst_sample=Sample&vunhst_registration=Registration&vunhst_methodsusedfortesting=Methods%20Used%20for%20Testing&7feb81b4-b717-438f-82cc-8d7cc99c861d.vunhst_distributionyear=Distribution%20Year%20%28Distribution_Lab%29%20%28Distribution_Lab%29&createdon=Created%20On&vunhst_kitorinhousemethod=Kit%20or%20In-house%20Method&vunhst_ifkitspecifymanufacturerandtypeofkit=If%20Kit%2c%20Specify%20Manufacturer%20and%20type%20of%20kit&vunhst_hnaantibodies=HNA%20Antibodies&vunhst_positivecontrol=Positive%20Control&vunhst_negativecontrol=Negative%20Control&vunhst_furtherdetails=Further%20Details&vunhst_applythesametestingstrategytoallsamples=Apply%20the%20same%20testing%20strategy%20to%20all%20samples&vunhst_testedstrategyappliedto=Tested%20Strategy%20Applied%20To&vunhst_comments=Comments&vunhst_referclinicalsamplestoareferencelaboratory=Refer%20clinical%20samples%20to%20a%20reference%20laboratory
Yes | No