## 13-1-2026
13-1-2026
Distribution date: 28/07/2026
Result summary | HNA-1a | HNA-1b | HNA-1c | HNA-1d | HNA-2 | HNA-3a | HNA-3b | HNA-4a | HNA-4b | HNA-5a | HNA-5b
Total distributed | 11 | 11 | 11 | 4 | 11 | 15 | 13 | 11 | 6 | 11 | 11
Total submitted | 11 | 11 | 11 | 4 | 11 | 15 | 13 | 11 | 6 | 11 | 11
nt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Absent | 10 | 11 | 10 | 4 | 11 | 15 | 13 | 11 | 6 | 11 | 11
Present | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% Absent | 90.91% | 100% | 90.91% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
% Present | 9.091% | 0% | 9.091% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Consensus
Unacceptable
Number acceptable
Number unacceptable
Assessed | No | No | No | No | No | No | No | No | No | No | No | [18 empty] | Registration
Lab Code | HNA-1a | HNA-1b | HNA-1c | HNA-1d | HNA-2 | HNA-3a | HNA-3b | HNA-4a | HNA-4b | HNA-5a | HNA-5b | HNA Specific Antibody Present | Luminex | MAIGA | GIFT | GAT | HLA CI Antibody Present | Methods Used | Other | Other Technique | IsSubmitted | Tested | Reason no testing | Confirm Reason | Comments | Date Received | Date Tested | 75% Presence correct | 75% Presence assessed | 95% Absence correct | 95% Absence assessed | HNA-1a | HNA-1b | HNA-1c | HNA-1d | HNA-2 | HNA-3a | HNA-3b | HNA-4a | HNA-4b | HNA-5a | HNA-5b
Lab-1003 | Present | Absent | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  | HNa-1c antibody is near threshold for positivity. Sample tested in duplicate - sample just under cut off for one sample date and over for other: 2.96 and 3.46 (positive cut off threshold 3). In renal setting, as we only consider HNA-3 antibodies this would have no clinical impact in this setting. In TRALI risk reduction setting this would trigger referral to a reference lab for more sensitive cellular based assays to confirm presence. | 2026-08-12 | 2026-08-17 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1013 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No |  | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-28 | 2026-08-25 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | Yes | No | No | No | No
Lab-1019 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-10 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | Yes | No | No | No | No
Lab-1112 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No |  |  | No |  | Yes | Fully Tested |  |  |  | 2026-07-30 | 2026-08-03 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1114 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-19 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1115 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-28 | 2026-08-05 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1118 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-21 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | No | No | No | No | No
Lab-1141 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  | LABScreen Multi | 2026-07-29 | 2026-08-03 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1153 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Not Tested | Luminex | No |  | Yes | Partially Tested |  |  | Only test HNA-3 | 2026-07-28 | 2026-08-05 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | No | No | No | No | No
Lab-1166 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-30 | 2026-08-01 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1213 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Flow Cytometry,Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-07-30 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1250 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Positive | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-08-13 | 2026-08-20 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1284 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-08-03 | 2026-08-04 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1288 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-31 | 2026-08-03 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1314 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-08-18 | 2026-08-19 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes

## 13-2-2026
13-2-2026
Distribution date: 28/07/2026
Result summary | HNA-1a | HNA-1b | HNA-1c | HNA-1d | HNA-2 | HNA-3a | HNA-3b | HNA-4a | HNA-4b | HNA-5a | HNA-5b
Total distributed | 11 | 11 | 11 | 4 | 11 | 15 | 13 | 11 | 6 | 11 | 11
Total submitted | 11 | 11 | 11 | 4 | 11 | 15 | 13 | 11 | 6 | 11 | 11
nt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Absent | 1 | 11 | 11 | 4 | 11 | 15 | 13 | 11 | 6 | 11 | 11
Present | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% Absent | 9.091% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
% Present | 90.91% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Consensus | Present
Unacceptable | Absent
Number acceptable | 12
Number unacceptable | 3
Assessed | Yes | No | No | No | No | No | No | No | No | No | No | [18 empty] | Registration
Lab Code | HNA-1a | HNA-1b | HNA-1c | HNA-1d | HNA-2 | HNA-3a | HNA-3b | HNA-4a | HNA-4b | HNA-5a | HNA-5b | HNA Specific Antibody Present | Luminex | MAIGA | GIFT | GAT | HLA CI Antibody Present | Methods Used | Other | Other Technique | IsSubmitted | Tested | Reason no testing | Confirm Reason | Comments | Date Received | Date Tested | 75% Presence correct | 75% Presence assessed | 95% Absence correct | 95% Absence assessed | HNA-1a | HNA-1b | HNA-1c | HNA-1d | HNA-2 | HNA-3a | HNA-3b | HNA-4a | HNA-4b | HNA-5a | HNA-5b
Lab-1003 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-18 | 0 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1013 | Present | Absent | Absent |  | Absent | Absent | Absent | Absent |  | Absent | Absent | Positive | Yes | No | No | No |  | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-28 | 2026-08-25 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | Yes | No | No | No | No
Lab-1019 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-10 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | Yes | No | No | No | No
Lab-1112 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | No | No | No |  |  | No |  | Yes | Fully Tested |  |  |  | 2026-07-30 | 2026-08-03 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1114 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | No | Yes | Yes | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-19 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1115 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-28 | 2026-08-05 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1118 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-29 | 2026-08-21 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | No | No | No | No | No
Lab-1141 | Present | Absent | Absent |  | Absent | Absent | Absent | Absent |  | Absent | Absent | Positive | Yes | No | No | Yes | Negative | Luminex | No |  | Yes | Fully Tested |  |  | LABScreen Multi | 2026-07-29 | 2026-08-03 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1153 | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Negative | No | No | No | No | Not Tested | Luminex | No |  | Yes | Partially Tested |  |  | Only test HNA-3 | 2026-07-28 | 2026-08-05 | 0 | 0 | 0 | 0 | No | No | No | No | No | Yes | No | No | No | No | No
Lab-1166 | Present | Absent | Absent |  | Absent | Absent | Absent | Absent |  | Absent | Absent | Positive | Yes | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-30 | 2026-08-01 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1213 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | Yes | Yes | No | Negative | Flow Cytometry,Luminex | Yes | GCLT | Yes | Fully Tested |  |  | Pan-reactive granulocyte specific IgM also detected. | 2026-07-29 | 2026-07-30 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1250 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | No | No | Yes | Yes | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-08-13 | 2026-08-20 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1284 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  | HNA-1d specificity not included in the kit | 2026-08-03 | 2026-08-04 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Lab-1288 | Present | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Positive | Yes | No | Yes | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-07-31 | 2026-08-03 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes
Lab-1314 | Present | Absent | Absent |  | Absent | Absent | Absent | Absent |  | Absent | Absent | Positive | Yes | No | No | No | Negative | Luminex | No |  | Yes | Fully Tested |  |  |  | 2026-08-18 | 2026-08-19 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes