## 2A-3-2026 PBL without DTT G1
2A-3-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 9 | 9 | 9 | 9
Total submitted | 9 | 9 | 9 | 9
Not Tested | 3 | 2 | 2 | 2
Positive | 0 | 6 | 7 | 0
Negative | 6 | 1 | 0 | 7
% Positive | 0% | 85.71% | 100% | 0%
% Negative | 100% | 14.29% | 0% | 100%
Consensus | Negative | Positive | Positive | Negative
Unacceptable | Positive | Negative | Negative | Positive
Number acceptable | 6 | 6 | 7 | 7
Number unacceptable | 0 | 1 | 0 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | PBL without DTT Serum 1 | PBL without DTT Serum 2 | PBL without DTT Serum 3 | PBL without DTT Serum 4 | PBL without DTT Serum 1 Reaction Strength | PBL without DTT Serum 2 Reaction Strength | PBL without DTT Serum 3 Reaction Strength | PBL without DTT Serum 4 Reaction Strength | PBL Viabilty | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Negative | Positive | Positive | Negative | 1 | 6 | 8 | 1 | 98 | we received 3 ml at 6.2G and we weere not able to carry out two separations : only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1038 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 100 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1072 | Negative | Positive | Positive | Negative | 1 | 8 | 8 | 1 | 95 |  | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1074 | Negative | Positive | Positive | Negative | 1 | 2-4 | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1082 | [10 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1108 | [10 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1115 | Not Tested | Positive | Positive | Negative |  | 6-8 | 6-8 |  | 90 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 3 | 3 | 3 | Yes
Lab-1139 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 | not tested -we received the samples one week later | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested -low viability-we received the samples one week later | 0 | 0 | 0 | Yes
Lab-1176 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | PBL not tested | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1230 | Negative | Positive | Positive | Negative |  | +4 | +6 |  | 80 |  | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1234 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Problematic B-cell isolation. | 0 | 0 | 0 | Yes
Lab-1277 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | N/A | N/A | N/A | No
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 90 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 4 | Yes

## 2A-3-2026 T Cell without DTT G1
2A-3-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 15 | 15 | 15 | 15
Total submitted | 15 | 15 | 15 | 15
Not Tested | 4 | 4 | 4 | 4
Positive | 0 | 8 | 11 | 0
Negative | 11 | 3 | 0 | 11
% Positive | 0% | 72.73% | 100% | 0%
% Negative | 100% | 27.27% | 0% | 100%
Consensus | Negative | No consensus | Positive | Negative
Unacceptable | Positive | N/A | Negative | Positive
Number acceptable | 11 | N/A | 11 | 11
Number unacceptable | 0 | N/A | 0 | 0
Assessed | Yes | No | Yes | Yes
Laboratory Code | T Cell without DTT Serum 1 | T Cell without DTT Serum 2 | T Cell without DTT Serum 3 | T Cell without DTT Serum 4 | T Cell without DTT Serum 1 Reaction Strength | T Cell without DTT Serum 2 Reaction Strength | T Cell without DTT Serum 3 Reaction Strength | T Cell without DTT Serum 4 Reaction Strength | T-cells cell viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Negative | Positive | Positive | Negative | 1 | 6 | 8 | 1 | 95 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1034 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | we received 3 ml at 6.2G and we weere not able to carry out two separations : only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 0 | 0 | 0 | Yes
Lab-1038 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 99 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | Negative | Positive | Positive | Negative | 1 | 2-4 | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1082 | Negative | Positive | Positive | Negative |  |  |  |  | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1108 | Negative | Positive | Positive | Negative | <5% | 60% | 35% | <5% | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Negative | Positive | Positive | Negative | 0 - 10% | 81 - 90% | 91 - 100% | 0 - 10% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 60 | not tested -we received the samples one week later | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested -low viability-we received the samples one week later | 0 | 0 | 0 | Yes
Lab-1176 | Negative | Positive | Positive | Negative | 1 | 6 | 8 | 1 | 95 | PBL not tested | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Negative | Negative | Positive | Negative | 1 | 1 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Problematic B-cell isolation. | 0 | 0 | 0 | Yes
Lab-1277 | Negative | Negative | Positive | Negative |  |  | Score 4 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 3 | 3 | Yes
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 95 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes

## 2A-3-2026 B Cell without DTT G1
2A-3-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 15 | 15 | 15 | 15
Total submitted | 15 | 15 | 15 | 15
Not Tested | 4 | 3 | 3 | 3
Positive | 0 | 11 | 12 | 0
Negative | 11 | 1 | 0 | 12
% Positive | 0% | 91.67% | 100% | 0%
% Negative | 100% | 8.333% | 0% | 100%
Consensus | Negative | Positive | Positive | Negative
Unacceptable | Positive | Negative | Negative | Positive
Number acceptable | 11 | 11 | 12 | 12
Number unacceptable | 0 | 1 | 0 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B Cell without DTT Serum 1 | B Cell without DTT Serum 2 | B Cell without DTT Serum 3 | B Cell without DTT Serum 4 | B Cell without DTT Serum 1 Reaction Strength | B Cell without DTT Serum 2 Reaction Strength | B Cell without DTT Serum 3 Reaction Strength | B Cell without DTT Serum 4 Reaction Strength | B-cells viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Negative | Positive | Positive | Negative | 2 | 8 | 8 | 1 | 75 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1034 | Not Tested | Positive | Positive | Negative |  | 8 | 8 | 1 | 90 | we received 3 ml at 6.2G and we weere not able to carry out two separations : only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 3 | 3 | 3 | Yes
Lab-1038 | Negative | Positive | Positive | Negative | 1 | 8 | 8 | 1 | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 98 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | Negative | Positive | Positive | Negative | 1 | 2-4 | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1082 | Negative | Positive | Positive | Negative |  |  |  |  | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1108 | Negative | Positive | Positive | Negative | 5% | 100% | 100% | <5% | 95 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Negative | Positive | Positive | Negative | 0 - 10% | 91 - 100% | 91 - 100% | 11 - 20% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 20 | not tested -we received the samples one week later | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested -low viability-we received the samples one week later | 0 | 0 | 0 | Yes
Lab-1176 | Negative | Positive | Positive | Negative | 1 | 8 | 8 | 1 | 90 | PBL not tested | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Negative | Positive | Positive | Negative | 1 | 8 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Problematic B-cell isolation. | 0 | 0 | 0 | Yes
Lab-1277 | Negative | Positive | Positive | Negative |  | Score 8 | Score 8 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 4 | 4 | Yes
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 85 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 4 | Yes

## 2A-3-2026 PBL with DTT G1
2A-3-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 9 | 9 | 9 | 9
Total submitted | 9 | 9 | 9 | 9
Not Tested | 3 | 3 | 2 | 2
Positive | 0 | 5 | 7 | 0
Negative | 6 | 1 | 0 | 7
% Positive | 0% | 83.33% | 100% | 0%
% Negative | 100% | 16.67% | 0% | 100%
Consensus | Negative | Positive | Positive | Negative
Unacceptable | Positive | Negative | Negative | Positive
Number acceptable | 6 | 5 | 7 | 7
Number unacceptable | 0 | 1 | 0 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | PBL with DTT Cell Serum 1 | PBL with DTT Cell Serum 2 | PBL with DTT Cell Serum 3 | PBL with DTT Cell Serum 4 | PBL with DTT Cell Serum 1 Reaction Strength | PBL with DTT Cell Serum 2 Reaction Strength | PBL with DTT Cell Serum 3 Reaction Strength | PBL with DTT Cell Serum 4 Reaction Strength | PBL Viabilty | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Negative | Not Tested | Positive | Negative | 1 |  | 8 | 1 | 98 | we received 3 ml at 6.2G and we weere not able to carry out two separations : only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 3 | 3 | 3 | Yes
Lab-1038 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 100 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1072 | Negative | Positive | Positive | Negative | 1 | 8 | 8 | 1 | 95 |  | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1074 | Negative | Positive | Positive | Negative | 1 | 2-4 | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1082 | [10 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1108 | [10 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1115 | Not Tested | Positive | Positive | Negative |  | 6-8 | 6-8 |  | 90 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 3 | 3 | 3 | Yes
Lab-1139 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 | not tested -we received the samples one week later | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested -low viability-we received the samples one week later | 0 | 0 | 0 | Yes
Lab-1176 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | PBL not tested | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1230 | Negative | Positive | Positive | Negative |  | +4 | +6 |  | 80 |  | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1234 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Problematic B-cell isolation. | 0 | 0 | 0 | Yes
Lab-1277 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | N/A | N/A | N/A | No
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 90 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 4 | Yes

## 2A-3-2026 T Cell with DTT G1
2A-3-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 13 | 13 | 13 | 13
Total submitted | 13 | 13 | 13 | 13
Not Tested | 3 | 3 | 3 | 3
Positive | 0 | 6 | 10 | 0
Negative | 10 | 4 | 0 | 10
% Positive | 0% | 60% | 100% | 0%
% Negative | 100% | 40% | 0% | 100%
Consensus | Negative | No consensus | Positive | Negative
Unacceptable | Positive | N/A | Negative | Positive
Number acceptable | 10 | N/A | 10 | 10
Number unacceptable | 0 | N/A | 0 | 0
Assessed | Yes | No | Yes | Yes
Laboratory Code | T Cell with DTT Serum 1 | T Cell with DTT Serum 2 | T Cell with DTT Serum 3 | T Cell with DTT Serum 4 | T Cell with DTT Serum 1 Reaction Strength | T Cell with DTT Serum 2 Reaction Strength | T Cell with DTT Serum 3 Reaction Strength | T Cell with DTT Serum 4 Reaction Strength | T-cells cell viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 95 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | we received 3 ml at 6.2G and we weere not able to carry out two separations : only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 0 | 0 | 0 | Yes
Lab-1038 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 99 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | [8 empty] | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1082 | Negative | Negative | Positive | Negative |  |  |  |  | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1108 | Negative | Positive | Positive | Negative | <5% | 50% | 99% | 5% | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Negative | Positive | Positive | Negative | 0 - 10% | 51 - 60% | 91 - 100% | 0 - 10% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 60 | not tested -we received the samples one week later | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested -low viability-we received the samples one week later | 0 | 0 | 0 | Yes
Lab-1176 | Negative | Positive | Positive | Negative | 1 | 6 | 8 | 1 | 95 | PBL not tested | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Negative | Negative | Positive | Negative | 1 | 1 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1264 | Negative | Positive | Positive | Negative | 0 | 6 | 8 | 0 | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Problematic B-cell isolation. | 4 | 3 | 3 | Yes
Lab-1277 | Negative | Negative | Positive | Negative |  |  | Score 2 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 3 | 3 | Yes
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 95 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes

## 2A-3-2026 B Cell with DTT G1
2A-3-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 13 | 13 | 13 | 13
Total submitted | 13 | 13 | 13 | 13
Not Tested | 4 | 2 | 2 | 3
Positive | 0 | 9 | 11 | 0
Negative | 9 | 2 | 0 | 10
% Positive | 0% | 81.82% | 100% | 0%
% Negative | 100% | 18.18% | 0% | 100%
Consensus | Negative | Positive | Positive | Negative
Unacceptable | Positive | Negative | Negative | Positive
Number acceptable | 9 | 9 | 11 | 10
Number unacceptable | 0 | 2 | 0 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B Cell with DTT Serum 1 | B Cell with DTT Serum 2 | B Cell with DTT Serum 3 | B Cell with DTT Serum 4 | B Cell with DTT Serum 1 Reaction Strength | B Cell with DTT Serum 2 Reaction Strength | B Cell with DTT Serum 3 Reaction Strength | B Cell with DTT Serum 4 Reaction Strength | B-cells viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Not Tested | Positive | Positive | Negative |  | 4 | 8 | 1 | 90 | we received 3 ml at 6.2G and we weere not able to carry out two separations : only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 3 | 3 | 3 | Yes
Lab-1038 | Negative | Positive | Positive | Negative | 1 | 8 | 8 | 1 | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 98 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | [8 empty] | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1082 | Negative | Negative | Positive | Negative |  |  |  |  | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 4 | Yes
Lab-1108 | Negative | Positive | Positive | Negative | 10% | 80% | 100% | 5% | 95 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Negative | Positive | Positive | Negative | 0 - 10% | 51 - 60% | 91 - 100% | 11 - 20% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 20 | not tested -we received the samples one week later | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested -low viability-we received the samples one week later | 0 | 0 | 0 | Yes
Lab-1176 | Negative | Positive | Positive | Negative | 1 | 6 | 8 | 1 | 90 | PBL not tested | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Not Tested | Positive | Positive | Not Tested |  | 6 | 8 |  | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Problematic B-cell isolation. | 2 | 2 | 2 | Yes
Lab-1277 | Negative | Positive | Positive | Negative |  | Score 8 | Score 8 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 4 | 4 | Yes
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 85 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 4 | Yes

## 2A-4-2026 PBL without DTT G1
2A-4-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 9 | 9 | 9 | 9
Total submitted | 9 | 9 | 9 | 9
Not Tested | 4 | 3 | 2 | 2
Positive | 4 | 4 | 6 | 0
Negative | 1 | 2 | 1 | 7
% Positive | 80% | 66.67% | 85.71% | 0%
% Negative | 20% | 33.33% | 14.29% | 100%
Consensus | Positive | No consensus | Positive | Negative
Unacceptable | Negative | N/A | Negative | Positive
Number acceptable | 4 | N/A | 6 | 7
Number unacceptable | 1 | N/A | 1 | 0
Assessed | Yes | No | Yes | Yes
Laboratory Code | PBL without DTT Serum 1 | PBL without DTT Serum 2 | PBL without DTT Serum 3 | PBL without DTT Serum 4 | PBL without DTT Serum 1 Reaction Strength | PBL without DTT Serum 2 Reaction Strength | PBL without DTT Serum 3 Reaction Strength | PBL without DTT Serum 4 Reaction Strength | PBL Viabilty | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Positive | Positive | Positive | Negative | 4 | 4 | 8 | 1 | 95 | we received only 3ml at 4.4 G and we were not able to carry out two separations only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1038 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Due to a technical issue, B cells could not have been separated; B-cell crossmatch can not be assessed | N/A | N/A | N/A | No
Lab-1066 | Positive | Positive | Positive | Negative | 4 | 4 | 8 | 1 | 100 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1072 | Positive | Positive | Positive | Negative | 8 | 8 | 6 | 1 | 96 |  | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1074 | Not Tested | Not Tested | Positive | Negative |  |  | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 2 | 2 | 2 | Yes
Lab-1082 | [10 empty] | 2026-08-05 |  | Yes |  | Not Tested | Other | Unable to test due to operational demands and prioritisation of clinical workload. | N/A | N/A | N/A | No
Lab-1108 | [10 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1115 | Not Tested | Negative | Negative | Negative |  |  |  |  | 89 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 3 | 1 | 2 | Yes
Lab-1139 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 | not tested-low viability-we received them one week after shipment | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested-viability too low-one week sample delivery delay | 0 | 0 | 0 | Yes
Lab-1176 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | PBL not tested. B cells not tested due to insufficient cell yield. | 2026-08-05 | 2026-08-06 | Yes |  | Partially Tested | Cell count too low | Insufficient B cell yield | N/A | N/A | N/A | No
Lab-1230 | Positive | Positive | Positive | Negative | +2 | +4 | +6 |  | 80 |  | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1234 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Poor B-cell isoloation on Serum 4 | 0 | 0 | 0 | Yes
Lab-1277 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | N/A | N/A | N/A | No
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 90 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 2 | 3 | Yes

## 2A-4-2026 T Cell without DTT G1
2A-4-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 15 | 15 | 15 | 15
Total submitted | 15 | 15 | 15 | 15
Not Tested | 6 | 6 | 5 | 5
Positive | 5 | 7 | 10 | 1
Negative | 4 | 2 | 0 | 9
% Positive | 55.56% | 77.78% | 100% | 10%
% Negative | 44.44% | 22.22% | 0% | 90%
Consensus | No consensus | Positive | Positive | Negative
Unacceptable | N/A | Negative | Negative | Positive
Number acceptable | N/A | 7 | 10 | 9
Number unacceptable | N/A | 2 | 0 | 1
Assessed | No | Yes | Yes | Yes
Laboratory Code | T Cell without DTT Serum 1 | T Cell without DTT Serum 2 | T Cell without DTT Serum 3 | T Cell without DTT Serum 4 | T Cell without DTT Serum 1 Reaction Strength | T Cell without DTT Serum 2 Reaction Strength | T Cell without DTT Serum 3 Reaction Strength | T Cell without DTT Serum 4 Reaction Strength | T-cells cell viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Negative | Positive | Positive | Negative | 2 | 4 | 8 | 1 | 95 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1034 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | we received only 3ml at 4.4 G and we were not able to carry out two separations only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 0 | 0 | 0 | Yes
Lab-1038 | Positive | Positive | Positive | Positive | 4 | 4 | 8 | 1 | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Due to a technical issue, B cells could not have been separated; B-cell crossmatch can not be assessed | 4 | 2 | 3 | Yes
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 99 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | Not Tested | Not Tested | Positive | Negative |  |  | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 2 | 2 | 2 | Yes
Lab-1082 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 |  | Yes |  | Not Tested | Other | Unable to test due to operational demands and prioritisation of clinical workload. | 0 | 0 | 0 | Yes
Lab-1108 | Positive | Positive | Positive | Negative | 30% | 60% | 95% | <5% | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Positive | Positive | Positive | Negative | 80% | 81 - 90% | 91 - 100% | 0 - 10% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 | not tested-low viability-we received them one week after shipment | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested-viability too low-one week sample delivery delay | 0 | 0 | 0 | Yes
Lab-1176 | Positive | Positive | Positive | Negative | 4 | 6 | 8 | 1 | 95 | PBL not tested. B cells not tested due to insufficient cell yield. | 2026-08-05 | 2026-08-06 | Yes |  | Partially Tested | Cell count too low | Insufficient B cell yield | 4 | 3 | 3 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Negative | Negative | Positive | Negative | 1 | 1 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 2 | 3 | Yes
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Poor B-cell isoloation on Serum 4 | 0 | 0 | 0 | Yes
Lab-1277 | Positive | Positive | Positive | Negative | Score 2 | Score 4 | Score 8 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 3 | 3 | Yes
Lab-1297 | Negative | Negative | Positive | Negative |  |  |  |  | 94 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 2 | 3 | Yes

## 2A-4-2026 B Cell without DTT G1
2A-4-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 15 | 15 | 15 | 15
Total submitted | 15 | 15 | 15 | 15
Not Tested | 7 | 7 | 6 | 6
Positive | 7 | 7 | 8 | 0
Negative | 1 | 1 | 1 | 9
% Positive | 87.5% | 87.5% | 88.89% | 0%
% Negative | 12.5% | 12.5% | 11.11% | 100%
Consensus | Positive | Positive | Positive | Negative
Unacceptable | Negative | Negative | Negative | Positive
Number acceptable | 7 | 7 | 8 | 9
Number unacceptable | 1 | 1 | 1 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B Cell without DTT Serum 1 | B Cell without DTT Serum 2 | B Cell without DTT Serum 3 | B Cell without DTT Serum 4 | B Cell without DTT Serum 1 Reaction Strength | B Cell without DTT Serum 2 Reaction Strength | B Cell without DTT Serum 3 Reaction Strength | B Cell without DTT Serum 4 Reaction Strength | B-cells viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Positive | Positive | Positive | Negative | 8 | 8 | 8 | 1 | 75 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1034 | Positive | Positive | Positive | Negative | 8 | 8 | 8 | 1 | 90 | we received only 3ml at 4.4 G and we were not able to carry out two separations only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1038 | Not Tested | Not Tested | Not Tested | Not Tested | Due to a technical issue, B cells could not have been separated | Due to a technical issue, B cells could not have been separated | Due to a technical issue, B cells could not have been separated | Due to a technical issue, B cells xcould not have been separated | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Due to a technical issue, B cells could not have been separated; B-cell crossmatch can not be assessed | 0 | 0 | 0 | Yes
Lab-1066 | Positive | Positive | Positive | Negative | 4 | 6 | 8 | 1 | 98 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | Not Tested | Not Tested | Positive | Negative |  |  | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 2 | 2 | 2 | Yes
Lab-1082 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 |  | Yes |  | Not Tested | Other | Unable to test due to operational demands and prioritisation of clinical workload. | 0 | 0 | 0 | Yes
Lab-1108 | Positive | Positive | Positive | Negative | 40% | 50% | 100% | 10% | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Positive | Positive | Positive | Negative | 71 - 80% | 81 - 90% | 91 - 100% | 0 - 10% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 20 | not tested-low viability-we received them one week after shipment | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested-viability too low-one week sample delivery delay | 0 | 0 | 0 | Yes
Lab-1176 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | PBL not tested. B cells not tested due to insufficient cell yield. | 2026-08-05 | 2026-08-06 | Yes |  | Partially Tested | Cell count too low | Insufficient B cell yield | 0 | 0 | 0 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Positive | Positive | Positive | Negative | 8 | 6 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Poor B-cell isoloation on Serum 4 | 0 | 0 | 0 | Yes
Lab-1277 | Positive | Positive | Positive | Negative | Score 6 | Score 8 | Score 8 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 4 | 4 | Yes
Lab-1297 | Negative | Negative | Negative | Negative |  |  |  |  | 86 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 1 | 4 | Yes

## 2A-4-2026 PBL with DTT G1
2A-4-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 9 | 9 | 9 | 9
Total submitted | 9 | 9 | 9 | 9
Not Tested | 4 | 3 | 2 | 2
Positive | 4 | 4 | 5 | 0
Negative | 1 | 2 | 2 | 7
% Positive | 80% | 66.67% | 71.43% | 0%
% Negative | 20% | 33.33% | 28.57% | 100%
Consensus | Positive | No consensus | No consensus | Negative
Unacceptable | Negative | N/A | N/A | Positive
Number acceptable | 4 | N/A | N/A | 7
Number unacceptable | 1 | N/A | N/A | 0
Assessed | Yes | No | No | Yes
Laboratory Code | PBL with DTT Cell Serum 1 | PBL with DTT Cell Serum 2 | PBL with DTT Cell Serum 3 | PBL with DTT Cell Serum 4 | PBL with DTT Cell Serum 1 Reaction Strength | PBL with DTT Cell Serum 2 Reaction Strength | PBL with DTT Cell Serum 3 Reaction Strength | PBL with DTT Cell Serum 4 Reaction Strength | PBL Viabilty | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Positive | Positive | Positive | Negative | 4 | 4 | 8 | 1 | 95 | we received only 3ml at 4.4 G and we were not able to carry out two separations only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 2 | 2 | Yes
Lab-1038 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Due to a technical issue, B cells could not have been separated; B-cell crossmatch can not be assessed | N/A | N/A | N/A | No
Lab-1066 | Positive | Positive | Positive | Negative | 4 | 4 | 8 | 1 | 100 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 2 | 2 | Yes
Lab-1072 | Positive | Positive | Positive | Negative | 8 | 8 | 8 | 1 | 96 |  | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 2 | 2 | Yes
Lab-1074 | Not Tested | Not Tested | Positive | Negative |  |  | 8 | 1 | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 2 | 1 | 1 | Yes
Lab-1082 | [10 empty] | 2026-08-05 |  | Yes |  | Not Tested | Other | Unable to test due to operational demands and prioritisation of clinical workload. | N/A | N/A | N/A | No
Lab-1108 | [10 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1115 | Not Tested | Negative | Negative | Negative |  |  |  |  | 89 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 3 | 1 | 1 | Yes
Lab-1139 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 | not tested-low viability-we received them one week after shipment | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested-viability too low-one week sample delivery delay | 0 | 0 | 0 | Yes
Lab-1176 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | PBL not tested. B cells not tested due to insufficient cell yield. | 2026-08-05 | 2026-08-06 | Yes |  | Partially Tested | Cell count too low | Insufficient B cell yield | N/A | N/A | N/A | No
Lab-1230 | Positive | Positive | Positive | Negative | +2 | +4 | +6 |  | 80 |  | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | 4 | 2 | 2 | Yes
Lab-1234 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1264 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Poor B-cell isoloation on Serum 4 | 0 | 0 | 0 | Yes
Lab-1277 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | N/A | N/A | N/A | No
Lab-1297 | Negative | Negative | Negative | Negative |  |  |  |  | 90 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 1 | 2 | Yes

## 2A-4-2026 T Cell with DTT G1
2A-4-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 13 | 13 | 13 | 13
Total submitted | 13 | 13 | 13 | 13
Not Tested | 4 | 4 | 4 | 4
Positive | 5 | 7 | 8 | 0
Negative | 4 | 2 | 1 | 9
% Positive | 55.56% | 77.78% | 88.89% | 0%
% Negative | 44.44% | 22.22% | 11.11% | 100%
Consensus | No consensus | Positive | Positive | Negative
Unacceptable | N/A | Negative | Negative | Positive
Number acceptable | N/A | 7 | 8 | 9
Number unacceptable | N/A | 2 | 1 | 0
Assessed | No | Yes | Yes | Yes
Laboratory Code | T Cell with DTT Serum 1 | T Cell with DTT Serum 2 | T Cell with DTT Serum 3 | T Cell with DTT Serum 4 | T Cell with DTT Serum 1 Reaction Strength | T Cell with DTT Serum 2 Reaction Strength | T Cell with DTT Serum 3 Reaction Strength | T Cell with DTT Serum 4 Reaction Strength | T-cells cell viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 95 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | we received only 3ml at 4.4 G and we were not able to carry out two separations only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 0 | 0 | 0 | Yes
Lab-1038 | Positive | Positive | Positive | Negative | 8 | 6 | 8 | 1 | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Due to a technical issue, B cells could not have been separated; B-cell crossmatch can not be assessed | 4 | 3 | 3 | Yes
Lab-1066 | Negative | Positive | Positive | Negative | 1 | 4 | 8 | 1 | 99 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | [8 empty] | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1082 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 |  | Yes |  | Not Tested | Other | Unable to test due to operational demands and prioritisation of clinical workload. | 0 | 0 | 0 | Yes
Lab-1108 | Negative | Positive | Positive | Negative | 10% | 70% | 99% | <5% | 99 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Positive | Positive | Positive | Negative | 41 - 50% | 41 - 50% | 91 - 100% | 0 - 10% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 3 | 3 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 | not tested-low viability-we received them one week after shipment | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested-viability too low-one week sample delivery delay | 0 | 0 | 0 | Yes
Lab-1176 | Positive | Positive | Positive | Negative | 4 | 6 | 8 | 1 | 95 | PBL not tested. B cells not tested due to insufficient cell yield. | 2026-08-05 | 2026-08-06 | Yes |  | Partially Tested | Cell count too low | Insufficient B cell yield | 4 | 3 | 3 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Negative | Negative | Positive | Negative | 1 | 1 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 2 | 3 | Yes
Lab-1264 | Positive | Positive | Positive | Negative | 6 | 6 | 8 | 0 | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Poor B-cell isoloation on Serum 4 | 4 | 3 | 3 | Yes
Lab-1277 | Positive | Positive | Positive | Negative | Score 2 | Score 4 | Score 8 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 3 | 3 | Yes
Lab-1297 | Negative | Negative | Negative | Negative |  |  |  |  | 94 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 1 | 3 | Yes

## 2A-4-2026 B Cell with DTT G1
2A-4-2026 G1
Distribution Date: 04/08/2026
Result summary | Serum 1 | Serum 2 | Serum 3 | Serum 4
Total distributed | 13 | 13 | 13 | 13
Total submitted | 13 | 13 | 13 | 13
Not Tested | 5 | 5 | 5 | 6
Positive | 7 | 7 | 7 | 0
Negative | 1 | 1 | 1 | 7
% Positive | 87.5% | 87.5% | 87.5% | 0%
% Negative | 12.5% | 12.5% | 12.5% | 100%
Consensus | Positive | Positive | Positive | Negative
Unacceptable | Negative | Negative | Negative | Positive
Number acceptable | 7 | 7 | 7 | 7
Number unacceptable | 1 | 1 | 1 | 0
Assessed | Yes | Yes | Yes | Yes
Laboratory Code | B Cell with DTT Serum 1 | B Cell with DTT Serum 2 | B Cell with DTT Serum 3 | B Cell with DTT Serum 4 | B Cell with DTT Serum 1 Reaction Strength | B Cell with DTT Serum 2 Reaction Strength | B Cell with DTT Serum 3 Reaction Strength | B Cell with DTT Serum 4 Reaction Strength | B-cells viability | Comments | Date received | Date tested | Submitted | Distribution Year | Tested | Reason for non-testing | Confirm reason for non-testing | Tested | Correct | Assessed | Registered
Lab-1029 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 75 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1034 | Positive | Positive | Positive | Negative | 8 | 8 | 8 | 1 | 90 | we received only 3ml at 4.4 G and we were not able to carry out two separations only the B | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1038 | Not Tested | Not Tested | Not Tested | Not Tested | Due to a technical issue, B cells could not have been separated | Due to a technical issue, B cells could not have been separated | Due to a technical issue, B cells could not have been separated | Due to a technical issue, B cells could not have been separated | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Due to a technical issue, B cells could not have been separated; B-cell crossmatch can not be assessed | 0 | 0 | 0 | Yes
Lab-1066 | Positive | Positive | Positive | Negative | 4 | 6 | 8 | 1 | 98 |  | 2026-08-07 | 2026-08-07 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1072 | [10 empty] | 2026-08-07 | 2026-08-10 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1074 | [8 empty] | 85 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1082 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-05 |  | Yes |  | Not Tested | Other | Unable to test due to operational demands and prioritisation of clinical workload. | 0 | 0 | 0 | Yes
Lab-1108 | Positive | Positive | Positive | Negative | 40% | 70% | 100% | 5% | 90 |  | 2026-08-05 | 2026-08-05 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1115 | Not Tested | Not Tested | Not Tested | Not Tested | [6 empty] | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Cell viability too low | Cell viability too low | 0 | 0 | 0 | Yes
Lab-1139 | Positive | Positive | Positive | Negative | 51 - 60% | 61 - 70% | 91 - 100% | 0 - 10% | 95 |  | 2026-08-05 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1166 | Not Tested | Not Tested | Not Tested | Not Tested |  |  |  |  | 20 | not tested-low viability-we received them one week after shipment | 2026-08-10 |  | Yes |  | Not Tested | Sample delivery delay | not tested-viability too low-one week sample delivery delay | 0 | 0 | 0 | Yes
Lab-1176 | Not Tested | Not Tested | Not Tested | Not Tested | [5 empty] | PBL not tested. B cells not tested due to insufficient cell yield. | 2026-08-05 | 2026-08-06 | Yes |  | Partially Tested | Cell count too low | Insufficient B cell yield | 0 | 0 | 0 | Yes
Lab-1230 | [10 empty] | 2026-08-11 | 2026-08-11 | Yes |  | Fully Tested |  |  | N/A | N/A | N/A | No
Lab-1234 | Positive | Positive | Positive | Negative | 8 | 6 | 8 | 1 | 98 |  | 2026-08-06 | 2026-08-06 | Yes |  | Fully Tested |  |  | 4 | 4 | 4 | Yes
Lab-1264 | Positive | Positive | Positive | Not Tested | 6 | 4 | 8 |  | 98 |  | 2026-08-05 | 2026-08-05 | Yes |  | Partially Tested | Technical failure | Poor B-cell isoloation on Serum 4 | 3 | 3 | 3 | Yes
Lab-1277 | Positive | Positive | Positive | Negative | Score 6 | Score 8 | Score 8 |  | 95 |  | 2026-08-07 | 2026-08-07 | Yes |  | Partially Tested | Other | PBL not tested | 4 | 4 | 4 | Yes
Lab-1297 | Negative | Negative | Negative | Negative |  |  |  |  | 86 |  | 2026-08-10 | 2026-08-10 | Yes |  | Fully Tested |  |  | 4 | 1 | 4 | Yes

## hiddenSheet (hidden)
vunhst_results_scheme2a:2bwoZcAlEcMpGcuenZ6lNn35yf0xt5UX1JAD04mcq6SGvk+ukv9mSTfD873hC8NJxf1QCJgllqgFDgNdPqE/0w==:vunhst_results_scheme2aid=%28Do%20Not%20Modify%29%20Results_Scheme2A&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&vunhst_sample=Sample&c9691845-6fc7-40ec-bcd4-abbbf1d476d5.vunhst_laboratorycode=Laboratory%20Code%20%28Laboratory%29%20%28Laboratory%29&vunhst_laboratory=Laboratory&vunhst_datereceived=Date%20received&vunhst_datetested=Date%20tested&vunhst_issubmitted=isSubmitted&86cf0c12-2b46-4a43-b3d9-8a73cfa70f0a.vunhst_distributionyear=Distribution%20Year%20%28Distribution%20Lab%29%20%28Distribution_Lab%29&vunhst_bcellsviability=B-cells%20viability&vunhst_comments=Comments&vunhst_pblviabilty=PBL%20Viabilty&vunhst_reasonfornontesting=Reason%20for%20non-testing&vunhst_tcellscellviability=T-cells%20cell%20viability&vunhst_withdttbcellserum1=With%20DTT%20B%20Cell%20Serum%201&vunhst_withdttbcellserum1reactionstrength=With%20DTT%20B%20Cell%20Serum%201%20Reaction%20Strength&vunhst_withdttbcellserum2=With%20DTT%20B%20Cell%20Serum%202&vunhst_withdttbcellserum2reactionstrength=With%20DTT%20B%20Cell%20Serum%202%20Reaction%20Strength&vunhst_withdttbcellserum3=With%20DTT%20B%20Cell%20Serum%203&vunhst_withdttbcellserum3reactionstrength=With%20DTT%20B%20Cell%20Serum%203%20Reaction%20Strength&vunhst_withdttbcellserum4=With%20DTT%20B%20Cell%20Serum%204&vunhst_withdttbcellserum4reactionstrength=With%20DTT%20B%20Cell%20Serum%204%20Reaction%20Strength&vunhst_withdttpblcellserum1=With%20DTT%20PBL%20Cell%20Serum%201&vunhst_withdttpblcellserum1reactionstrength=With%20DTT%20PBL%20Cell%20Serum%201%20Reaction%20Strength&vunhst_withdttpblcellserum2=With%20DTT%20PBL%20Cell%20Serum%202&vunhst_withdttpblcellserum2reactionstrength=With%20DTT%20PBL%20Cell%20Serum%202%20Reaction%20Strength&vunhst_withdttpblcellserum3=With%20DTT%20PBL%20Cell%20Serum%203&vunhst_withdttpblcellserum3reactionstrength=With%20DTT%20PBL%20Cell%20Serum%203%20Reaction%20Strength&vunhst_withdttpblcellserum4=With%20DTT%20PBL%20Cell%20Serum%204&vunhst_withdttpblcellserum4reactionstrength=With%20DTT%20PBL%20Cell%20Serum%204%20Reaction%20Strength&vunhst_withdtttcellserum1=With%20DTT%20T%20Cell%20Serum%201&vunhst_withdtttcellserum1reactionstrength=With%20DTT%20T%20Cell%20Serum%201%20Reaction%20Strength&vunhst_withdtttcellserum2=With%20DTT%20T%20Cell%20Serum%202&vunhst_withdtttcellserum2reactionstrength=With%20DTT%20T%20Cell%20Serum%202%20Reaction%20Strength&vunhst_withdtttcellserum3=With%20DTT%20T%20Cell%20Serum%203&vunhst_withdtttcellserum3reactionstrength=With%20DTT%20T%20Cell%20Serum%203%20Reaction%20Strength&vunhst_withdtttcellserum4=With%20DTT%20T%20Cell%20Serum%204&vunhst_withdtttcellserum4reactionstrength=With%20DTT%20T%20Cell%20Serum%204%20Reaction%20Strength&vunhst_withoutdttbcellserum1=Without%20DTT%20B%20Cell%20Serum%201&vunhst_withoutdttbcellserum1reactionstrength=Without%20DTT%20B%20Cell%20Serum%201%20Reaction%20Strength&vunhst_withoutdttbcellserum2=Without%20DTT%20B%20Cell%20Serum%202&vunhst_withoutdttbcellserum2reactionstrength=Without%20DTT%20B%20Cell%20Serum%202%20Reaction%20Strength&vunhst_withoutdttbcellserum3=Without%20DTT%20B%20Cell%20Serum%203&vunhst_withoutdttbcellserum3reactionstrength=Without%20DTT%20B%20Cell%20Serum%203%20Reaction%20Strength&vunhst_withoutdttbcellserum4=Without%20DTT%20B%20Cell%20Serum%204&vunhst_withoutdttbcellserum4reactionstrength=Without%20DTT%20B%20Cell%20Serum%204%20Reaction%20Strength&vunhst_withoutdttpblserum1=Without%20DTT%20PBL%20Serum%201&vunhst_withoutdttpblserum1reactionstrength=Without%20DTT%20PBL%20Serum%201%20Reaction%20Strength&vunhst_withoutdttpblserum2=Without%20DTT%20PBL%20Serum%202&vunhst_withoutdttpblserum2reactionstrength=Without%20DTT%20PBL%20Serum%202%20Reaction%20Strength&vunhst_withoutdttpblserum3=Without%20DTT%20PBL%20Serum%203&vunhst_withoutdttpblserum3reactionstrength=Without%20DTT%20PBL%20Serum%203%20Reaction%20Strength&vunhst_withoutdttpblserum4=Without%20DTT%20PBL%20Serum%204&vunhst_withoutdttpblserum4reactionstrength=Without%20DTT%20PBL%20Serum%204%20Reaction%20Strength&vunhst_withoutdtttcellserum1=Without%20DTT%20T%20Cell%20Serum%201&vunhst_withoutdtttcellserum1reactionstrength=Without%20DTT%20T%20Cell%20Serum%201%20Reaction%20Strength&vunhst_withoutdtttcellserum2=Without%20DTT%20T%20Cell%20Serum%202&vunhst_withoutdtttcellserum2reactionstrength=Without%20DTT%20T%20Cell%20Serum%202%20Reaction%20Strength&vunhst_withoutdtttcellserum3=Without%20DTT%20T%20Cell%20Serum%203&vunhst_withoutdtttcellserum3reactionstrength=Without%20DTT%20T%20Cell%20Serum%203%20Reaction%20Strength&vunhst_withoutdtttcellserum4=Without%20DTT%20T%20Cell%20Serum%204&vunhst_withoutdtttcellserum4reactionstrength=Without%20DTT%20T%20Cell%20Serum%204%20Reaction%20Strength&vunhst_tested=Tested&86cf0c12-2b46-4a43-b3d9-8a73cfa70f0a.vunhst_material=Material%20%28Distribution%20Lab%29%20%28Distribution_Lab%29&c9691845-6fc7-40ec-bcd4-abbbf1d476d5.vunhst_country=Country%20%28Laboratory%29%20%28Laboratory%29
Yes | No